## Annexure-III 1 to 3
Annexure-III
SH 1/3
Pro-forma for furnishing Actual annual performance/operational data for the Hydro Electric generating stations for the 5-year period from 2012-13 to 2016-17
| Particulars |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Name of Company |  |  | NHPC LTD.
2 | Name of Station |  |  | Uri-II Power Station
3 | Installed Capacity and Configuration |  | (MW) | 240
4 | Station Location |  | Under ground or Surface | Under Ground
5 | Type of Excitation System |  |  | Static
6 | Live Storage Capacity |  | (Million Cubic) | -
7 | Rated Head |  | Metres | 118 M | 118 M | 118 M | 118 M | 118 M
8 | Head at Full Reservoir Level (FRL) |  | Metres | 130 M | 130 M | 130 M | 130 M | 130 M
9 | Head at Minimum Draw down Level (MDDL) |  | Metres | -
10 | MW Capability at FRL |  | MW | 240 MW | 240 MW | 240 MW | 240 MW | 240 MW
11 | MW Capability at MDDL |  | MW
12 | Cost of spares :
12.1 | Cost of spares capitalized in books of accounts |  | (Rs. Lakhs) | NIL | 3931.04 | 2.76 | 48.45 | NIL
12.2 | Cost of spares included in the capital cost for the purpose of tariff |  | (Rs. Lakhs) | - | - | 51 | 610 | 1187
Period
13 | Generation :
13.1 | Actual Gross Generation at Generator Terminals |  | (MU) | - | 403.76 | 1189.0778 | 1195.5512 | 1472.8452
13.2 | Actual Net Generation Ex-bus including free power |  | (MU) | - | 401.1 | 1181.3504 | 1187.1033 | 1461.4541
13.3 | Scheduled generation Ex-bus including free power |  | (MU) | - | 358.015 | 1162.8025 | 1165.335 | 1438.5262
14 | Actual Auxiliary Energy Consumption excluding colony consumption |  | (MU) | - | 2.2047 | 8.178 | 8.4295 | 11.7519
15 | Actual Energy supplied to Colony from the station |  | (MU) | - | NIL | NIL | NIL | NIL
16 | Average Declared Capacity (DC) during the year |  | (MW) | - | 187.11 | 140.85 | 158.94 | 193.8
Annexure-III
SH 2/3
| Period |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
17 | Weighted Average duration of outages ( Unit-wise details)
17.1 | Scheduled outages |  | (Days) | - | 1.8521 | 239.3168 | 440.4686 | 57.2167
17.2 | Forced outages |  | (Days) | - | 102.8042 | 319.4349 | 11.6618 | 151.6021
18 | Cost of spares actually consumed |  | (Rs. Lakhs) | NIL | NIL | NIL | NIL | NIL
19 | Average stock of spares |  | (Rs. Lakhs) | - | 3931.04 | 3933.8 | 3982.52 | 3982.25
Month wise Design Energy
Month |  | Period | Design Energy as approved by CEA (MU) |  | Month | Period | Design Energy as approved by CEA (MU)
April |  | 1-10 | 54.72 |  | October | 1-10 | 14.9243
|  | 11-20 | 54.72 | 54.72 |  | 11-20 | 13.4296 | 13.4296
|  | 21-30 | 54.72 | 54.72 |  | 21-31 | 13.2566 | 13.2566
May |  | 1-10 | 54.72 | 54.72 | November | 1-10 | 22.9964 | 22.9964
|  | 11-20 | 54.72 | 54.72 |  | 11-20 | 17.5822 | 17.5822
|  | 21-31 | 60.192 | 60.192 |  | 21-30 | 14.9361 | 14.9361
June |  | 1-10 | 33.9183 | 33.9183 | December | 1-10 | 12.8727 | 12.8727
|  | 11-20 | 30.6533 | 30.6533 |  | 11-20 | 13.477 | 13.477
|  | 21-30 | 39.9636 | 39.9636 |  | 21-31 | 14.7682 | 14.7682
July |  | 1-10 | 30.5045 | 30.5045 | January | 1-10 | 11.5745 | 11.5745
|  | 11-20 | 27.771 | 27.771 |  | 11-20 | 20.6706 | 20.6706
|  | 21-31 | 34.3165 | 34.3165 |  | 21-31 | 21.2351 | 21.2351
August |  | 1-10 | 40.771 | 40.771 | February | 1-10 | 17.135 | 17.135
|  | 11-20 | 30.876 | 30.876 |  | 11-20 | 23.6486 | 23.6486
|  | 21-31 | 30.9844 | 30.9844 |  | 21-28 | 38.9411 | 38.9411
September |  | 1-10 | 21.2543 | 21.2543 | March | 1-10 | 41.0169 | 41.0169
|  | 11-20 | 20.72 | 20.72 |  | 11-20 | 54.7136 | 54.7136
|  | 21-30 | 20.8785 | 20.8785 |  | 21-31 | 60.192 | 60.192
[5 empty] | Total |  | 1123.7739
Storage Hydro plants shall also furnish actual monthly average peaking generation in MW achieved during the period 2012-13 to 2016-17 against the monthly average peaking capability approved by CEAas per following format:
Month |  | Expected Avg. of daily 3-hour peaking capacity as approved by CEA |  |  | Actual monthly average of daily 3-hour peaking (MW) for the period 2012-13 to 2016-17
April
May
June
July
August
September
October
November
December
January
February
March
Annexure III
SH 3/3
1 | List of beneficiaries/customers along with allocation by GoI including (allocation of unallocated share) / capacity as contracted should also be furnished separately for each generating station.
2 | Declared Capacity should be as per Regulation 31(3) of CERC Tariff Regulations for the period 2014-19 including month wise information may be furnished.
3 | Any relevant point or a specific fact having bearing on performance or operating parameters may also be highlighted or brought to the notice of the Commission.

## Annexure-IV
Annexure –IV
PLANT AVAILABILITY/SCHEDULED PLANT LOAD FACTOR ACHIEVED Generating company: NHPC LTD. Name of Generating station: Uri-II Power Station Installed Capacity (MW) : 240 MW Normative Annual Plant Availability Factor (%) approved by Commission : 55%
Plant Availability Factor Achieved (%)
Month | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | Reasons for shortfall in PAF achieved vis-a-vis NAPAF
April |  |  | 80.1282 | 0 | 95.4974
May |  |  | 101.1466 | 0 | 99.1984
June |  |  | 100.582 | 24.5306 | 100.0337
July |  |  | 101.2146 | 66.9322 | 100.0337
August |  |  | 99.6542 | 95.7731 | 99.3607
September |  |  | 87.6633 | 89.0899 | 88.5656
October |  | 101.2146 | 91.9332 | 97.6957 | 56.448
November |  | 95.8727 | 47.0017 | 101.2146 | 50.6073
December |  | 67.1136 | 0 | 90.2927 | 50.6073
January |  | 67.4764 | 0 | 74.0608 | 54.4913
February |  | 67.4764 | 0 | 70.5109 | 86.7182
March |  | 74.2784 | 0 | 94.3033 | 100.1453
Annual | 0 | 75.4008 | 59.3799 | 67.1511 | 81.7481
Plant Load Factor Achieved (%)
Month | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | Reasons for shortfall in PLF achieved vis-a-vis Target PLF
April
May
June
July | NA
August
September
October
November
December
January
February
March
Annual

## Annexure-XIX (URI-II)
Annexure-XIX
Name of the Utility |  | NHPC LTD.
Name of the Generating Station |  | URI-II Power Station
Station/ Stage/ Unit |  | 4x60 MW
Fuel Type (Coal/ Lignite/ Gas/ Liquid Fuel/ Nuclear/ Hydro | [7 empty] | Hydro
Capacity of Plant (MW) |  | 240 MW
COD |  | 2014-03-01
|  | 2004-05 | 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Plant Availability Factor (PAF) (%) | 2014-03-01 2004-05: Not Commissioned; 2014-03-01 2013-14: 75.4008; 2014-03-01 2014-15: 59.3857; 2014-03-01 2015-16: 67.1603; 2014-03-01 2016-17: 81.7488
2 | Plant Load Factors (PLF) (%)
3 | Scheduled Energy (MU) | 2014-03-01 2004-05: Not Commissioned; 2014-03-01 2013-14: 358.015; 2014-03-01 2014-15: 1162.8025; 2014-03-01 2015-16: 1165.335; 2014-03-01 2016-17: 1438.5262
4 | Scheduled Generation (MU)
5 | Actual Generation (MU) | 2014-03-01 2004-05: Not Commissioned; 2014-03-01 2013-14: 403.76; 2014-03-01 2014-15: 1189.0778; 2014-03-01 2015-16: 1195.5512; 2014-03-01 2016-17: 1472.8452
6 | Quantum of coal consumption (MT) | 2014-03-01 2004-05: Not Applicable
7 | Value of coal (Rs. Lakh)
8 | Specific Coal Consumption (kg/kwh)
9 | Gross Calorific Value of Coal (Kcal/ Kg)
10 | Heat Contribution of Coal (Kcal/ kwh)
11 | Cost Of Specific Coal Consumption (Rs./Kwh) – Finally admitted by CERC
12 | Quantum of Oil Consumption (Lit.)
13 | Value of Oil (Rs. lakh)
14 | Gross calorific value of oil (kcal/lit)
15 | Specific Oil Consumption (ml/ kwh)
16 | Cost Of Specific Oil Consumption (Rs./Kwh) – Finally admitted by CERC
17 | Heat Contribution of Oil (Kcal/ kwh)
18 | Station Heat Rate (kcal/kwh)
19 | Auxiliary Energy Consumption (%) | 2014-03-01 2004-05: Not Commissioned; 2014-03-01 2013-14: 0.94; 2014-03-01 2014-15: 0.78; 2014-03-01 2015-16: 0.71; 2014-03-01 2016-17: 0.8
20 | Debt at the end of the year (Rs. Crore) | 2014-03-01 2013-14: 1476.1927; 2014-03-01 2014-15: 1467.8729; 2014-03-01 2015-16: 1388.7241; 2014-03-01 2016-17: 1307.4999
21 | Equity (Rs. Crore) | 2014-03-01 2013-14: 648.6665; 2014-03-01 2014-15: 694.1003; 2014-03-01 2015-16: 711.4708; 2014-03-01 2016-17: 729.2337
22 | Working Capital (Rs. Crore) – finally admitted by CERC | 2014-03-01 2013-14: 28.1905; 2014-03-01 2014-15: 88.0251; 2014-03-01 2015-16: 90.7243; 2014-03-01 2016-17: 91.9405
23 | Capital cost (Rs. Crore) – finally admitted by CERC | 2014-03-01 2013-14: 2162.2217; 2014-03-01 2014-15: 2313.6678; 2014-03-01 2015-16: 2371.5692; 2014-03-01 2016-17: 2430.7792
24 | Capacity Charges/ Annual Fixed Cost (AFC)
(a) Return on equity – pre tax (admitted by CERC)
| Absolute value | 2014-03-01 2013-14: 43.0183; 2014-03-01 2014-15: 131.6583; 2014-03-01 2015-16: 137.8162; 2014-03-01 2016-17: 141.2611
| Rate (%) | 2014-03-01 2013-14: 19.61%; 2014-03-01 2014-15: 19.61%; 2014-03-01 2015-16: 19.61%; 2014-03-01 2016-17: 19.61%
(b) interest on Loan
| Absolute value | 2014-03-01 2013-14: 49.9954; 2014-03-01 2014-15: 146.0438; 2014-03-01 2015-16: 142.1202; 2014-03-01 2016-17: 134.0201
| Rate (%) – Weighted Average Rate | 2014-03-01 2013-14: 9.93%; 2014-03-01 2014-15: 9.921%; 2014-03-01 2015-16: 9.95%; 2014-03-01 2016-17: 9.941%
(c) Depreciation (finally allowed by CERC)
| Absolute value | 2014-03-01 2013-14: 37.3625; 2014-03-01 2014-15: 114.3321; 2014-03-01 2015-16: 119.6797; 2014-03-01 2016-17: 122.6712
| Rate (%) | 2014-03-01 2013-14: 5.11%; 2014-03-01 2014-15: 5.109%; 2014-03-01 2015-16: 5.109%; 2014-03-01 2016-17: 5.109%
(d) Interest on working Capital
| Absolute value | 2014-03-01 2013-14: 3.7211; 2014-03-01 2014-15: 11.8834; 2014-03-01 2015-16: 12.2478; 2014-03-01 2016-17: 12.412
| Rate (%) | 2014-03-01 2013-14: 13.2%; 2014-03-01 2014-15: 13.5%; 2014-03-01 2015-16: 13.5%; 2014-03-01 2016-17: 13.5%
(e) Operation and maintenance cost (finally admitted by CERC)
| Absolute value | 2014-03-01 2013-14: 14.6024; 2014-03-01 2014-15: 51.7637; 2014-03-01 2015-16: 55.2008; 2014-03-01 2016-17: 58.8661
Rate (%)
(f) Compensation Allowances | bar: 2014-03-01 2004-05
25 | AFC (Rs. Crores) | 2014-03-01 2013-14: 148.6997; 2014-03-01 2014-15: 455.6813; 2014-03-01 2015-16: 467.0647; 2014-03-01 2016-17: 469.2305 | 965.9477
26 | Energy Charge (Rs./Kwh) | 2014-03-01 2014-15: 2.3587; 2014-03-01 2015-16: 2.4176; 2014-03-01 2016-17: 2.4289
27 | Total tariff (Rs. Kwh) | 2014-03-01 2014-15: 4.7175; 2014-03-01 2015-16: 4.8353; 2014-03-01 2016-17: 4.8577
28 | Revenue realisation before tax (Rs. Crore) | 2014-03-01 2013-14: 172.8965; 2014-03-01 2014-15: 580.4568; 2014-03-01 2015-16: 631.2657; 2014-03-01 2016-17: 788.4648
29 | Revenue realisation after tax (Rs. Crore) #
30 | Profit/ loss before tax (Rs. Crore) | 2014-03-01 2013-14: -2.8865; 2014-03-01 2014-15: 156.435; 2014-03-01 2015-16: 210.3245; 2014-03-01 2016-17: 456.3494
31 | DSM Generation (MU) | 2014-03-01 2004-05: Not Commissioned; 2014-03-01 2013-14: 29.4917; 2014-03-01 2014-15: 18.5479; 2014-03-01 2015-16: 21.7682; 2014-03-01 2016-17: 22.928
32 | DSM Rate (Ps/Kwh)
33 | Revenue from DSM (Rs. Crore) | 2014-03-01 2013-14: 2.0243; 2014-03-01 2014-15: 6.442; 2014-03-01 2015-16: 5.0771; 2014-03-01 2016-17: 4.8459
Note:
1. The data at Sl No. 20 to 27 has been filled based on CERC orders dated 27.07.2016 & 04.02.2016
2. The capital cost sl no. 23 & equity at sl no. 21 has been considered as closing equity & capital cost respectively as on 31st March of respective year.
3. Composite tariff shown at sl no. 27 is exclusive of J&K water usage charges.
4. # NHPC calculate Corporate Tax as a whole after considering all the admissible deductions, exemptions etc. as per Income Tax Act. Therefore unitwise calculation has not been made.
Note: Generating Companies are required to submit data for all generating stations.
This is a general format. Plants of different fuel users have to fill the cells as applicable to them. Tariff for the Hydro may be understood as composite tariff.
The data provided for the corresponding years need to mention as Actual or provisional.
Data for each Unit and Stage is required to be submitted in additional sheets as per the format.

## 2012-13 VS 2013-14
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd
Name of Power Station: URI-II POWER STATION
Sl. No. | ITEMS | 2012-13 | 2013-14
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares |  | 0
0
2 | Repair & Maintenance |  | 0
2.1 | For Dam,Intake,WCS,De-silting chamber |  | 1190350
2.2 | For Power House and all other works |  | 6179342
| Sub-Total (Repair and Maintenance) | 0 | 7369692
0
3 | Insurance |  | 14581745
4 | Security Expenses |  | 36334491
0
5 | Administrative Expenses |  | 0
5.1 | Rent |  | 9606822
5.2 | Electricity charges |  | 3971042
5.3 | Travelling & Conveyance |  | 2825325
5.4 | Telephone, Telex & Postage (Communication) |  | 2003122
5.5 | Advertisement |  | 12074
5.6 | Donation |  | 0
5.7 | Entertainment |  | 75366
0
| Sub-total (Administrative expenses) | 0 | 18493751
6 | Employee Cost |  | 0
6.1a | Salaries,wages & allow. -Project |  | 37351909
6.2 | Staff welfare expenses |  | 20524430
6.3 | Productivity Linked incentive |  | 5794540
6.4 | VRS-Ex-gratia |  | 0
6.5 | Ex-gratia |  | 0
6.6 | Performance related pay (PRP) |  | 7243992
| Sub-total (Employee Cost) | 0 | 70914871
7 | Loss of Store |  | 0
0
0
9.1 | Allocation of CO Office expenses |  | 182808915
0
10 | Others (Specify items) |  | -10516361
11 | Total (1 to 10) | 0 | 319987104
12 | Revenue /Recoveries |  | 6738181
13 | Net Expenses | 0 | 313248923
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation

## 2013-14 VS 2014-15
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd
Name of Power Station: URI-II POWER STATION
Sl. No. | ITEMS | 2013-14 | 2014-15 | Variance (%) | Reasons for variance
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 0 | 0
|  | 0 | 0
2 | Repair & Maintenance | 0 | 0
2.1 | For Dam,Intake,WCS,De-silting chamber | 1190350 | 5273371 | 343.0101 | Since project was capitalised on March 2014, data are not comparable.
2.2 | For Power House and all other works | 6179342 | 21766929 | 252.2532 | Since project was capitalised on March 2014, data are not comparable.
| Sub-Total (Repair and Maintenance) | 7369692 | 27040300 | 266.9122
|  | 0 | 0
3 | Insurance | 14581745 | 32167551 | 120.6015 | Since project was capitalised on March 2014, data are not comparable.
4 | Security Expenses | 36334491 | 72634140 | 99.9041 | Since project was capitalised on March 2014, data are not comparable.
|  | 0 | 0
5 | Administrative Expenses | 0 | 0
5.1 | Rent | 9606822 | 22563057 | 134.8649 | Since project was capitalised on March 2014, data are not comparable.
5.2 | Electricity charges | 3971042 | 8062004 | 103.0199 | Since project was capitalised on March 2014, data are not comparable.
5.3 | Travelling & Conveyance | 2825325 | 5186689 | 83.5785 | Since project was capitalised on March 2014, data are not comparable.
5.4 | Telephone, Telex & Postage (Communication) | 2003122 | 4476055 | 123.4539 | Since project was capitalised on March 2014, data are not comparable.
5.5 | Advertisement | 12074 | 7482932 | 61875.5839 | Since project was capitalised on March 2014, data are not comparable.
5.6 | Donation | 0 | 0
5.7 | Entertainment | 75366 | 74222 | -1.5179 | Since project was capitalised on March 2014, data are not comparable.
|  | 0 | 0
| Sub-total (Administrative expenses) | 18493751 | 47844959
6 | Employee Cost | 0 | 0
6.1a | Salaries,wages & allow. -Project | 37351909 | 269699725 | 622.0507 | Since project was capitalised on March 2014, data are not comparable.
6.2 | Staff welfare expenses | 20524430 | 18069943 | -11.9589 | Since project was capitalised on March 2014, data are not comparable.
6.3 | Productivity Linked incentive | 5794540 | 8583376 | 48.1287 | Since project was capitalised on March 2014, data are not comparable.
6.4 | VRS-Ex-gratia | 0 | 0
6.5 | Ex-gratia | 0 | 0
6.6 | Performance related pay (PRP) | 7243992 | 11974124 | 65.2973 | Since project was capitalised on March 2014, data are not comparable.
| Sub-total (Employee Cost) | 70914871 | 308327168
7 | Loss of Store | 0 | 0
|  | 0 | 0
|  | 0 | 0
9.1 | Allocation of CO Office expenses | 182808915 | 142309322 | -22.1541
|  | 0 | 0
10 | Others (Specify items) | -10516361 | 41789294 | -497.3741 | Since project was capitalised on March 2014, data are not comparable.
11 | Total (1 to 10) | 319987104 | 672112734 | 110.0437
12 | Revenue /Recoveries | 6738181 | 3736780 | -44.5432 | Since project was capitalised on March 2014, data are not comparable.
13 | Net Expenses | 313248923 | 668375954 | 113.369
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation

## 2014-15 VS 2015-16
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd
Name of Power Station: URI-II POWER STATION
Sl. No. | ITEMS | 2014-15 | 2015-16 | Variance (%) | Reasons for variance
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 0 | 0
|  | 0 | 0
2 | Repair & Maintenance | 0 | 0
2.1 | For Dam,Intake,WCS,De-silting chamber | 5273371 | 8702029 | 65.0183 | As Project has commisioned in March 2014, Cost of Spares purchased was nominal upto Mar, 2015, which has increased during FY 2015-16. On account of hiring of outsourced manpower during the FY 2015-16 and servicing of HM Equipments for smooth operaion of Dam Control Room.
2.2 | For Power House and all other works | 21766929 | 35365589 | 62.4739 | After commisoning of all units, malfunctioning / failure of electronic cards/components/ sensors have been observed probably due ambient constraint. As a results Power Station had to procure the same to avoid the forced outstage.
| Sub-Total (Repair and Maintenance) | 27040300 | 44067618
|  | 0 | 0
3 | Insurance | 32167551 | 46695604 | 45.1637
4 | Security Expenses | 72634140 | 81540365 | 12.2618 | Increase in security expenditure is due to induction CISF and increase of DA and annual increment of the security personnel.
|  | 0 | 0
5 | Administrative Expenses | 0 | 0
5.1 | Rent | 22563057 | 21633266 | -4.1209
5.2 | Electricity charges | 8062004 | 8368799 | 3.8054
5.3 | Travelling & Conveyance | 5186689 | 3817989 | -26.3887 | Due to decrease of number of training as compared to Corresponding previous period ( INLAND TRAVEL and DAILY ALLOWANCE/BOARDING AND LODGING CHARGES )
5.4 | Telephone, Telex & Postage (Communication) | 4476055 | 4512945 | 0.82416
5.5 | Advertisement | 7482932 | 1052569 | -85.9337
5.6 | Donation | 0 | 0
5.7 | Entertainment | 74222 | 23855 | -67.8599 | Vary due decrease/ increase in nos of Chief Engineers and above.
|  | 0 | 0
| Sub-total (Administrative expenses) | 47844959 | 39409423 | -17.631
6 | Employee Cost | 0 | 0
6.1a | Salaries,wages & allow. -Project | 269699725 | 261147789 | -3.1709
6.2 | Staff welfare expenses | 18069943 | 23264478 | 28.7468 | Expenditure increased more than 10% due to increase in Medical reimbursement and cost of medicine
6.3 | Productivity Linked incentive | 8583376 | 8785098 | 2.3501
6.4 | VRS-Ex-gratia | 0 | 0
6.5 | Ex-gratia | 0 | 0
6.6 | Performance related pay (PRP) | 11974124 | 11840115 | -1.1192
| Sub-total (Employee Cost) | 308327168 | 305037480 | -1.0669
7 | Loss of Store | 0 | 45487
|  | 0 | 0
|  | 0 | 0
9.1 | Allocation of CO Office expenses | 142309322 | 150289737 | 5.6078
|  | 0 | 0
10 | Others (Specify items) | 41789294 | 36930073 | -11.6279 | Increse in operational/Running Expenses of Kendriya Vidyalay
11 | Total (1 to 10) | 672112734 | 704015787 | 4.7467
12 | Revenue /Recoveries | 3736780 | 22765186 | 509.2193 | Due to booking of amount pertaining to Liability & provision not required written off in FY 2015-16
13 | Net Expenses | 668375954 | 681250601 | 1.9263
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation

## 2015-16 VS 2016-17
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd
Name of Power Station: URI-II POWER STATION
Sl. No. | ITEMS | 2015-16 | 2016-17 | Variance (%) | Reasons for variance
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 0 | 0
|  | 0 | 0
2 | Repair & Maintenance | 0 | 0
2.1 | For Dam,Intake,WCS,De-silting chamber | 8702029 | 16206700 | 86.2405 | As Project is in intial stage, inventory are being build up for regular and preventive maintance of HM Plant, Equipmment & Structure. Besides that wages has increased w.r.t hired manpower for routine mainteance.
2.2 | For Power House and all other works | 35365589 | 47069361 | 33.0937 | Due to aggitation/ strike by contract labour because of wages discrepency w.r.t Uri Power Station, wages were made at par with Uri Power Station inline with the PSR in Apr,2016(i.e. more than the minimum wages, notified by GOI).
| Sub-Total (Repair and Maintenance) | 44067618 | 63276061 | 43.5886
|  | 0 | 0
3 | Insurance | 46695604 | 50668052 | 8.5071
4 | Security Expenses | 81540365 | 124380926 | 52.5391 | Increase in security expenditure is due to induction CISF and increase of DA and annual increment of the security personnel.
|  | 0 | 0
5 | Administrative Expenses | 0 | 0
5.1 | Rent | 21633266 | 19901296 | -8.006
5.2 | Electricity charges | 8368799 | 8108403 | -3.1115
5.3 | Travelling & Conveyance | 3817989 | 4338277 | 13.6273
5.4 | Telephone, Telex & Postage (Communication) | 4512945 | 4337127 | -3.8959
5.5 | Advertisement | 1052569 | 3051756 | 189.9341 | Mainly expenditure increase under Misc public relation incurred for maintaining good rapport with State officials.
5.6 | Donation | 0 | 0
5.7 | Entertainment | 23855 | 21010 | -11.9262 | Vary due decrease/ increase in nos of Chief Engineers and above.
|  | 0 | 0
| Sub-total (Administrative expenses) | 39409423 | 39757869 | 0.88417
6 | Employee Cost | 0 | 0
6.1a | Salaries,wages & allow. -Project | 261147789 | 302376908 | 15.7877 | Exp increased due to provsioning of 3months exp of salary on account of wage revision from Jan-17
6.2 | Staff welfare expenses | 23264478 | 15612523 | -32.8912
6.3 | Productivity Linked incentive | 8785098 | 18733021 | 113.2363 | Increase due to payment of arear of PLGI at revised rate from F.Y 2010-11 to F.Y 2013-14 and provision of PLGI for Q4 of FY 2016-17 made on revised pay
6.4 | VRS-Ex-gratia | 0 | 521488
6.5 | Ex-gratia | 0 | 0
6.6 | Performance related pay (PRP) | 11840115 | 13473950 | 13.7991 | Expenditure depend upon the rating of NHPC, KPA and nos of empolyees in the project
| Sub-total (Employee Cost) | 305037480 | 350717890 | 14.9753
7 | Loss of Store | 45487 | 9759 | -78.5455 | Minimal amount
|  | 0 | 0
|  | 0 | 0
9.1 | Allocation of CO Office expenses | 150289737 | 286529520 | 90.6514
|  | 0 | 0
10 | Others (Specify items) | 36930073 | 50289241 | 36.1742
11 | Total (1 to 10) | 704015787 | 965629318 | 37.1602
12 | Revenue /Recoveries | 22765186 | 9336391 | -58.9883 | Due to booking of amount pertaining to Liability & provision not required written off in FY 2015-16
13 | Net Expenses | 681250601 | 956292927 | 40.3731
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation