## Annexure-III 1 to 3
Annexure-III
SH 1/3
Pro-forma for furnishing Actual annual performance/operational data for the Hydro Electric generating stations for the 5-year period from 2012-13 to 2016-17
| Particulars |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Name of Company |  |  | NHPC LTD.
2 | Name of Station |  |  | Loktak Power Station
3 | Installed Capacity and Configuration |  | (MW) | 105
4 | Station Location |  | Under ground or Surface | Surface
5 | Type of Excitation System |  |  | Static
6 | Live Storage Capacity |  | (Million Cubic) | 396.55 | 396.55 | 396.55 | 396.55 | 396.55
7 | Rated Head |  | Metres | 298 M | 298 M | 298 M | 298 M | 298 M
8 | Head at Full Reservoir Level (FRL) |  | Metres | 312.40 M | 312.40 M | 312.40 M | 312.40 M | 312.40 M
9 | Head at Minimum Draw down Level (MDDL) |  | Metres | 309.05 M | 309.05 M | 309.05 M | 309.05 M | 309.05 M
10 | MW Capability at FRL |  | MW | 105 | 105 | 105 | 105 | 105
11 | MW Capability at MDDL |  | MW | 103.874 | 103.874 | 103.874 | 103.874 | 103.874
12 | Cost of spares :
12.1 | Cost of spares capitalized in books of accounts |  | (Rs. Lakhs) | 0 | 28.71 | 70.25 | 34.33 | 263.09
12.2 | Cost of spares included in the capital cost for the purpose of tariff |  | (Rs. Lakhs) | 0 | 0 | 0 | 0 | 0
Period
13 | Generation :
13.1 | Actual Gross Generation at Generator Terminals |  | (MU) | 580.56 | 639.84 | 372.4733 | 536.6054 | 741.0748
13.2 | Actual Net Generation Ex-bus including free power |  | (MU) | 566.7209 | 623.1517 | 360.6736 | 521.5123 | 718.7918
13.3 | Scheduled generation Ex-bus including free power |  | (MU) | 557.4748 | 614.048 | 353.7265 | 517.2854 | 715.253
14 | Actual Auxiliary Energy Consumption excluding colony consumption |  | (MU) | 13.8391 | 16.7 | 8.9858 | 11.6688 | 18.6303
15 | Actual Energy supplied to Colony from the station |  | (MU) | 3.25 | 3.3981 | 2.8579 | 3.4469 | 3.335
16 | Average Declared Capacity (DC) during the year |  | (MW) | 98.2388 | 96.3057 | 95.314 | 94.6775 | 102.7139
Annexure-III
SH 2/3
| Period |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
17 | Weighted Average duration of outages ( Unit-wise details)
17.1 | Scheduled outages |  | (Days) | 81.0549 | 104.0521 | 104.0431 | 111.3757 | 53.0215
17.2 | Forced outages |  | (Days) | 4.3621 | 3.8535 | 4.9009 | 3.259 | 0.92885
18 | Cost of spares actually consumed |  | (Rs. Lakhs) | 0 | 0 | 28.71 | 126.41 | 43.23
19 | Average stock of spares |  | (Rs. Lakhs) | 45.23 | 73.94 | 115.48 | 23.4 | 243.26
Month wise Design Energy (Existing)
Month |  | Period | Design Energy as approved by CEA (MU) |  | Month | Period | Design Energy as approved by CEA (MU)
April |  | 1-10 | 10.08 |  | October | 1-10 | 16.8
|  | 11-20 | 10.08 | 10.08 |  | 11-20 | 16.8 | 16.8
|  | 21-30 | 10.08 | 10.08 |  | 21-31 | 18.48 | 18.48
May |  | 1-10 | 10.08 | 10.08 | November | 1-10 | 10.08 | 10.08
|  | 11-20 | 10.08 | 10.08 |  | 11-20 | 10.08 | 10.08
|  | 21-31 | 11.088 | 11.088 |  | 21-30 | 10.08 | 10.08
June |  | 1-10 | 10.08 | 10.08 | December | 1-10 | 10.08 | 10.08
|  | 11-20 | 10.08 | 10.08 |  | 11-20 | 10.08 | 10.08
|  | 21-30 | 10.08 | 10.08 |  | 21-31 | 11.088 | 11.088
July |  | 1-10 | 16.8 | 16.8 | January | 1-10 | 10.08 | 10.08
|  | 11-20 | 16.8 | 16.8 |  | 11-20 | 10.08 | 10.08
|  | 21-31 | 16.8 | 18.48 |  | 21-31 | 11.088 | 11.088
August |  | 1-10 | 16.8 | 16.8 | February | 1-10 | 10.08 | 10.08
|  | 11-20 | 16.8 | 16.8 |  | 11-20 | 10.08 | 10.08
|  | 21-31 | 17.64 | 18.48 |  | 21-28 | 8.064 | 8.064
September |  | 1-10 | 16.8 | 16.8 | March | 1-10 | 10.08 | 10.08
|  | 11-20 | 16.8 | 16.8 |  | 11-20 | 10.08 | 10.08
|  | 21-30 | 16.8 | 16.8 |  | 21-31 | 11.088 | 11.088
[5 empty] | Total |  | 448.056
Storage Hydro plants shall also furnish actual monthly average peaking generation in MW achieved during the period 2012-13 to 2016-17 against the monthly average peaking capability approved by CEAas per following format:
Month |  | Expected Avg. of daily 3-hour peaking capacity as approved by CEA |  |  | Actual monthly average of daily 3-hour peaking (MW) for the period 2012-13 to 2016-17
April |  | 103.95 |  |  |  | 76.4667 |  |  | 103.95 | 1% | 105
May |  | 103.95 |  |  |  | 92.871 |  |  | 103.95 | 1% | 105
June |  | 103.95 |  |  |  | 92.98 |  |  | 103.95 | 1% | 105
July |  | 103.95 |  |  |  | 104.4774 |  |  | 103.95 | 1% | 105
August |  | 103.95 |  |  |  | 104.3484 |  |  | 103.95 | 1% | 105
September |  | 103.95 |  |  |  | 104.8 |  |  | 103.95 | 1% | 105
October |  | 103.95 |  |  |  | 104.8 |  |  | 103.95 | 1% | 105
November |  | 103.95 |  |  |  | 97.3333 |  |  | 103.95 | 1% | 105
December |  | 103.95 |  |  |  | 86.0581 |  |  | 103.95 | 1% | 105
January |  | 103.95 |  |  |  | 94.271 |  |  | 103.95 | 1% | 105
February |  | 103.95 |  |  |  | 86.5303 |  |  | 103.95 | 1% | 105
March |  | 103.95 |  |  |  | 100.7032 |  |  | 103.95 | 1% | 105
Annexure III
SH 3/3
1 | List of beneficiaries/customers along with allocation by GoI including (allocation of unallocated share) / capacity as contracted should also be furnished separately for each generating station.
2 | Declared Capacity should be as per Regulation 31(3) of CERC Tariff Regulations for the period 2014-19 including month wise information may be furnished.
3 | Any relevant point or a specific fact having bearing on performance or operating parameters may also be highlighted or brought to the notice of the Commission.
Month wise Design Energy (Post R&M)
Month |  | Period | Design Energy as approved by CEA (MU) |  | Month | Period | Design Energy as approved by CEA (MU)
April |  | 1-10 | 4.14 |  | October | 1-10 | 23.9404
|  | 11-20 | 5.1 | 5.1 |  | 11-20 | 23.27 | 23.27
|  | 21-30 | 9.07 | 9.07 |  | 21-31 | 23.22 | 23.22
May |  | 1-10 | 12.89 | 12.89 | November | 1-10 | 14.65 | 14.65
|  | 11-20 | 13.14 | 13.14 |  | 11-20 | 14.39 | 14.39
|  | 21-31 | 17.15 | 17.15 |  | 21-30 | 12.4 | 12.4
June |  | 1-10 | 23.9404 | 23.94 | December | 1-10 | 11.53 | 11.53
|  | 11-20 | 23.9404 | 23.94 |  | 11-20 | 11.24 | 11.24
|  | 21-30 | 23.9404 | 23.94 |  | 21-31 | 10.34 | 10.34
July |  | 1-10 | 23.9404 | 23.94 | January | 1-10 | 7.07 | 7.07
|  | 11-20 | 23.9404 | 23.94 |  | 11-20 | 6.28 | 6.28
|  | 21-31 | 26.33 | 26.33 |  | 21-31 | 6.88 | 6.88
August |  | 1-10 | 23.9404 | 23.94 | February | 1-10 | 5.83 | 5.83
|  | 11-20 | 23.9404 | 23.94 |  | 11-20 | 5.95 | 5.95
|  | 21-31 | 26.3303 | 26.33 |  | 21-28 | 7.38 | 7.38
September |  | 1-10 | 23.2603 | 23.26 | March | 1-10 | 9.7302 | 9.73
|  | 11-20 | 23.9404 | 23.94 |  | 11-20 | 9.8703 | 9.87
|  | 21-30 | 23.9404 | 23.94 |  | 21-31 | 5.8803 | 5.88
[5 empty] | Total |  | 562.7254
Note:
CEA vide its Letter No 19/10(R&M(Loktak)/2016 एचपीए-11/694 दिनांक 24/11/2016 has approved Deisng Energy of 562.73 MU

## Annexure-IV
Annexure –IV
PLANT AVAILABILITY/SCHEDULED PLANT LOAD FACTOR ACHIEVED Generating company: NHPC LTD. Name of Generating station: Loktak Power Station Installed Capacity (MW) : 105 MW Normative Annual Plant Availability Factor (%) approved by Commission : 85%
Plant Availability Factor Achieved (%)
Month | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | Reasons for shortfall in PAF achieved vis-a-vis NAPAF
April | 78.2427 | 56.1167 | 65.0954 | 67.3401 | 101.0101 |  | 76.4667
May | 71.6846 | 83.632 | 90.1488 | 101.0101 | 100.2343 |  | 92.871
June | 94.3402 | 101.0101 | 74.3947 | 77.4411 | 100.0481 |  | 92.98
July | 99.924 | 101.0101 | 100.5446 | 101.0101 | 100.0481 |  | 104.4774
August | 101.0101 | 101.0101 | 101.0101 | 101.0101 | 97.8758 |  | 104.3484
September | 101.0101 | 101.0101 | 101.0101 | 101.0101 | 100.0481 |  | 104.8
October | 101.0101 | 101.0101 | 101.0101 | 101.0101 | 100.0481 |  | 104.8
November | 86.4198 | 79.6857 | 101.0101 | 101.0101 | 100.0481 |  | 97.3333
December | 76.0291 | 95.5795 | 73.8568 | 68.4262 | 100.0481 |  | 86.0581
January | 101.0101 | 89.0627 | 98.8378 | 78.2014 | 86.3318 |  | 94.271
February | 101.0101 | 78.1626 | 68.5426 | 94.0439 | 74.452 |  | 86.5303
March | 101.0101 | 101.0101 | 101.0101 | 80.3736 | 100.9791 |  | 100.7032
Annual | 92.6868 | 90.863 | 89.9273 | 89.3268 | 96.9091
Plant Load Factor Achieved (%)
Month | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | Reasons for shortfall in PLF achieved vis-a-vis Target PLF
April
May
June
July
August
September
October
November
December
January
February
March
Annual

## Annexure-XIX (LOKTAK)
Annexure-XIX
Name of the Utility |  | NHPC LTD.
Name of the Generating Station |  | Loktak Power Station
Station/ Stage/ Unit |  | 3x35MW
Fuel Type (Coal/ Lignite/ Gas/ Liquid Fuel/ Nuclear/ Hydro | [7 empty] | Hydro
Capacity of Plant (MW) |  | 105 MW
COD |  | 1982-04-01
|  | 2004-05 | 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Plant Availability Factor (PAF) (%) | 90.057 | 91.98 | 91.9799 | 90.2013 | 87.52 | 70.9973 | 76.2658 | 80.1172 | 92.6868 | 90.863 | 89.9273 | 89.3268 | 96.9091
2 | Plant Load Factors (PLF) (%)
3 | Scheduled Energy (MU) | 611.1958 | 570.8821 | 461.066 | 589.7464 | 489.6634 | 373.2164 | 590.7498 | 508.7406 | 557.4748 | 614.048 | 353.7265 | 517.2854 | 715.253
4 | Scheduled Generation (MU)
5 | Actual Generation (MU) | 629.67 | 586.12 | 475.43 | 604.476 | 498.11 | 380.9 | 605 | 523.4069 | 580.56 | 639.84 | 372.4733 | 536.6054 | 741.0748 |  | 2.61%
6 | Quantum of coal consumption (MT) | 1982-04-01 2004-05: Not Applicable
7 | Value of coal (Rs. Lakh)
8 | Specific Coal Consumption (kg/kwh)
9 | Gross Calorific Value of Coal (Kcal/ Kg)
10 | Heat Contribution of Coal (Kcal/ kwh)
11 | Cost Of Specific Coal Consumption (Rs./Kwh) – Finally admitted by CERC
12 | Quantum of Oil Consumption (Lit.)
13 | Value of Oil (Rs. lakh)
14 | Gross calorific value of oil (kcal/lit)
15 | Specific Oil Consumption (ml/ kwh)
16 | Cost Of Specific Oil Consumption (Rs./Kwh) – Finally admitted by CERC
17 | Heat Contribution of Oil (Kcal/ kwh)
18 | Station Heat Rate (kcal/kwh)
19 | Auxiliary Energy Consumption (%) | Not Available |  | 0.42277 | 0.39765 | 0.43763 | 0.45798 | 0.32601 | 0.34412 | 0.37425 | 2.61 | 2.41 | 2.16 | 2.51
20 | Debt at the end of the year (Rs. Crore) ^ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | Equity (Rs. Crore) | 66.6945 | 66.446 | 66.4478 | 66.6682 | 66.777 | 68.5045 | 70.3808 | 72.6729 | 73.3732 | 74.6964 | 76.8094 | 77.5324 | 77.951
22 | Working Capital (Rs. Crore) – finally admitted by CERC | 14.247 | 14.7573 | 15.3315 | 15.5967 | 15.8849 | 29.9778 | 31.6452 | 33.4516 | 34.9279 | 36.9938 | 43.8483 | 46.5748 | 49.4176
23 | Capital cost (Rs. Crore) – finally admitted by CERC | 142.13 | 141.3019 | 141.3078 | 142.0426 | 142.4052 | 148.1634 | 154.4179 | 162.058 | 164.3926 | 168.8031 | 175.8465 | 178.2564 | 179.6517
24 | Capacity Charges/ Annual Fixed Cost (AFC)
(a) Return on equity – pre tax (admitted by CERC)
| Absolute value | 9.3349 | 9.3198 | 9.3026 | 9.3181 | 9.3412 | 15.8827 | 16.1176 | 16.4111 | 14.3775 | 15.4555 | 15.8142 | 16.1102 | 16.2294
| Rate (%) * | 14% | 14% | 14% | 14% | 14% | 23.48% | 23.21% | 22.94% | 19.69% | 20.88% | 20.88% | 20.88% | 20.88%
(b) interest on Loan
| Absolute value | 0.1733 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Rate (%) – Weighted Average Rate | 14.5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(c) Depreciation (finally allowed by CERC)
| Absolute value | 5.0732 | 5.0484 | 5.0728 | 5.1194 | 5.2044 | 5.4132 | 6.1177 | 7.0746 | 7.8821 | 8.4771 | 9.1885 | 9.4586 | 9.5621
| Rate (%) | 1982-04-01 2009-10: As the power Station has already completed 12 years, remaining depreciation is uniformily distributed over the balance useful life.
(d) Interest on working Capital
| Absolute value | 1.4603 | 1.5126 | 1.5715 | 1.5987 | 1.6282 | 3.6723 | 3.8765 | 4.0978 | 4.2787 | 4.5317 | 5.9195 | 6.2876 | 6.6714
| Rate (%) | 10.25% | 10.25% | 10.25% | 10.25% | 10.25% | 12.25% | 12.25% | 12.25% | 12.25% | 12.25% | 13.5% | 13.5% | 13.5%
(e) Operation and maintenance cost (finally admitted by CERC)
| Absolute value | 31.4418 | 32.6994 | 34.0074 | 34.0074 | 34.0074 | 64.5412 | 68.233 | 72.1359 | 76.2621 | 80.6243 | 96.7364 | 103.1636 | 110.0178
Rate (%)
(f) Compensation Allowances | bar: 1982-04-01 2004-05
25 | AFC (Rs. Crores) | 47.4835 | 48.5802 | 49.9543 | 50.0436 | 50.1812 | 89.5094 | 94.3448 | 99.7194 | 102.8004 | 109.0886 | 127.6586 | 135.02 | 142.4807 | 390.2976
26 | Energy Charge (Rs./Kwh) | 0.6083 | 0.62235 | 0.63995 | 0.6411 | 0.64286 | 1.1467 | 1.2086 | 1.2775 | 1.3169 | 1.3975 | 1.6354 | 1.7297 | 1.8253
27 | Total tariff (Rs. Kwh) | 1.2166 | 1.2447 | 1.2799 | 1.2822 | 1.2857 | 2.2934 | 2.4173 | 2.555 | 2.6339 | 2.795 | 3.2708 | 3.4594 | 3.6506
28 | Revenue realisation before tax (Rs. Crore) | 45.5648 | 50.1557 | 69.1784 | 59.8947 | 51.8754 | 74.1761 | 96.5154 | 103.2342 | 153.7272 | 127.7908 | 112.3076 | 166.2598 | 174.5229
29 | Revenue realisation after tax (Rs. Crore) #
30 | Profit/ loss before tax (Rs. Crore) | 10.4206 | 8.4535 | 30.0375 | 7.18 | -21.3881 | -8.3619 | -2.0161 | 5.0459 | 63.9239 | 40.0681 | 5.039 | 61.7032 | 42.8734
31 | DSM Generation (MU) | 6.3118 | 3.7831 | 4.1687 | 4.1988 | -0.29385 | -0.0019196 | 4.3545 | 5.2132 | 9.21 | 9.6677 | 6.974 | 3.8832 | 3.8468
32 | DSM Rate (Ps/Kwh)
33 | Revenue from DSM (Rs. Crore) |  |  | 1.35 | 1.96 | 1.091 | 1.26 | 3.7203 | -0.010232 | 3.9406 | 1.4135 | 0.88624 | 1.061 | 1.1161
Note:
1. The data at Sl No. 20 to 27 has been filled based on CERC orders dated 18.09.2015, 13.02.2014, 10.02.2010 & 27.10.2009
2. The capital cost sl no. 23 & equity at sl no. 21 has been considered as closing equity & capital cost respectively as on 31st March of respective year.
3. The depreciation at Sl No. 24(c) for the period 2004-09 is inclusive of Advance Against Depreciation (AAD)
4. * The Return On Equity (ROE) at Sl No. 24(a) for the period 2004-09 is exclusive of Tax as the same was not part of AFC & separately reimbursable from beneficiaries.
5. ^ The Normative debt at the end of the year (sl no.20) has been considered as ZERO as the gross normative loan is fully repaid & allowed depreciation in respectve years are more than 70% of admitted additional capitalization.
6. # NHPC calculate Corporate Tax as a whole after considering all the admissible deductions, exemptions etc. as per Income Tax Act. Therefore unitwise calculation has not been made.
Note: Generating Companies are required to submit data for all generating stations.
This is a general format. Plants of different fuel users have to fill the cells as applicable to them. Tariff for the Hydro may be understood as composite tariff.
The data provided for the corresponding years need to mention as Actual or provisional.
Data for each Unit and Stage is required to be submitted in additional sheets as per the format.

## LOK 2015-16 vs2016-17
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : National Hydroelectric Power Corporation Ltd
Name of Power Station: Loktak Power Station
Sl. No. | ITEMS | 2015-16 | 2016-17 | Variation from Previous yr % | Justification of Variation from P.Y.
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 15367444 | 17184017 | 11.8209 | Power Station is towards completion of its life. Increase in F.Y. 2016-17 is due to more consumption of Stores and Spares during annual maintenance as compare to that during the Previous Year.
|  | 0 | 0
2 | Repair & Maintenance | 0 | 0
2.1 | For Dam,Intake,WCS,De-silting chamber | 53967325 | 70895645 | 31.3677 | Power Station is towards completion of its life. The protection work at right as well as left bank of Barrage is required in every /alternate year due to damage is made by water flow at downstream level. Hence various protection works considering also the suggestions made by Dam Safety Team, were under taken at left and right bank of Ithai Barrage in F.Y. 2016-17 which have an additional impact of Rs.1 Cr. on R&M of Dam & Reservoir during F.Y. 2016-2017. Secondly some stone pitching works which have additional impact of Rs0.80 cr., were under taken between emergency gate to bamboo trash for slope protection in both side i.e. left as well as right sides of power channel as the same were got damaged over the past years. Moreover considerable portion of R&M expenditures constitutes deployment of manpower services where expnditures increased more than 40% comparing to previous year on account of enhancement of minimum wages.
2.2 | For Power House and all other works | 147118926 | 169954756 | 15.522 | There is positive variation of 16% comparing to previous year. The variation is due to various small works related to Other Building were undertaken by Power Station during F.Y. 2016-2017. Power Station is 33 years old and various old structure required repair works. The security of Power Station at Leimatak and Ithai Barrage rest with the CRPF to whom NHPC have to provide various structures like Barrack and Morcha. R&M of other building constitutes considerable portion of expenditures towards these structure also. Moreover various other buildings like boundry walls of Loktak, Leimatak etc., KV Schools were repaired during F.Y. 2016-2017 which increases the expenditures under the head as compare to previous year. Moreover considerable portion of R&M expenditures constitutes deployment of manpower services where expnditures increased more than 40% comparing to previous year on account of enhancement of minimum wages.
| Sub-Total (Repair and Maintenance) | 201086251 | 240850401
|  | 0 | 0
3 | Insurance | 28588928 | 29426793 | 2.9307
4 | Security Expenses | 7890902 | 8734878 | 10.6956 | Increase is due to requirement of additional security, accordingly strength of gaurds in totality, got increased from 105nos. to 110 nos.
|  | 0 | 0
5 | Administrative Expenses | 0 | 0
5.1 | Rent | 4723489 | 3726361 | -21.11 | Actual expenditures incurred under the head in F.Y, 2016-17 were 49.70 Lakh. An entry of Rs.13 lakh, against provisional liablity created on 31.12.2016 was wrongly reversed from this head which cuases to decrease the total amount comparing to previous year.
5.2 | Electricity charges | 695298 | 369592 | -46.8441 | Power station has taken the supply of electricity from MSEB for Ithai Barrage and Liasion office at Imphal in F.Y. 2016-17. Previous year/(s), electricty had to supply from MSEB due to replacement of 2 nos. 11 KV Line of Power Station supplying electricty to Loktak. Hence electricity charges substantially decreased comparing to Previous Year.
5.3 | Travelling & Conveyance | 5642511 | 7106715 | 25.9495 | Expenditures are related to official tour and training of employees. Official tour of employees are assigned with the approval of competent authority based on the requirements of work/trip. Further trainings outside the station are monitored/nominated from T&HRD C.O., which are also as per schedule and targets. None of the expenditures exceptional are nature found during the F.Y.
5.4 | Telephone, Telex & Postage (Communication) | 4705853 | 5006250 | 6.3835
5.5 | Advertisement | 1424287 | 2993126 | 110.1491 | Increase is due to incurrence more expenditures on publication of tenders for works & purchase and also there is increase in expenditures on account of sponsoring the sport events in Manipur as compare to previous year.
5.6 | Donation | 0 | 0
5.7 | Entertainment | 2250 | 0 | -100 | Negligible expenditures
|  | 0 | 0
| Sub-total (Administrative expenses) | 17193688 | 19202044
6 | Employee Cost | 0 | 0
6.1a | Salaries,wages & allow. -Project | 489803898 | 663129843 | 35.3868 | Provision of wage revision due to 3rd PRC and due to change in ceiling of Gratuity from 10 lacs to 20 lacs
6.2 | Staff welfare expenses | 13780291 | 23515184 | 70.6436 | Increase in Acturial Valuation of medical benefits of retired employees.
6.3 | Productivity Linked incentive | 26248219 | 66473144 | 153.2482 | Increase due to payment of arear of PLGI at revised rate from F.Y 2010-11 to F.Y 2013-14 and provision of PLGI for Q4 of FY 2016-17 made on revised pay
6.4 | VRS-Ex-gratia | 13507664 | 0 | -100 | As per actual no of employees opted VRS
6.5 | Ex-gratia | 0 | 0
6.6 | Performance related pay (PRP) | 10172593 | 11864600 | 16.633 | Incresed due to 1. Normal increase in salary as compared to previous year. 2. Provision made on revised pay for Q4 (F.Y 2016-17)
| Sub-total (Employee Cost) | 553512665 | 764982771
7 | Loss of Store | 0 | 0
|  | 0 | 0
|  | 0 | 0
9.1 | Allocation of CO Office expenses | 13902220 | 27363401 | 96.8276 | As per CO advice
|  | 0 | 0
10 | Others (Specify items) | 33936074 | 33578563 | -1.0535
11 | Total (1 to 10) | 871478172 | 1141322868
12 | Revenue /Recoveries | 7058243 | 16814357 | 138.223 | Due to increase in Liability/Provision not required back and increase in other income
13 | Net Expenses | 864419929 | 1124508511
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation

## LOK 201415 vs 2015-16
DETAILS OF OPERATION AND MAINTENANCE EXPENSES F.Y.2015-16
Name of the Company : NHPC Ltd
Name of Power Station: Loktak Power Station
Sl. No. | ITEMS | 2014-15 | 2015-16 | Variation from Previous yr | Justification of Variation from P.Y.
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 6749018 | 15367444 | 127.699 | During F.Y. 2015-2016, capital spare namely Guide Vane Lower Ring Assembly were replaced by Power House due to non functioning of already installed.
|  | 0 | 0
2 | Repair & Maintenance | 0 | 0
2.1 | For Dam,Intake,WCS,De-silting chamber | 60781353 | 53967325 | -11.2107 | Variation is on negative side of around 11%.
2.2 | For Power House and all other works | 109910355 | 147118926 | 33.8536 | There is positive varition around 34% under the head comparing to previous year. The increase is due to enhancement of expenditures on repair works of Roads from Loktak to Power House being maintained by the NHPC and restoration works undertaken on various other buidings. The repair works required due to occurence of earthquake in eastern part of India in F.Y. 2014-15 which causes huge loses/damages to roads and many other structures of Loktak Power Station and requiring restoration immediately. Further, considerable portion of R&M expenditures constitutes deployment of manpower services where expnditures increased around 7% comparing to previous year on account of enhancement of minimum wages.
| Sub-Total (Repair and Maintenance) | 170691708 | 201086251
|  | 0 | 0
3 | Insurance | 20881934 | 28588928 | 36.9075 | In case of Mega Insurance Police 1. Increase in premium rates on account of deteriorating claim ratio as a result of loss due Fire incident at Uri-II Power Station and submergence of Chutak power Station in November 2014 and June 2015 respectively and other claims during policy period 2014-15 2. Increase in sum-insured due to increase in reinstatement cost of assets on Valuation. 3. Increase in the rate of Service Tax and WCT from 12.36% to 14% and 10.5% to 12.6% respectively. In case of CPM policy, Increase in Sum insured due to valuation of Assets, additional Construction equipment purchased and increase in premium rates & Service Tax/WCT rates as above.
4 | Security Expenses | 6665807 | 7890902 | 18.3788 | Increase is due to enhancement in pay of security gaurds around 25% in F.Y. 2015-16 comparing to that in previous year
|  | 0 | 0
5 | Administrative Expenses | 0 | 0
5.1 | Rent | 4544345 | 4723489 | 3.9421 | variation is less than 10%
5.2 | Electricity charges | 1723724 | 695298 | -59.663 | Electricity supply taken in F.Y. 2014-15 from State, were stopped after completion of replacement work in Apr-2015. Hence the expenditures under the head decreased as compare to booked under Previous Year
5.3 | Travelling & Conveyance | 7634909 | 5642511 | -26.0959 | Expenditures are related to official tour and training of employees. Official tour of employees are assigned with the approval of competent authority based on the requirements of work/trip. Further trainings outside the station are monitored/nominated from T&HRD C.O., which are also as per schedule and targets. None of the expenditures exceptional are nature found during the F.Y.
5.4 | Telephone, Telex & Postage (Communication) | 4585660 | 4705853 | 2.6211 | variation is less than 10%
5.5 | Advertisement | 973550 | 1424287 | 46.2983 | Increase is due to incurrence of expenditures on sponsoring the local sports event in Manipur for Rs.4 lakh during F.Y. 2015-16
5.6 | Donation | 0 | 0
5.7 | Entertainment | 27750 | 2250 | -91.8919 | Negligible expenditures
|  | 0 | 0
| Sub-total (Administrative expenses) | 19489938 | 17193688
6 | Employee Cost | 0 | 0
6.1a | Salaries,wages & allow. -Project | 535538488 | 489803898 | -8.5399
6.2 | Staff welfare expenses | 42331550 | 13780291 | -67.4468 | Derease in Acturial Valuation of medical benefits of retired employees and medical claims of employees
6.3 | Productivity Linked incentive | 26521043 | 26248219 | -1.0287
6.4 | VRS-Ex-gratia | 4902616 | 13507664 | 175.5195 | As per actual no of employees opted VRS
6.5 | Ex-gratia | 0 | 0
6.6 | Performance related pay (PRP) | 10560943 | 10172593 | -3.6772
| Sub-total (Employee Cost) | 619854640 | 553512665
7 | Loss of Store | 120929 | 0
|  | 0 | 0
|  | 0 | 0
9.1 | Allocation of CO Office expenses | 11658105 | 13902220 | 19.2494 | As per CO advice
|  | 0 | 0
10 | Others (Specify items) | 28804672 | 33936074 | 17.8145 | Increase in Consultansy Exps, Rate & Taxes, Payment to Kendriya Vidyalaya & Guest House exps.
11 | Total (1 to 10) | 884916751 | 871478172
12 | Revenue /Recoveries | 25915467 | 7058243 | -72.7644 | Due to decrease in Liability/Provision not required back and in other income
13 | Net Expenses | 859001284 | 864419929
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation

## LOK 2013-14 vs 2014-15
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd
Name of Power Station: Loktak Power Station
Sl. No. | ITEMS | 2013-14 | 2014-15 | Variation from Previous yr | Justification of Variation from P.Y.
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 10734779 | 6749018 | -37.1294 | The negative variation is due to less troubles were found in Generating Plant & Machinary during F.Y. 2014-15.
|  | 0 | 0
2 | Repair & Maintenance | 0 | 0
2.1 | For Dam,Intake,WCS,De-silting chamber | 14218644 | 60781353 | 327.4764 | Power Station is towards completion of its life. Different important structures in Power station requires Repair & Maintenance now and then. In F.Y. 2014-15 an special repair work for amounting Rs.3 Crore and misc. works ancilliary for Rs.0.75 crore towards resotration of Penstock was taken up. Secondly the Dam safety team visits the barrage area at regular interval and suggest to carry out the different protection work in left or right bank of barrage to make their protection from heavy flow of water during raining season. In this account additional 80 lakh as compare to previous years were incurred by the Power Station. Lastly, a considerable portion of R&M expenditures constitutes deployment of manpower services where expnditures increased more than 7.5% during F.Y. 2014-15 comparing to previous year on account of enhancement of minimum wages.
2.2 | For Power House and all other works | 108761585 | 109910355 | 1.0562 | variation is less than 10%
| Sub-Total (Repair and Maintenance) | 122980229 | 170691708
|  | 0 | 0
3 | Insurance | 16339829 | 20881934 | 27.7978 | 1). Increase in premium rates on account of deteriorating claim ratio as a result of loss at Dhauliganga & Tanak Pur Power Station due to flood in June 2013 and other factors in the reinsurance market. 2). Increase in sum-insured due to Increase in reinstatement cost of assets on Valuation 3).Increase in premium rates of CPM Policy on account of deteriorating claim ratio as a result of loss at Dhauliganga Power Station due to flood in June 2013.
4 | Security Expenses | 6196672 | 6665807 | 7.5708 | variation is less than 10%
|  | 0 | 0
5 | Administrative Expenses | 0 | 0
5.1 | Rent | 3957758 | 4544345 | 14.8212 | Due to increase in hiring of few vehicles at revised prices in F.Y. 2014-2015
5.2 | Electricity charges | 5516 | 1723724 | 31149.5286 | 2 nos. of 11 KV Line from Leimatak to loktak are went under replacement in F.Y. 2014-15. Hence in order to meet out the electricity requirement of Loktak, supply from Manipur State Electricity Board were taken during replacment period. Hence excess expenditures incurred comparing to previous year.
5.3 | Travelling & Conveyance | 6025978 | 7634909 | 26.6999 | Expenditures are related to official tour and training of employees. Official tour of employees are assigned with the approval of competent authority based on the requirements of work/trip. Further trainings outside the station are monitored/nominated from T&HRD C.O., which are also as per schedule and targets. None of the expenditures exceptional are nature found during the F.Y. Moreover, during F.Y. 2014-15, rates related to DA, Conveyance Charges etc. were revised/enhanced vide Cir. No.15/2014 dtd. 02.04.2014.
5.4 | Telephone, Telex & Postage (Communication) | 3659971 | 4585660 | 25.2922 | Increase is due to VSAT and leaseline expenditures booked based on the advice received from Corporate Office
5.5 | Advertisement | 2183110 | 973550 | -55.4054 | Negative Variation is due to reduction in expenditures on publication of tenders for works & procurement comparing to previous year
5.6 | Donation | 0 | 0
5.7 | Entertainment | 3450 | 27750 | 704.3478 | Negligible expenditures
|  | 0 | 0
| Sub-total (Administrative expenses) | 15835783 | 19489938
6 | Employee Cost | 0 | 0
6.1a | Salaries,wages & allow. -Project | 553570651 | 535538488 | -3.2574
6.2 | Staff welfare expenses | 38811202 | 42331550 | 9.0704
6.3 | Productivity Linked incentive | 20088935 | 26521043 | 32.0182 | PLGI limit was enhanced to 20% from 12.5% of basic pay.
6.4 | VRS-Ex-gratia | 15286828 | 4902616 | -67.9291 | As per actual no of employees opted VRS
6.5 | Ex-gratia | 0 | 0
6.6 | Performance related pay (PRP) | 6391078 | 10560943 | 65.2451 | 1). Increased in Expenditure is due to Provision for incremental profit was not taken in F.Y 2013-14. Incremental profit was taken while providing for F.Y 2014-15.
| Sub-total (Employee Cost) | 634148694 | 619854640
7 | Loss of Store | 0 | 120929
|  | 0 | 0
|  | 0 | 0
9.1 | Allocation of CO Office expenses | 9397760 | 11658105 | 24.052 | As per CO advice
|  | 0 | 0
10 | Others (Specify items) | 31357931 | 28804672 | -8.1423
11 | Total (1 to 10) | 846991677 | 884916751
12 | Revenue /Recoveries | 152460979 | 25915467 | -83.0019 | Due to decrease in Liability/Provision not required back and in other income
13 | Net Expenses | 694530698 | 859001284
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation

## LOK 2012-13 vs 2013-14
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd
| Name of Power Station: Loktak Power Station | LOKTAK POWER STATION
Sl. No. | ITEMS | 2012-13 | 2013-14 | Variation from Previous yr | Justification of Variation from P.Y.
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 5505163 | 10734779 | 95 | Power Station is towards completion of its life. The 5 nos. service gates in barrage are required maintenance at regular intervals. In F.Y. 2013-2014, the stores & spares towards maitenance of gates were consumed.
|  | 0 | 0
2 | Repair & Maintenance | 0 | 0
2.1 | For Dam,Intake,WCS,De-silting chamber | 19463671 | 14218644 | -26.9478 | Power Station is towards completion of its life. The protection work at right as well as left bank of Barrage is required in every /alternate year due to damage is made by water flow at downstream level. Hence a work namely construction of right Bank protection work counterfort wall at Ithai Barrage was taken in F.Y. 2012-13 which have additional impact on R&M of Dam expenditures during F.Y. 2012-2013. Moreover considerable portion of R&M expenditures constitutes deployment of manpower services where expnditures increased more than 10% comparing to previous year on account of enhancement of minimum wages.
2.2 | For Power House and all other works | 68596811 | 108761585 | 58.552 | One of the major component to increase the expenditures under the head is R&M of road. Road from Loktak to to Power House at Leimatak is maintained by NHPC Ltd. Normally the region is affected by continous mansoon/ rain for 6 months during summer/rainy season which erodes condition of the roads everytime. The repair work becomes more important from security point of view as the area rest with CRPF who requires the roads to be maintained every time. Secondly the Power House incurred the additional expenditures of more than 1 crore comparing to last year in R&M of GPM considering the fact that the Power House is 30 year old and requiring repairs as and when required. Lastly considerable portion of R&M expenditures constitutes deployment of manpower services where expnditures increased more than 10% comparing to previous year on account of enhancement of minimum wages.
| Sub-Total (Repair and Maintenance) | 88060482 | 122980229
|  | 0 | 0
3 | Insurance | 13908815 | 16339829 | 17.4782 | 1). Increase in premium rates on account of deteriorating claim ratio as a result of loss at Dhauliganga & Tanak Pur Power Station due to flood in June 2013 and other factors in the reinsurance market. 2). Increase in sum-insured due to Increase in reinstatement cost of assets on Valuation. 3).Increase in premium rates of CPM Policy on account of deteriorating claim ratio as a result of loss at Dhauliganga Power Station due to flood in June 2013 and increase in Sum-insured.
4 | Security Expenses | 3884819 | 6196672 | 59.5099 | Increase is due to enhancement in pay of security gaurds around 10% in F.Y. 2013-14 comparing to that in previous year. Moreover, based on requirement of additional security, strength of gaurds in totality, got increased from 93 nos. to 105 nos. during F.Y. 2013-14.
|  | 0 | 0
5 | Administrative Expenses | 0 | 0
5.1 | Rent | 2378847 | 3957758 | 66.373 | 4 nos. of Vehicle were additionally hired to meet out the requirement for Power Station.
5.2 | Electricity charges | 0 | 5516 | 100 | Negligible expenditures
5.3 | Travelling & Conveyance | 4081127 | 6025978 | 47.6548 | Expenditures are related to official tour and training of employees. Official tour of employees are assigned with the approval of competent authority based on the requirements of work/trip. Further trainings outside the station are monitored/nominated from T&HRD C.O., which are also as per schedule and targets. None of the expenditures are found exceptional nature during the F.Y.
5.4 | Telephone, Telex & Postage (Communication) | 2517622 | 3659971 | 45.3741 | Increase is due to VSAT and leaseline expenditures booked based on the advice received from Corporate Office
5.5 | Advertisement | 641009 | 2183110 | 240.574 | Increase is due to enhancment in expenditures incurred on publication of Tenders for procurement and works during F.Y. 2013-14.
5.6 | Donation | 0 | 0
5.7 | Entertainment | -2300 | 3450 | -250 | Negligible expenditures
|  | 0 | 0
| Sub-total (Administrative expenses) | 9616305 | 15835783
6 | Employee Cost | 0 | 0
6.1a | Salaries,wages & allow. -Project | 550435547 | 553570651 | 0.56957
6.2 | Staff welfare expenses | 22141513 | 38811202 | 75.287 | Increased due to hike in Acturial Valuation of medical benefits of retired employees and medical claims of employees
6.3 | Productivity Linked incentive | 32039615 | 20088935 | -37.2997 | Decrease in expenditure because during F.Y 2012-13, PLGI was paid from 2007-2010 on revised pay.
6.4 | VRS-Ex-gratia | 26054693 | 15286828 | -41.3279 | As per actual no of employees opted VRS
6.5 | Ex-gratia | 0 | 0
6.6 | Performance related pay (PRP) | 11752718 | 6391078 | -45.6204 | Decrease in expenditure because PRP for F.Y 2010-11 & F.Y 2011-12 was paid in F.Y 2012-13,.
| Sub-total (Employee Cost) | 642424086 | 634148694
7 | Loss of Store | 0 | 0
|  | 0 | 0
|  | 0 | 0
9.1 | Allocation of CO Office expenses | 10706423 | 9397760 | -12.2232 | As per CO advice
|  | 0 | 0
10 | Others (Specify items) | 25641570 | 31357931 | 22.2933 | Increase due to increase in payment to Kendriya Vidyalaya, Training Exps and Guest House Exps.
11 | Total (1 to 10) | 799747663 | 846991677
12 | Revenue /Recoveries | 34908763 | 152460979 | 336.7413 | Due to Increase in Liability/Provision not required back and other income
13 | Net Expenses | 764838900 | 694530698
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation