## Annexure VA (T1)
Annexure-VA
Pro-forma for furnishing Actual annual performance/operational expenses for the Transmission Systems for the 5-year period from 2012-13 to 2016-17
Name of Transmission Company: |  |  | Power Grid Corporation of India Limited
Name of Transmission Region: |  |  | Northern Region
Table-1 - Region wise information (average for the year, but otherwise total for the region) for AC system
Sl. No. | Particulars |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Number of AC Substation in operation |  | No.
| (1) | 765 kV |  | 5.5 | 8 | 8.5 | 9 | 10.5
| (2) | 400 kV |  | 38 | 41.5 | 44.5 | 45.5 | 47.5
| (3) | 220 kV |  | 3 | 3 | 3 | 3 | 3
| (4) | 132 kV |  | 0 | 0 | 0 | 0 | 0
| (Nomenclature are as per highest available voltage level) |  |  | Note : (a) Average is calculated based on data as on 1st April and data as on 31 march for that FY. (b) Yearwise data is the cumulative figure of that year.
2 | Transformation capacity of AC Substation in operation |  | No.
| (1) | 765 kV |  | 19450 | 29520 | 30770 | 32677.5 | 37335
| (2) | 400 kV |  | 30522 | 33249.5 | 37047 | 38297 | 41139
| (3) | 220 kV |  | 700 | 700 | 700 | 700 | 700
| (4) | 132 kV |  | 0 | 0 | 0 | 0 | 0
(Nomenclature are as per highest available voltage level)
3 | Number of bays in each AC Substation in operation |  | No.
| (1) | 765 kV |  | 34 | 56.5 | 63.5 | 71 | 92
| (2) | 400 kV |  | 484 | 553 | 594.5 | 625 | 680.5
| (3) | 220 kV |  | 311 | 347 | 372.5 | 381.5 | 394.5
| (4) | 132 kV |  | 19 | 19 | 19 | 19 | 19
(Nomenclature are as per highest available voltage level)
4 | Ckt-km of AC lines in operation |  | No.
| (1) | 765 kV |  | 1002.394 | 2039.799 | 2985.515 | 3290.09 | 4461.929
| (2) | 765 kV charged at 400 KV |  | 945.371 | 945.371 | 953.121 | 960.871 | 960.871
| (3) | 400 kV |  | 20622.464 | 22280.326 | 23077.97 | 24119.664 | 26077.203
| (4) | 400 kV Charged at 220 KV |  | 471.512 | 471.512 | 471.512 | 471.512 | 471.512
| (5) | 400 kV Charged at 132 KV
| (6) | 220 kV |  | 4419.547 | 4429.965 | 4444.971 | 4452.474 | 4466.244
| (7) | 132 kV |  | 320.334 | 320.334 | 320.334 | 320.334 | 320.334
(Nomenclature are as per highest available voltage level)
5 | Total number of employees* engaged in O&M of Sub-station
| (1) | 765 kV | No. | 926 | 884 | 854 | 735 | 825
| (2) | 400 kV
| (3) | 220 kV | Cost (Rs. Lakhs) | 14872.978 | 16874.1909 | 15221.2362 | 14116.3659 | 18049.8371
| (4) | 132 kV
(Nomenclature are as per highest available voltage level)
6 | Total number of employees* engaged in O&M of Transmission Lines
| (1) | 765 kV | No. | 389 | 374 | 399 | 416 | 414
| (2) | 400 kV
| (3) | 220 kV | Cost (Rs. Lakhs) | 6247.9357 | 7139.0808 | 7111.5612 | 7989.6711 | 9057.7364
| (4) | 132 kV
(Nomenclature are as per highest available voltage level)
7 | Auxiliary Power Consumption (excluding colony power) |  | MU
| (1) | 765 kV |  | 10.4898 | 12.0813 | 12.4704 | 12.2888 | 13.9221
| (2) | 400 kV |  | 22.5257 | 23.6309 | 25.882 | 27.8019 | 30.2992
| (3) | 220 kV |  | 0.97826 | 0.88471 | 0.89051 | 0.84679 | 0.90259
| (4) | 132 kV |  | 0 | 0 | 0 | 0 | 0
(Nomenclature are as per highest available voltage level)
8 | Colony Power Consumption |  | MU
| (1) | 765 kV |  | 1.1178 | 1.3096 | 1.3951 | 1.406 | 1.5686
| (2) | 400 kV |  | 4.9686 | 4.5126 | 4.8702 | 4.5349 | 4.7007
| (3) | 220 kV |  | 0.161 | 0.16311 | 0.18328 | 0.16629 | 0.15821
| (4) | 132 kV |  | 0 | 0 | 0 | 0 | 0
(Nomenclature are as per highest available voltage level)
9 | Spare ICTs/Reactors
| (1) | 765 kV | No. | NA | NA | NA | NA | NA
| (2) | 400/220 kV 315 MVA ICT | No. | 3 | 1 | NA | NA | NA
|  |  | Cost (Rs. Lakhs) | 3053.01 | 1027.65 | NA | NA | NA
| (3) | 220 kV | No. | NA | NA | NA | NA | NA
| (4) | 132 kV | No. | NA | NA | NA | NA | NA
(Nomenclature are as per highest available voltage level)
10 | Spare Smoothing Reactors
| (1) | 765 kV |  | NA | NA | NA | NA | NA
| (2) | 400 kV smoothning reactor | No. | NA | NA | 1 | NA | NA
|  |  | Cost (Rs. Lakhs) | NA | NA | 2279 | NA | NA
| (3) | 220 kV |  | NA | NA | NA | NA | NA
| (4) | 132 kV |  | NA | NA | NA | NA | NA
(Nomenclature are as per highest available voltage level)
11 | Average outage duration for |  | Hours/ year
| A. | Transmission Lines
| (1) | 765 kV |  | 5.91 | 27.2092 | 28.7097 | 55.0012 | 32.5463
| (2) | 400 kV |  | 3.6305 | 5.214 | 8.1212 | 22.2457 | 15.0827
| (3) | 220 kV |  | 5.4145 | 3.3141 | 5.5833 | 5.0199 | 5.0363
| (4) | 132 kV |  | 2.4493 | 0.71667 | 1.305 | 8.611 | 4.5717
| B. | Transformers
| (1) | 765 kV |  | 0 | 2 | 4.4189 | 9.6212 | 9.2846
| (2) | 400 kV |  | 17.3299 | 13.1286 | 16.5588 | 15.0198 | 12.4892
| (3) | 220 kV |  | 0 | 0 | 0 | 0 | 6.5452
| (4) | 132 kV |  | 0 | 0 | 0 | 0 | 0
| C. | Reactors
| (1) | 765 kV |  | 0 | 0 | 0 | 0.18074 | 0
| (2) | 400 kV |  | 0 | 0 | 0 | 6.647 | 0
| (3) | 220 kV |  | 0 | 0 | 0 | 0 | 0
| (4) | 132 kV |  | 0 | 0 | 0 | 0 | 0
(Nomenclature are as per highest available voltage level)
12 | Cost of Initial spares (for S/S) |  | (Rs. In Lakhs)
| A. | Capitalized
| (1) | 765 kV |  | 6323.719 | 5694.9619 | 4925.5252 | 2084.5052 | 13701.5105
| (2) | 400 kV
| (3) | 220 kV
| (4) | 132 kV
| B. | In Stock
| (1) | 765 kV |  | DSNA/M | DSNA/M | DSNA/M | DSNA/M | DSNA/M
| (2) | 400 kV
| (3) | 220 kV
| (4) | 132 kV
| C. | Cost of initial spares consumed
| (1) | 765 kV |  | DSNA/M | DSNA/M | DSNA/M | DSNA/M | DSNA/M
| (2) | 400 kV
| (3) | 220 kV
| (4) | 132 kV
13 | Cost of O&M spares Consumed (for S/s) |  | (Rs. In Lakhs)
| (1) | 765 kV |  | 1952.61 | 5313.653 | 7274.9984 | 8704.2847 | 10277.7285
| (2) | 400 kV
| (3) | 220 kV
| (4) | 132 kV
(Nomenclature are as per highest available voltage level)
14 | Cost of Initial spares (for Lines) |  | (Rs. In Lakhs)
| A. | Capitalized
| (1) | 765 kV |  | 1091.4 | 2316.01 | 346.41 | 3744.76 | 5859.25
| (2) | 400 kV
| (3) | 220 kV
| (4) | 132 kV
| B. | In Stock
| (1) | 765 kV |  | DSNA/M | DSNA/M | DSNA/M | DSNA/M | DSNA/M
| (2) | 400 kV
| (3) | 220 kV
| (4) | 132 kV
| C. | Cost of initial spares consumed
| (1) | 765 kV |  | DSNA/M | DSNA/M | DSNA/M | DSNA/M | DSNA/M
| (2) | 400 kV
| (3) | 220 kV
| (4) | 132 kV
15 | Cost of O&M spares Consumed (for Lines) |  | (Rs. In Lakhs)
| (1) | 765 kV |  | 938.562 | 2532.282 | 3452.328 | 4293.426 | 5061.3702
| (2) | 400 kV
| (3) | 220 kV
| (4) | 132 kV
(Nomenclature are as per highest available voltage level)
Note:
*DSNA/M - Data seperately not available/ maintained
**POWERGRID is in the process of recruiting 703 nos. of employees during the FY 2018-19 and another 1006 nos. during FY 2019-2020 for operation and maintenance of transmission system. The same may please be considered while deriving the normative O&M rates for the Tariff Block 2019-2024.

## Annexure VA Table-2
Annexure-VA
Table-2- Station wise information (average for the year) for HVDC system
Name of Transmission Company: |  |  | Power Grid Corporation of India Limited
Name of Transmission Region: |  |  | Northern Region
Rihand:-
Sl. No. | Particulars |  |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Total number of employees* engaged in sub-station O&M |  |  | Nos. | 24 | 21 | 20 | 20 | 21
|  |  |  | Cost (Rs in Lacs) | 385.4768 | 400.8575 | 356.4692 | 384.1188 | 459.4504
2 | Total number of employees*engaged in O&M of Transmission |  |  | (No. & cost) | Seperate Data for Manpower for HVDC- Transmission Line is not available as the same is included in AC Line system
3 | Auxiliary power consumption (excluding colony power) |  |  | (MU) | 4.85 | 4.5952 | 4.8446 | 4.7216 | 5.3928
4 | Colony power consumption |  |  | (MU) | 0 | 0 | 0 | 0 | 0
5 | Outage duration for Rihand - Dadri HVDC System |  |  | Pole-days | 0.32829 | 7.8453 | 3.5973 | 4.6121 | 4.3702
6 | Load curtailment |  |  | MW – days | N/A | N/A | N/A | N/A | N/A
7 | Cost of initial spares
| a) Capitalized |  |  | (Rs. in lakh) | 0 | 0 | 0 | 0 | 0
| b) In Stock |  |  |  | DSNA/M | DSNA/M | DSNA/M | DSNA/M | DSNA/M
| c) Consumed |  |  |  | DSNA/M | DSNA/M | DSNA/M | DSNA/M | DSNA/M
8 | Cost of O&M spares consumed |  |  | (Rs. in lakh) | 35.0892 | 87.9573 | 115.3684 | 194.2005 | 226.4895
*Executive & non-executive/ contract labour
Dadri:-
Sl. No. | Particulars |  |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Total number of employees* engaged in sub-station O&M |  |  | Nos. | 25 | 24 | 23 | 23 | 23
|  |  |  | Cost (Rs in Lacs) | 401.5383 | 458.1228 | 409.9396 | 441.7366 | 503.2076
2 | Total number of employees*engaged in O&M of Transmission |  |  | (No. & cost) | Seperate Data for Manpower for HVDC- Transmission Line is not available as the same is included in AC Line system
3 | Auxiliary power consumption (excluding colony power) |  |  | (MU) | 5.077 | 5.89 | 6.44 | 5.814 | 5.89
4 | Colony power consumption |  |  | (MU) | 0 | 0 | 0 | 0 | 0
5 | Outage duration for Rihand - Dadri HVDC System |  |  | Pole-days | 0.32829 | 7.8453 | 3.5973 | 4.6121 | 4.3702
6 | Load curtailment |  |  | MW – days | N/A | N/A | N/A | N/A | N/A
7 | Cost of initial spares |  |  | (Rs. in lakh) | 0 | 0 | 0 | 0 | 0
| a) Capitalized |  |  |  | 0 | 0 | 0 | 0 | 0
| b) In Stock |  |  |  | DSNA/M | DSNA/M | DSNA/M | DSNA/M | DSNA/M
| c) Consumed |  |  |  | DSNA/M | DSNA/M | DSNA/M | DSNA/M | DSNA/M
8 | Cost of O&M spares consumed |  |  | (Rs. in lakh) | 39.2173 | 98.3052 | 128.9412 | 217.0476 | 253.1354
*Executive & non-executive/ contract labour
Bhiwadi:-
Sl. No. | Particulars |  |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Total number of employees engaged in sub-station O&M |  |  | Nos. | 11 | 10 | 6 | 6 | 6
|  |  |  | Cost (Rs in Lacs) | 176.6768 | 190.8845 | 106.9408 | 115.2356 | 131.2715
2 | Total number of employees engaged in O&M of Transmission |  |  | (No. & cost) | Seperate Data for Manpower for HVDC- Transmission Line is not available as the same is included in AC Line system
3 | Auxiliary power consumption (excluding colony power) |  |  | (MU) | 4.9 | 5.3 | 6.1 | 6.02 | 8.21
4 | Colony power consumption |  |  | (MU) | 0.16 | 0.16067 | 0.162 | 0.16467 | 0.338
5 | Outage duration for Balia - Bhiwadi HVDC System |  |  | Pole-days | 0.24625 | 1.8003 | 3.1222 | 13.5896 | 7.6388
6 | Load curtailment |  |  | MW – days | N/A | N/A | N/A | N/A | N/A
7 | Cost of initial spares
| a) Capitalized |  |  | (Rs. in lakh) | 0 | 1600.5141 | 1234.9106 | 0 | 0
| b) In Stock |  |  |  | DSNA/M | DSNA/M | DSNA/M | DSNA/M | DSNA/M
| c) Consumed |  |  |  | DSNA/M | DSNA/M | DSNA/M | DSNA/M | DSNA/M
8 | Cost of O&M spares consumed |  |  | (Rs. in lakh) | 61.9221 | 155.2187 | 203.5914 | 342.7068 | 399.6874
*Executive & non-executive/ contract labour
Ballia:-
Sl. No. | Particulars |  |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Total number of employees engaged in sub-station O&M |  |  | Nos. | 9 | 8 | 4 | 6 | 11
|  |  |  | Cost (Rs in Lacs) | 144.5538 | 152.7076 | 71.2938 | 115.2356 | 240.6645
2 | Total number of employees engaged in O&M of Transmission |  |  | (No. & cost) | Seperate Data for Manpower for HVDC- Transmission Line is not available as the same is included in AC Line system
3 | Auxiliary power consumption (excluding colony power) |  |  | (MU) | 4.571 | 5.4224 | 5.6304 | 5.7728 | 6.3784
4 | Colony power consumption |  |  | (MU) | 0.4623 | 0.463 | 0.462 | 0.462 | 0.462
5 | Outage duration for Balia - Bhiwadi HVDC System |  |  | Pole-days | 0.24625 | 1.8003 | 3.1222 | 13.5896 | 7.6388
6 | Load curtailment |  |  | MW – days | N/A | N/A | N/A | N/A | N/A
7 | Cost of initial spares
| a) Capitalized |  |  | (Rs. in lakh) | 0 | 1600.5141 | 1234.9106 | 0 | 0
| b) In Stock |  |  |  | DSNA/M | DSNA/M | DSNA/M | DSNA/M | DSNA/M
| c) Consumed |  |  |  | DSNA/M | DSNA/M | DSNA/M | DSNA/M | DSNA/M
8 | Cost of O&M spares consumed |  |  | (Rs. in lakh) | 13.4613 | 33.7432 | 44.259 | 74.5015 | 86.8886
*Executive & non-executive/ contract labour
Vindhyachal
Table-2- Station wise information (average for the year) for HVDC system
Sl. No. | Particulars |  |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Total number of employees engaged in sub-station O&M |  |  | Nos. | 20 | 22 | 20 | 22 | 18
|  |  |  | Cost (Rs in Lacs) | 321.2306 | 419.9459 | 356.4692 | 422.5307 | 393.8146
2 | Total number of employees engaged in O&M of Transmission |  |  | (No. & cost) | Not Applicable
3 | Auxiliary power consumption (excluding colony power) |  |  | (MU) | 5.335 | 5.3409 | 5.2435 | 5.28 | 5.5161
4 | Colony power consumption |  |  | (MU) | 0 | 0 | 0 | 0 | 0
5 | Outage duration |  |  | Pole-days | 0.803 | 4.9852 | 3.8905 | 75.2862 | 69.7515
6 | Load curtailment |  |  | MW – days | N/A | N/A | N/A | N/A | N/A
7 | Cost of initial spares a) Capitalized b) In Stock c) Consumed |  |  | (Rs. in lakh)
| a) Capitalized |  |  |  | DOCO Pole - I : 01/11/2015 Pole - II : 02/09/2016 |  |  | 11998.8 | 7431.62
| b) In Stock | [6 empty] | DSNA/M | DSNA/M
| c) Consumed | [6 empty] | DSNA/M | DSNA/M
8 | Cost of O&M spares consumed |  |  | (Rs. in lakh) | 49.5377 | 124.1749 | 162.8731 | 274.1654 | 319.75
*Executive & non-executive/ contract labour
Agra
Sl. No. | Particulars |  |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Total number of employees engaged in sub-station O&M |  |  | Nos. | 0 | 0 | 0 | 0 | 64
|  |  |  | Cost (Rs in Lacs) | 0 | 0 | 0 | 0 | 1400.2298
2 | Total number of employees*engaged in O&M of Transmission |  |  | Nos. | 0 | 0 | 0 | 0 | 17
|  |  |  | Cost (Rs in Lacs) | 0 | 0 | 0 | 0 | 371.936
3 | Auxiliary power consumption (excluding colony power) |  |  | (MU) | NA | NA | NA | 1.449 | 7.985
4 | Colony power consumption |  |  | (MU) | NA | NA | NA | 0.3204 | 0.3327
5 | Outage duration for Biswanath Chairali - Agra HVDC |  |  | Pole-days | NA | NA | NA | 34.2 | 4.1245
6 | Load curtailment |  |  | MW – days | N/A | N/A | N/A | N/A | N/A
7 | Cost of initial spares a) Capitalized b) In Stock c) Consumed |  |  | (Rs. in lakh) | 0 | 0 | 0 | 0 | 0
| a) Capitalized |  |  |  | 0 | 0 | 0 | 0 | 0
| b) In Stock |  |  |  | DSNA/M | DSNA/M | DSNA/M | DSNA/M | DSNA/M
| c) Consumed |  |  |  | DSNA/M | DSNA/M | DSNA/M | DSNA/M | DSNA/M
8 | Cost of O&M spares consumed |  |  | (Rs. in lakh) | 0 | 0 | 0 | 0 | 0
*DSNA/M - Data seperately not available/ maintained
** Champa-Kurukshetra HVDC has not been included as the same has been comissioned on 23/03/2017
POWERGRID is in the process of recruiting 703 nos. of employees during the FY 2018-19 and another 1006 nos. during FY 2019-2020 for operation and maintenance of transmission system. The same may please be considered while deriving the normative O&M rates for the Tariff Block 2019-2024.

## Annexure VB (2)
Annexure-VB
(Revised)
Pro-forma for furnishing Actual annual performance/operational expenses for Communication Systems for the 5-year period from 2012-13 to 2016-17
Name of Transmission Company: |  |  | Power Grid Corporation of India Limited
Name of Transmission Region: |  |  | Northern Region
Table-3 - Region wise information (average for the year, but otherwise total for the region) for Communication system
Sl. No. | Particulars |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Number of Wideband Communication Nodes in operation |  | No. | 20 | 53 | 65 | 87 | 100
2 | Average length of OPGW links in operation |  | Kms | 1362.86 | 2176.9175 | 2815.852 | 4424.23 | 5517.4
3 | Number of Remote Terminal Units(RTUs) |  | No. | 76 | 42 | 42 | 42 | 42
4 | Number of PLCC links |  | No. | 55 | 28 | 24 | 20 | 14
5 | Number of OPGW links |  | No. | 19 | 45 | 57 | 76 | 90
6 | Number of Auxiliary Power Supply (DC) Nodes |  | No. | 13 | 26 | 27 | 26 | 26
7 | Number of employees engaged in O&M of RTU and Communication System |  | No.
| (1) | Executive |  | 9 | 9 | 10 | 8 | 6
| (2) | Non Exexutive |  |  | 2 | 1 | 1 | 2
| (3) | Outsourced |  |  | 10 | 10 | 20 | 20
8 | Average outage duration for |  | Hours/year
| (1) | Wideband Communication Links |  | 536.988 | 478.296 | 593.052 | 494.064 | 383.688
| (2) | RTUs |  | 784.02 | 601.812 | 710.436 | 579.036 | 445.008
| (3) | PLCC |  | NA | NA | NA | NA | NA
| (4) | Auxiliary Power Supply System |  | 0# | 0# | 0# | 0# | 0#
9 | Cost of Initial spares |  | (Rs. In Lakhs)
| A. | Capitalized |  | 145 | 5.5 | 0 | 0 | 0
| B. | In Stock |  | 180 | 168.5 | 148.5 | 128.5 | 104.5
| C. | Consumed |  | 17 | 20 | 20 | 24 | 27
10 | Cost of O&M spares Consumed |  | (Rs. In Lakhs) | 43 | 48 | 59 | 61 | 72
11 | Number of PMU installed in the region |  | No. |  | 12 * | 14 * | 147** | 179**
12 | O&M expenses of PMU incurred in the region |  | (Rs. In Lakhs) | * PMUs installed under Pilot project by POSOCO ** PMUs interated but DOCO not done
(Note: separate note on utilization of PMU is to be given along with benefit availed during the year) 8(1)& 8(2) including fibre cut and diversion of line/links # Excluding failure of local power supply

## Annexure- VI(B1) (2)
Revised Annexure VI (B-1)
Details of Operation & Maintenance Expenses of Transmission O&M service (To be filled for each of the transmission region)
Name of Transmission Company: |  | Power Grid Corporation of India Limited
Name of Transmission Region: |  | Northern Region
(Rs. In Lakhs)
Sr.No. | ITEM | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | 2 | 3 | 4 | 5 | 6 | 7
1 | Repairs and Maintenance Expenses :
1) | Repairs of Plant & Machinery | 8138.66 | 2510.16 | 3530.02 | 2253.64 | 6561.19
2) | Consumption of Stores (not capitalized) | Included in 1.0 (1)
3) | Consumption of Spares (not capitalized ) | 3128.54 | 8440.94 | 11507.76 | 14311.42 | 16871.2338
4) | Patrolling expenses | Included in natural heads of expenditure
5) | Power Charges (electricity consumed for repairing activity) | 2341.97 | 2726.93 | 8509.56 | 5150.37 | 7063.58
6) | Expenses of Diesel Generating sets | 0 | 124.57 | 110.68 | 82.17 | 110.59
6) | Provisions | 0 | 0 | 0 | 0 | 0
7) | Prior Period Adjustment , if any | 0 | 0 | 0 | 0 | 0
8) | Other expenses, if any (please provide details) | 0 | 0 | 0 | 0 | 0
| Sub-total (R&M Expenses) | 13609.17 | 13802.6 | 23658.02 | 21797.6 | 30606.5938
2 | Administrative & General Expenses:
1) | Insurance | 2159.56 | 2504.11 | 2842 | 3480.97 | 3232.33
2) | Security (General other than special) | 2293.8 | 2128.61 | 2622.67 | 3149.26 | 3393.54
3) | Rent | 47.89 | 62.33 | 64.99 | 45.04 | 128.92
4) | Electricity Charges | Included in 1.0 (5)
5) | Traveling and conveyance | 1196.97 | 1298.55 | 1547.58 | 1569.04 | 1715.16
6) | Communication expenses | 164.51 | 189.57 | 54.46 | 282.12 | 254
7) | Advertisement and publicity | 33.03 | 51.52 | 0 | 137.39 | 134.1
8) | Foundation laying and inauguration | 0 | 133 | 77.42 | 48.82 | 160.28
9) | Books Periodicals and Journals | 0 | 9.63 | 0 | 10.43 | 12.8
10) | Research expenses | 0 | 0 | 0 | 0.14 | 0
11) | Cost Audit Fees | 13.77 | 5.64 | 6.29 | 21.19 | 11.29
12) | Horticulture Expenses |  | 425.36 | 463.01 | 540.55 | 597.35
13) | Bandwidth charges dark fibre lease charges (Telecom) etc | 0 | 174.14 | 556.83 | 1108.8 | 1456
14) | Donations expenses | 0 | 0 | 0 | 0 | 0.17
15) | Entertainment expenses | 34.89 | 44.93 | 12.62 | 22.3 | 33.38
16) | Filing Fees | 512.07 | 1103.27 | 1287.31 | 1279.58 | 1568.69
17) | Legal Expenses | 433.64 | 114.04 | 62.98 | 334.68 | 424.15
18) | Consultancy Expenses |  | 6.79 | 34.67 | 6.11 | 30.17
19) | Professional charges (not covered under employee expenses) | 0 | 37.51 | -361.12 | 47.41 | 74.93
20) | Printing and Stationary | 68.2 | 79.74 | 21.68 | 71.57 | 78
21) | Hiring of Vehicle (excluding construction & Corporate exp) | 1302.54 | 1732.7 | 1870.31 | 1836.83 | 2352.21
22) | Training and Recruitment expenses | 281.43 | 259.81 | 143.39 | 376.88 | 430.77
23) | Rates and taxes | 48.48 | 61.325 | 279.26 | 159.59 | 119.2
24) | Rebate to Customers | 320.19 | 2106.15 | 2291.41 | 3605.17 | 3395.62
25) | Self Insurance Reserve | 1608.47 | 2029.98 | 2122.13 | 2704.9 | 5965.42
26) | Provisions (Provide details) | 0 | 3.94 | 1991.14 | 0 | 0
27) | Prior Period Adjustment , if any | 0 | 0 | 0 | 0 | 0
28) | Any other A&G expenses (Provide details) | 44.61 | 2373.4 | 6976.3 | 2825.84 | 2375.09
29) |  |  | 0 |  | 0
| Sub-total (A&G Expenses) | 10564.05 | 16936.045 | 24967.33 | 23664.61 | 27943.57
3 | Employee Expenses
1) | Salaries, wages and allowances | 16309.95 | 18003.72 | 15432.3 | 16264.08 | 20813.26
2) | Staff welfare expenses
| a) Contribution to Provident and other funds | 0 | 1242.54 | 1051.17 | 1118.62 | 1141.798
| b) Gratuity | 0 | 460.43 | 413.12 | 0 | 3338.63
| c) Pension | 0 | 1172.92 | 2889.51 | 1722.47 | 1152.41
| d) Employee Medical Expenses | 1578.82 | 1381.85 | 1187.63 | 1355.82 | 1138.1
| e) Liveries and Uniforms | 2.34 | 12.96 | 89.56 | 119.18 | 45.11
| f) Safety & Appliances expenses | 20.25 | 30.71 | 38.06 | 32.99 | 40.05
| g) Others | 1815.41 | 912.59 | 1230.93 | 1239.87 | 1513.47
3) | Productivity linked incentive | 0 | 0 | 0 | 0 | 0
4) | Expenditure on VRS | 0 | 0 | 0 | 0 | 0
5) | Ex-gratia | 63.51
6) | Performance related pay (PRP) | 2760.11 | 2418.07 | 1301.63 | 1847.1 | 1425.32
7) | Any other expenses | 0 | 0 | 0 | 0 | 0
8) | Provisions (furnish details separately) | 0 | 0 | 0 | 0 | 0
9) | Prior Period Adjustment , if any (furnish details separately) | 0 | 0 | 0 | 0 | 0
| Sub-total( Employee Expenses) | 22550.39 | 25635.79 | 23633.91 | 23700.13 | 30608.148
4 | Additional /Specific Security it any on the advise of Govt. Agency/ Statutory Authority/ any other reasons |  | 864.57 | 945.5 | 895.71 | 1410.9
5 | Loss of store/Disposal/Write off | 0 | 0 | 0 | 0 | 0
6 | Provisions (other than above) | 0 | 0 | 0 | 0 | 0
7 | Prior Period Adjustment , if any (not covered above) | 579.59 | 0 | 0 | 0 | 0
8 | Corporate office expenses allocation |  | 0 | 0 | 0 | 0
| (i) Transmission O&M Service | 5251.25 | 5963.2158 | 7365.9117 | 7307.8791 | 9981.4136
| (ii) Projects under construction | 0 | 0 | 0 | 0 | 0
| (iii) ULDC –Communication | 0 | 0 | 0 | 0 | 0
| (iv) Consultancy services, if any | 0 | 0 | 0 | 0 | 0
| (v) Other business (Telecom) | 0 | 0 | 0 | 0 | 0
| (vi) Other business (if any) | 0 | 0 | 0 | 0 | 0
9 | Corporate Social Responsibility expenses |  | 527.81 | 613.76 | 1187.77 | 2361.5
10 | - Others (Specify items not included above) | 2093.28 | 0 | 0 | 0 | 0
| Sub Total (1 to 9) | 54647.73 | 63730.0308 | 81184.4317 | 78553.6991 | 102912.1254
11 | Other Income, Revenue and Recoveries, if any | 0 | 0 | 0 | 0 | 0
a) | Short term open access (other than transmission service | 0 | 0 | 0 | 0 | 0
b) | System & Market operation charges | 0 | 0 | 0 | 0 | 0
c) | Interest on differential tariff recovered | 0 | 0 | 0 | 0 | 0
d) | Consultancy Services | 0 | 0 | 0 | 0 | 0
e) | Interest against Loans and advances | 0 | 0 | 0 | 0 | 0
f) | Interest from advanced to contractors/suppliers | 0 | -41.47 | -26.44 | -24.05 | -15.19
g) | Income from lease of assets | 0 | 0 | 0 | 0 | 0
h) | Disposal of scrap/stores (not covered under capitalized assets) | 0 | 0 | 0 | 0 | 0
i) | Interest on Government securities | 0 | 0 | 0 | 0 | 0
j) | Miscellaneous income from operations | 0 | 0 | 0 | 0 | 0
k) | Revenue/ Recoveries, if any | 0 | -39.38 | -30.98 | -67.63 | -35.92
12 | Net Expenses | 54647.73 | 63649.1808 | 81127.0117 | 78462.0191 | 102861.0154
13 | Capital spares consumed not included in (A) (1) above and not claimed /allowed by Commission for capitalization " ix" | Capital spaes not claimed/allowed by CERC have been consmued as O&M spares
13A | Expenses against Capital expenditure incurred for Operation and Maintenance of Transmission System (not included in Capital Cost/Repair & Maintenance expenditure indicated 1.0(1) above) | 64.33 | 187.31 | 318.79 | 501.94 | 777.97
14 | Total Expenses (12) + (13A) | 54712.06 | 63836.4908 | 81445.8017 | 78963.9591 | 103638.9854
Notes:
I. The details of Corporate Expenses and the methodology of allocation of corporate expenses to various functional activities and allocation of Corporate expenses pertaining to power generation/ transmission system to each operating stations/ transmission region/system and stations/ transmission region/system under construction should be clearly specified in ANNEXURE-VIII as provided here separately.
II. An annual increase in O&M expenses under a given head in excess of 10% percent should be explained.
III. The data should be based on audited balance sheets, duly reconciled and certified.
IV. Employee cost should be excluding arrears paid for pay hike/prior period adjustment /payment
IV. Details of arrears, if any, pertaining to period prior to the year 2008-09 should be mentioned separately.
V. No. of employees opting for VRS during each year should be indicated.
VI. Details of abnormal expenses, if any, shall be furnished separately.
VII Break-up of staff welfare expenses should be furnished
VIII Details of Consumptive Water requirement , contracted quantum and actual water consumed with source , rate etc. Should be furnished year-wise for Thermal Power Stations
IX. Details of capital spares consumed each year which were not claimed/allowed in the tariff should be furnished giving item wise unit price and quantity consumed.
Break up of other A&G Expenses (indicated at 2.28 above)
Sr. No. | Item | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Water Charges |  | 39.48 | 45.6 | 44.19 | 141.54
2 | Tender Exp. |  | 111.08 | 297.9 | 506.59 | 496.88
3 | Transit Hostal |  | 233.71 | 285.87 | 375.66 | 483.12
4 | Telecom |  | 0.1 | 0.03 | 0.41 | -16.21
5 | EDP Hire |  | 73.05 | 34.53 | 42.53 | 51.79
6 | Brokerage and Commission |  | 21.24 | 6.46 | 4.62 | 21.98
7 | Audit Exp. |  | 11 | -5.04 | 6.58 | 22.52
8 | Loss on disposal |  | 459.73 | 14.22 | 24.93 | 303.98
9 | Misc. Exp. |  | 1289.03 | 6461.16 | 1487.95 | 4256.99
10 | FERV |  | 134.98 | -164.43 | 332.38 | -3387.5
| Total | 0 | 2373.4 | 6976.3 | 2825.84 | 2375.09

## Annexure-VI(BII-ULDC)
Annexure VI- (B-II)
Details of Operation & maintenance expenses of Transmission O & M service (To be filled for each of the transmission region)
| Name of the Company: |  | Power Grid Corporation of India Limited
| Name of the Transmission System Region |  | Northern Region
(Rs. In Lakhs)
Sr.No. | ITEM |  | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | 2 |  | 3 | 4 | 5 | 6 | 7
1 | Repairs and Maintenance Expenses :
1) | Repairs of Plant & Machinery |  | 157.16 | 1.66 | 1.21 | 1.97 | 5.7
2) | Consumption of Stores (not capitalized) |  | Included in 1.0 (1)
3) | Consumption of Spares (not capitalized ) (Included in Sl.2 above) |  | 9.6 | 167.54 | 119.7 | 2.41 | 11.15
4) | Patrolling expenses |  | Included in natural heads of expenditure
5) | Power Charges (electricity consumed for repairing activity) |  | 0 | 0 | -1.27 | 1.38 | 3.03
6) | Expenses of Diesel Generating sets |  | 0 | 0 | 0.01 | 0.04 | 0.07
6) | Provisions |  | 0 | 0 | 0 | 0 | 0
7) | Prior Period Adjustment - if any |  | 0 | 0 | 0 | 0 | 0
8) | Other expenses, if any (please provide details) |  | 0 | 0 | 0 | 0 | 0
| Sub-total( R&MExpenses) |  | 166.76 | 169.2 | 119.65 | 5.8 | 19.95
2 | Administrative & General Expenses:
1) | Insurance |  | 0.07 | 0.06 | 0.43 | 0.45 | 0
2) | Security (General other than special) |  | 0 |  | 0.08 | 0.19 | 0.15
3) | Rent |  | 0 |  | 0.12 | 0 | 0.04
4) | Electricity Charges |  | Included in 1.0 (5)
5) | Traveling and conveyance |  | 9.21 | 1.14 | 2.5 | 3.5 | 2.23
6) | Communication expenses |  | 0.93 | 0 | 0.29 | 0.54 | 0.77
7) | Advertisement and publicity |  | 0 | 0 | 0.7 | 7.16 | 4.47
8) | Foundation laying and inauguration |  | 0 | 0 | 0 | 0.05 | 0.02
9) | Books Periodicals and Journals |  | 0 | 0 | 0.11 | 0.12 | 0.1
10) | Research expenses |  | 0 | 0 | 0.44 | 0.67 | 0.19
11) | Cost Audit Fees |  | 0 | 0 | 0.09 | 0.14 | 0.03
12) | Horticulture Expenses |  | 0 | 0 | 0.04 | 0.05 | 0.07
13) | Bandwidth charges dark fibre lease charges (Telecom) etc |  | 0 | 57.84 | 69.9 | 4.23 | 0
14) | Donations expenses |  | 0 | 0 | 0 | 0 | 0
15) | Entertainment expenses |  | 0.3 | 0 | 0.16 | 0.11 | 0.12
16) | Filing Fees |  | 1.6 | 0 | 11.53 | 4.43 | 1.69
17) | Legal Expenses |  | 0 | 0 | 0.67 | 1.63 | 3.12
18) | Consultancy Expenses |  | 0 | 0 | 0.06 | 0.05 | 0.14
19) | Professional charges (not covered under employee expenses) |  | 0 | 0 | -0.67 | 0.39 | 0.71
20) | Printing and Stationary |  | 0.23 | 0 | 0.29 | 0.37 | 0.46
21) | Hiring of Vehicle (excluding construction & Corporate exp) |  | 7.26 | 2.23 | 2.26 | 0.76 | 1.3
22) | Training and Recruitment expenses |  | 0.06 | 0.11 | 1.2 | 1.81 | 3.02
23) | Rates and taxes |  | 0 | 0 | 2.29 | 0.08 | 0.22
24) | Rebate to Customers |  | 0 | 0 | 0 | 0 | 0
25) | Self Insurance Reserve |  | 16.78 | 0 | 0 | 0 | 0
26) | Provisions (Provide details) |  | 0 | 0 | 0 | 0 | 0
27) | Prior Period Adjustment , if any |  | 0 | 0 | 0 | 0 | 0
28) | Any other A&G expenses (Provide details) |  | 40.53 | 246.53 | 29.0901 | 12.5754 | 27.6737
29) |  |  | 0 | 0 | 0 | 0 | 0
| Sub-total(A&G Expenses) |  | 76.97 | 307.91 | 121.5801 | 39.3054 | 46.5237
3 | Employee Expenses
1) | Salaries, wages and allowances |  | 65.29 | 56.33 | 52.08 | 19.97 | 28.76
2) | Staff welfare expenses
| a) Contribution to Provident and other funds |  | 0 | 3.97 | 3.37 | 1.27 | 1.4319
| b) Gratuity |  | 0 | 1.8 | 1.21 | 0.2 | 2.0291
| c) Pension |  | 0 | 3.68 | 7.07 | 2.27 | 1.389
| d) Employee Medical Expenses |  | 0 | 9.43 | 2.56 | 2.34 | 3.98
| e) Liveries and Uniforms |  | 0 | 0.05 | 0.03 | 0.03 | 0.04
| f) Safety & Appliances expenses |  | 0 | 0 | 0.22 | 0.02 | 0
| g) Others |  | 21.3 | 0.38 | 2.07 | 2.98 | 4.3
3) | Productivity linked incentive |  | 0 | 0 | 0 | 0 | 0
4) | Expenditure on VRS |  | 0 | 0 | 0 | 0 | 0
5) | Ex-gratia |  | 0 | 0 | 0 | 0 | 0
6) | Performance related pay (PRP) |  | 5.07 | 11.82 | 2.93 | 3.26 | 7.53
7) | Any other expenses |  | 0 | 0 | 0 | 0 | 0
8) | Provisions (furnish details separately) |  | 0 | 0 | 0 | 0 | 0
9) | Prior Period Adjustment , if any (furnish details separately) |  | 0 | 0 | 0 | 0 | 0
| Sub-total( Employee Expenses) |  | 91.66 | 87.46 | 71.54 | 32.34 | 49.46
4 | Additional /Specific Security it any on the advise of Govt. Agency/ Statutory Authority/ any other reasons |  | 0 | 0 | 0.11 | 0.11 | 0.48
5 | Loss of store/Disposal/Write off |  | 0 | 0 | 0 | 0 | 0
6 | Provisions (other than above) |  | 0 | 0 | 0 | 0 | 0
7 | Prior Period Adjustment , if any (not covered above) |  | 0 | 0 | 0 | 0 | 0
8 | Corporate office expenses allocation
| (i) Transmission O&M Service Transmission O&M Service |  | 0 | 0 | 0 | 0 | 0
| (ii) Projects under construction |  | 0 | 0 | 0 | 0 | 0
| (iii) ULDC –Communication |  | 30.54 | 37.36 | 0 | 0 | 0
| (iv) Consultancy services, if any |  | 0 | 0 | 0 | 0 | 0
| (v) Other business (Telecom) |  | 0 | 0 | 0 | 0 | 0
| (vi) Other business (if any) |  | 0 | 0 | 0 | 0 | 0
9 | Corporate Social Responsibility expenses |  | 0 | 0 | 0.88 | 3.79 | 0
10 | - Others (Specify items not included above) |  | 0 | 0 | 0 | 0 | 0
| Sub Total (1 to 9) |  | 365.93 | 601.93 | 313.7601 | 81.3454 | 116.4137
11 | Other Income, Revenue and Recoveries, if any
a) | Short term open access (other than transmission service |  | 0 | 0 | 0 | 0 | 0
b) | System & Market operation charges |  | 0 | 0 | 0 | 0 | 0
c) | Interest on differential tariff recovered |  | 0 | 0 | 0 | 0 | 0
d) | Consultancy Services |  | 0 | 0 | 0 | 0 | 0
e) | Interest against Loans and advances |  | 0 | 0 | 0 | 0 | 0
f) | Interest from advanced to contractors/suppliers |  | 0 | 0 | 0 | 0 | 0
g) | Income from lease of assets |  | 0 | 0 | 0 | 0 | 0
h) | Disposal of scrap/stores (not covered under capitalized assets) |  | 0 | 0 | 0 | 0 | 0
i) | Interest on Government securities |  | 0 | 0 | 0 | 0 | 0
j) | Miscellaneous income from operations |  | 0 | 0 | 0 | 0 | 0
k) | Revenue/ Recoveries, if any |  | 0 | 0 | -0.02 | -0.19 | -0.11
12 | Net Expenses |  | 365.93 | 601.93 | 313.7401 | 81.1554 | 116.3037
13 | Capital spares consumed not included in (A) (1) above and not claimed /allowed by Commission for capitalization " ix" |  | Capital Spares not claimed/allowed by CERC have been consmued as O&M Spares
Notes: | I. The details of Corporate Expenses and the methodology of allocation of corporate expenses to various functional activities and allocation of Corporate expenses pertaining to power generation/transmission system to each operating stations/ transmission region/system and stations/transmission region/system under construction should be clearly specified in ANNEXURE-VIII as provided here separately.
II. An annual increase in O&M expenses under a given head in excess of 10% percent should be explained.
III. The data should be based on audited balance sheets, duly reconciled and certified.
IV. Employee cost should be excluding arrears paid for pay hike/prior period adjustment /payment
IV. Details of arrears, if any, pertaining to period prior to the year 2008-09 should be mentioned separately.
V. No. of employees opting for VRS during each year should be indicated.
VI. Details of abnormal expenses, if any, shall be furnished separately.
VII Break-up of staff welfare expenses should be furnished
VIII Details of Consumptive Water requirement , contracted quantum and actual water consumed with source , rate etc. should be furnished year-wise for Thermal Power Stations
IX. Details of capital spares consumed each year which were not claimed/allowed in the tariff should be furnished giving item wise unit price and quantity consumed.
Break up of other A&G Expenses (indicated at 2.28 above)
Sr. No. | Item | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Water Charges |  |  | 0.010172 | 0.017487 | 0.033483
2 | Tender Exp. |  | 5.04 | 3.2596 | 3.3828 | 1.7628
3 | Transit Hostal |  |  | 0.072642 | 0.15992 | 0.22736
4 | Telecom |  | 0 | 0 | 0.0010328 | 0.002977
5 | EDP Hire |  | 0 | 0.12533 | 0.63068 | 0.84919
6 | Brokerage and Commission |  |  | 0.0063527 | 0.0061424 | 0.014085
7 | Audit Exp. |  |  | 0.057113 | 0.18593 | 0.2562
8 | Loss on disposal |  | 0.08 | 0.0008425 | 0.019937 | 0
9 | Misc. Exp. |  | 288.76 | 29.6739 | 2.8871 | 24.56
10 | FERV |  | -8.33 | -4.1158 | 5.2844 | -0.032487
| Total | 0 | 285.55 | 29.0901 | 12.5754 | 27.6737

## Annexure-IX (2)
Revised Annexure-IX
Additional Region-wise Information required from Transmission Licensees
Name of Transmission Company: |  |  | Power Grid Corporation of India Limited
Name of Transmission Region: |  |  | Northern Region
Table-1- Length (km) of Transmission Lines in Commercial Operation
Status as on
|  |  | 1.4.2013 | 1.4.2014 | 1.4.2015 | 1.4.2016 | 1.4.2017
1 | HVDC
| a) S/C |  | 165.8 | 165.8 | 165.8 | 165.8 | 279.254
| b) D/C |  | 1604.786 | 1604.786 | 1604.786 | 3358.346 | 4646.406
2 | 765 kV
| a) S/C |  | 1349.083 | 2985.515 | 2985.515 | 3763.065 | 4508.448
| b) D/C |  | 0 | 0 | 0 | 0 | 326.172
3 | 765 kV Charged at 400 KV
| a) S/C |  | 945.371 | 945.371 | 960.871 | 960.871 | 960.871
4 | 400 kV
| a) S/C |  | 5495.355 | 5497.055 | 5497.055 | 5495.355 | 5495.355
| b) D/C |  | 8043.795 | 8750.853 | 8830.064 | 9809.63 | 10772.218
5 | 400 kV Charged at 220 KV
| a) D/C |  | 235.756 | 235.756 | 235.756 | 235.756 | 235.756
5 | 400 kV Charged at 132 KV
| a) D/C |  | 0 | 0 | 0 | 0 | 0
6 | 220 kV
| a) S/C |  | 616.774 | 616.774 | 616.774 | 616.774 | 616.774
| b) D/C |  | 1902.844 | 1910.347 | 1917.85 | 1917.85 | 1931.62
7 | Up to 132 kV
| a) S/C |  | 58 | 58 | 58 | 58 | 58
| b) D/C |  | 131.167 | 131.167 | 131.167 | 131.167 | 131.167
Table-2-Ckt km by Conductor Configuration
|  | Type of Conductor | Status as on
|  |  | 1.4.2013 | 1.4.2014 | 1.4.2015 | 1.4.2016 | 1.4.2017
1 | Hexa | Lapwing D/C | 0 | 0 | 0 | 3507.12 | 6083.232
2 | Quad | Bersimis S/C | 2294.454 | 3930.886 | 3930.886 | 4540.036 | 5285.419
|  | Bersimis D/C | 0 | 0 | 0 | 0 | 652.344
|  | Moose D/C | 485.506 | 1263.738 | 1294.738 | 2298.156 | 2462.518
|  | Moose S/C | 113.8 | 115.5 | 115.5 | 282.2 | 282.2
|  | Lapwing D/C | 1579.572 | 1579.572 | 1579.572 | 1579.572 | 1579.572
|  | Bersimis D/C | 2703.618 | 2703.618 | 2703.618 | 2703.618 | 2703.618
3 | Tripple | Snowbird D/C | 2158.046 | 2163.408 | 2168.77 | 2198.77 | 2198.77
|  | Snowbird S/C | 2.35 | 2.35 | 2.35 | 2.35 | 2.35
4 | Twin | Moose D/C | 12346.563 | 12977.085 | 13130.145 | 14055.86 | 15816.674
|  | Moose S/C | 5493.005 | 5493.005 | 5493.005 | 5493.005 | 5493.005
|  | Bersimis S/C | 52 | 52 | 52 | 52 | 52
|  | Zebra S/C | 0 | 0 | 0 | 0 | 113.454
|  | Enviro Moose D/C | 61.696 | 61.696 | 61.696 | 61.696 | 61.696
|  | ACAR D/C | 481.88 | 481.88 | 481.88 | 481.88 | 481.88
5 | Single | ACSR Zebra D/C | 3200.54 | 3215.546 | 3230.552 | 3230.552 | 3258.092
|  | ACSR Zebra S/C | 237.057 | 237.057 | 237.057 | 237.057 | 237.057
|  | Moose D/C | 232.512 | 232.512 | 232.512 | 232.512 | 232.512
|  | ACKC D/C | 66.762 | 66.762 | 66.762 | 66.762 | 66.762
|  | AAAC Zebra S/C | 317.297 | 317.297 | 317.297 | 317.297 | 317.297
|  | AAAC Zebra D/C | 257.666 | 257.666 | 257.666 | 257.666 | 257.666
|  | Moose S/C | 62.42 | 62.42 | 62.42 | 62.42 | 62.42
|  | Panther S/C | 58 | 58 | 58 | 58 | 58
|  | Panther D/C | 262.334 | 262.334 | 262.334 | 262.334 | 262.334
| Grand Total |  | 32467.078 | 35534.332 | 35738.76 | 41980.863 | 48020.872
Table-3- Number of AC Substations in Commercial Operation
Status as on
|  |  | 1.4.2013 | 1.4.2014 | 1.4.2015 | 1.4.2016 | 1.4.2017
1 | 765 kV |  | 8 | 8 | 9 | 10 | 11
2 | 400 kV |  | 40 | 44 | 45 | 46 | 49
3 | 220 kV |  | 3 | 3 | 3 | 3 | 3
4 | Up to 132 kV |  | 0 | 0 | 0 | 0 | 0
Table-4- Number of Sub-station bays in Commercial Operation
Status as on
|  |  | 1.4.2013 | 1.4.2014 | 1.4.2015 | 1.4.2016 | 1.4.2017
1 | HVDC |  | 115 | 115 | 115 | 171 | 185
2 | 765 kV |  | 52 | 62 | 65 | 83 | 101
3 | 400 kV |  | 535 | 582 | 607 | 649 | 714
4 | 220 kV |  | 340 | 364 | 381 | 382 | 407
5 | Up to 132 kV |  | 19 | 19 | 19 | 19 | 19
Table-5- Cost of Outsourcing of Services (Rs. lakh)
|  |  | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
| Substation O&M |  | 4736.67 | 4799.82 | 7950.05 | 5937.32 | 10784.42
| Lines O&M |  | 0 | 0 | 0 | 0 | 0
| Security |  | 1803.24 | 2430.37 | 3086.46 | 3511.56 | 4062.95
| Others |  | 1932.24 | 2447.5 | 2643.83 | 2678.16 | 5304.38
| Grand Total |  | 8472.15 | 9677.69 | 13680.34 | 12127.04 | 20151.75
Table-6- Total O&M Expenditure Including RHQ, but Excluding HVDC Stations (Rs lakh)
|  |  | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
| Total |  | 51300.6547 | 59705.2121 | 75581.0913 | 72151.8358 | 96246.4575

## Annexure - X (2)
Revised Annexure X
Name of Transmission Company: |  | Power Grid Corporation of India Limited
Name of Transmission Region: |  | Northern Region
Station wise O&M Expenditure at HVDC Station (Rs. lakh)
| 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
Rihand
i) No of Employees | 24 | 21 | 20 | 20 | 21
ii) A&G Expenses | 344.7945 | 388.5345 | 775.9935 | 445.158 | 489.2
iii) Repairs & Maintenance | 320.211 | 434.685 | 872.2215 | 920.778 | 14
Iv) Employee Expenses | 385.4768 | 400.8575 | 356.4692 | 384.1188 | 459.4504
v) Corporate expenses | Included in Annexure - VI (B-I)
vi) Other income | 0 | 0 | 0 | 0 | 0
vii) Any other income | 0 | 0 | 0 | 0 | 0
Total | 1050.4823 | 1224.077 | 2004.6842 | 1750.0548 | 962.6504
Dadri
i) No of Employees | 25 | 24 | 23 | 23 | 23
ii) A&G Expenses | 305.7178 | 344.5006 | 688.0476 | 394.7068 | 446.0581
iii) Repairs & Maintenance | 283.9204 | 385.4207 | 773.3697 | 816.4232 | 404.7842
Iv) Employee Expenses | 401.5383 | 458.1228 | 409.9396 | 441.7366 | 503.2076
v) Corporate expenses | Included in Annexure - VI (B-I)
vi) Other income | 0 | 0 | 0 | 0 | 0
vii) Any other income | 0 | 0 | 0 | 0 | 0
Total | 991.1765 | 1188.0441 | 1871.3569 | 1652.8665 | 1354.0498
Bhiwadi
i) No of Employees | 11 | 10 | 6 | 6 | 6
ii) A&G Expenses | 140.3071 | 182.9471 | 368.7161 | 426.7332 | 336.2535
iii) Repairs & Maintenance | 30.2672 | 45.7183 | 89.4033 | 166.0124 | 410.8208
Iv) Employee Expenses | 176.6768 | 190.8845 | 106.9408 | 115.2356 | 131.2715
v) Corporate expenses | Included in Annexure - VI (B-I)
vi) Other income | 0 | 0 | 0 | 0 | 0
vii) Any other income | 0 | 0 | 0 | 0 | 0
Total | 347.2511 | 419.5499 | 565.0602 | 707.9812 | 878.3458
Ballia
i) No of Employees | 9 | 8 | 4 | 6 | 11
ii) A&G Expenses | 122.4221 | 159.6267 | 321.7157 | 372.3373 | 63.21
iii) Repairs & Maintenance | 26.409 | 39.8905 | 78.0071 | 144.8507 | 11.77
Iv) Employee Expenses | 144.5538 | 152.7076 | 71.2938 | 115.2356 | 240.6645
v) Corporate expenses | Included in Annexure - VI (B-I)
vi) Other income | 0 | 0 | 0 | 0 | 0
vii) Any other income | 0 | 0 | 0 | 0 | 0
Total | 293.3849 | 352.2249 | 471.0166 | 632.4237 | 315.6445
VINDHYACHAL
i) No of Employees | 20 | 22 | 20 | 22 | 18
ii) A&G Expenses | 303.6369 | 299.6585 | 407.5662 | 421.7262 | 488.5477
iii) Repairs & Maintenance | 104.2431 | 227.7785 | 188.5569 | 1109.5846 | 974.52
Iv) Employee Expenses | 321.2306 | 419.9459 | 356.4692 | 422.5307 | 393.8146
v) Corporate expenses | Included in Annexure - VI (B-I)
vi) Other income | 0 | 0 | 0 | 0 | 0
vii) Any other income | 0 | 0 | 0 | 0 | 0
Total | 729.1106 | 947.3829 | 952.5923 | 1953.8414 | 1856.8823
Agra HVDC SS (278)
i) No. of Employees | 0 | 0 | 0 | 0 | 64
ii) A&G Expenses | 0 | 0 | 0 | 114.9556 | 586.3313
iii) Repair & Maintenance | 0 | 0 | 0 | 0 | 38.3939
iv) Employee Expenses | 0 | 0 | 0 | 0 | 1400.2298
v) Corporate Expenses | Included in Annexure - VI (B-I)
vi) Other Income | 0 | 0 | 0 | 0 | 0
vi) Any Other Income | 0 | 0 | 0 |  | 0
Total | 0 | 0 | 0 | 114.9556 | 2024.955

## Annexure-XI
Annexure-XI
Additional Region-wise Information required from Transmission Licensees (Communication System)
Name of Transmission Company: |  | Power Grid Corporation of India Limited
Name of Transmission Region: |  | Northern Region
Table-1- Details of Communication system in Commercial Operation
Status as on
|  | 1.4.2013 | 1.4.2014 | 1.4.2015 | 1.4.2016 | 1.4.2017
1 | OPGW Communication Links in operation (in Kms) | 1670.568 | 2300.639 | 3331.065 | 5517.404 | 5517.404
2 | Number of wideband Communication nodes in operation | 38 | 57 | 73 | 100 | 100
3 | Number of RTUs in operation | 76 | 42 | 42 | 42 | 42
4 | Number of PLCC links in operation | 58 | 27 | 24 | 15 | 14
5 | Number of Auxiliary Power Supply Nodes in operation | 28 | 27 | 26 | 26 | 26
Table-2- Cost of Outsourcing of Services (Rs. lakh)
|  | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
| Communication System O&M | 176.03 | 170.32 | 143.83 | 147.18 | 113.73
| PLCC O&M | 0 | 0 | 0 | 0 | 0
| RTU O&M | 0 | 0 | 0 | 0 | 0
| Auxiliary Power Supply O&M | 0 | 0 | 0 | 0 | 0
| Hiring charges of Bandwidth | 0 | 0 | 0 | 0 | 0
| Security | 0 | 0 | 0 | 0 | 0
| Others | 17.78 | 2.313 | 5.1 | 0.77 | 1.31
| Grand Total | 193.81 | 172.633 | 148.93 | 147.95 | 115.04

## XIII C
Annexure-XIIIC
Auxiliary Consumption separately for 132kV, 220kV, 400kV & 765kV AC and HVDC Substation Separately
Name of Transmission Company: |  |  | Power Grid Corporation of India Limited
Name of Transmission Region: |  |  | Northern Region
S.no | Voltage | Name of Substation | 2012-13 |  | 2013-14 |  | 2014-15 |  | 2015-16 |  | 2016-17
|  |  | MU | % | MU | % | MU | % | MU | % | MU | %
1 | 400 KV | Bahadurgarh | 0.57695 | - | 0.61151 | - | 0.59521 | - | 0.59425 | - | 0.64196 | -
2 | 400 KV | Ballabgarh | 0.74135 | - | 0.76 | - | 0.957 | - | 0.7585 | - | 1 | -
3 | 400 KV | Bassi | 0.60008 | - | 0.80685 | - | 1.0116 | - | 1.0792 | - | 1.0642 | -
4 | 400 KV | Bhinmal | 0.33 | - | 0.34145 | - | 0.4145 | - | 0.4105 | - | 0.3742 | -
5 | 400 KV | Bhiwadi | 0.952 | - | 0.838 | - | 0.616 | - | 0.537 | - | 0.674 | -
6 | HVDC | Bhiwadi HVDC | 5.18 | - | 5.3 | - | 6.1 | - | 6.02 | - | 8.21 | -
7 | 765 KV | Bhiwani | 0.43 | - | 0.8 | - | 0.88643 | - | 1.3236 | - | 1.2208 | -
8 | HVDC | Dadri HVDC | 4.2 | - | 4.89 | - | 6.44 | - | 5.014 | - | 3.149 | -
9 | 400 KV | Gurgaon | 0.47 | - | 0.5 | - | 0.56 | - | 0.52 | - | 0.613 | -
10 | 400 KV | Hisar | 0.58032 | - | 0.58212 | - | 0.6084 | - | 0.61192 | - | 0.70237 | -
11 | 400 KV | Jaipur South | 0.011139 | - | 0.13533 | - | 0.16464 | - | 0.31942 | - | 0.2548 | -
12 | 765 KV | Jhatikara | 0.48 | - | 0.78 | - | 0.79 | - | 0.9 | - | 0.94 | -
13 | 400 KV | Jind | 0.05 | - | 0.03456 | - | 0.058452 | - | 0.042608 | - | 0.038728 | -
14 | 400 KV | Kankroli | 0.4393 | - | 0.40968 | - | 0.51883 | - | 0.59541 | - | 0.64697 | -
15 | 400 KV | Kota | 0.508 | - | 0.613 | - | 0.817 | - | 0.736 | - | 0.823 | -
16 | 400 KV | Kotputli | 0 | - | 0 | - | 0 | - | 0.42749 | - | 0.48212 | -
17 | 400 KV | Koteshwar | 0.21 | - | 0.22 | - | 0.27 | - | 0.315 | - | 0.297 | -
18 | 400 KV | Maharanibagh | 0.052 | - | 0.052 | - | 0.052 | - | 0.052 | - | 0.052 | -
19 | 400 KV | Mandola | 0.37 | - | 0.35 | - | 0.37 | - | 0.32 | - | 0.3 | -
20 | 400 KV | Manesar | 0.058261 | - | 0.41274 | - | 0.25802 | - | 0.4595 | - | 0.49138 | -
21 | 765 KV | Meerut | 1.75 | - | 1.5558 | - | 1.6145 | - | 1.6536 | - | 1.6571 | -
22 | 400 KV | Neemrana | 0.4 | - | 0.45 | - | 0.6 | - | 0.62 | - | 0.65 | -
23 | 400 KV | Roorkee | 0.467 | - | 0.508 | - | 0.622 | - | 0.609 | - | 0.54 | -
24 | 400 KV | Sikar | 0.016 | - | 0.012 | - | 0.239 | - | 0.313 | - | 0.541 | -
25 | 400 KV | Sonipat | 0.38 | - | 0.408 | - | 0.416 | - | 0.4 | - | 0.464 | -
26 | 400 KV | Baghpat | 0 | - | 0 | - | 0 | - | 0 | - | 0.023 | -
27 | 400 KV | Dehradun | 0 | - | 0 | - | 0 | - | 0 | - | 0.018134 | -
28 | 400 KV | Saharanpur | 0 | - | 0 | - | 0 | - | 0 | - | 0.04 | -
29 | 400 KV | Abdullapur | 0.519 | - | 0.558 | - | 0.547 | - | 0.612 | - | 0.585 | -
30 | 400 KV | GIS Banala | NA | - | 0.0598 | - | 0.18 | - | 0.22 | - | 0.234 | -
31 | 400 KV | GIS Pooling Station Chamba | 0.29934 | - | 0.30151 | - | 0.27776 | - | 0.30841 | - | 0.29819 | -
32 | 400 KV | Amritsar | 0.52488 | - | 0.542 | - | 0.531 | - | 0.51 | - | 0.555 | -
33 | 400 KV | Fatehabad | 0.45294 | - | 0.54453 | - | 0.53082 | - | 0.53475 | - | 0.4977 | -
34 | 400 KV | Hamirpur S/S | NA | - | NA | - | 0.109 | - | 0.398 | - | 0.435 | -
35 | 400 KV | Kaithal | 0.48366 | - | 0.49442 | - | 0.50156 | - | 0.516 | - | 0.52177 | -
36 | 400 KV | Kishenpur | 0.99538 | - | 1.2024 | - | 1.0041 | - | 1.0092 | - | 0.99696 | -
37 | 765 KV | Moga | 1.305 | - | 1.306 | - | 1.2662 | - | 1.2235 | - | 1.2971 | -
38 | 400 KV | New Wanpoh | NA | - | 0.0046323 | - | 0.38824 | - | 0.40814 | - | 0.39959 | -
39 | 400 KV | Panchkula | 0.5629 | - | 0.594 | - | 0.672 | - | 0.83897 | - | 0.81334 | -
40 | 400 KV | Patiala | 0.47993 | - | 0.45567 | - | 0.47625 | - | 0.5962 | - | 0.62068 | -
41 | 400 KV | Samba | NA | - | 0.15 | - | 0.27142 | - | 0.28504 | - | 0.301 | -
42 | 400 KV | Nalagarh | 0.69725 | - | 0.67038 | - | 0.68 | - | 0.69086 | - | 0.71713 | -
43 | 400 KV | Jalandhar | 0.70616 | - | 0.8443 | - | 0.81579 | - | 0.97761 | - | 0.94228 | -
44 | 400 KV | Malerkotla | 0.29838 | - | 0.29964 | - | 0.33067 | - | 0.37771 | - | 0.47319 | -
45 | 400 KV | Wagoora | 0.58344 | - | 0.69645 | - | 0.70749 | - | 0.74847 | - | 0.74847 | -
46 | 400 KV | Ludiana | 0.42937 | - | 0.43131 | - | 0.43689 | - | 0.60827 | - | 0.93543 | -
47 | 400 KV | Kurukshetra | 0 | - | 0 | - | 0 | - | 0.04 | - | 0.99 | -
48 | 765 KV | Agra 765KV | 1.071 | - | 2.03 | - | 2.12 | - | 2.136 | - | 2.5755 | -
49 | HVDC | Agra HVDC | 0 | - | 0 | - | 0 | - | 1.449 | - | 7.985 | -
50 | 400 KV | Allahabad | 0.87 | - | 0.83 | - | 0.906 | - | 0.84 | - | 1.002 | -
51 | 765KV | Ballia | 1.194 | - | 1.3555 | - | 1.4077 | - | 1.4432 | - | 1.5947 | -
52 | HVDC | Ballia | 4.776 | - | 5.4224 | - | 5.6304 | - | 5.7728 | - | 6.3784 | -
53 | 400 KV | Bareilly | 0.625 | - | 0.556 | - | 0.583 | - | 0.594 | - | 0.576 | -
54 | 765 KV | Bareilly 765 | NA | - | NA | - | NA | - | 0.25597 | - | 0.40419 | -
55 | 765 KV | Fatehpur 765 | 1.038 | - | 1.0655 | - | 1.2503 | - | 1.2256 | - | 1.1941 | -
56 | 765 KV | Gorakhpur | 1.3768 | - | 1.4025 | - | 1.4027 | - | 1.3251 | - | 1.375 | -
57 | 400 KV | Kanpur | 1.6838 | - | 1.4774 | - | 1.565 | - | 1.4951 | - | 1.631 | -
58 | 765 KV | Kanpur 765KV | NA | - | NA | - | NA | - | NA | - | 0.52 | -
59 | 400 KV | Lucknow 400KV | 0.996 | - | 0.97871 | - | 1.2301 | - | 1.6787 | - | 1.667 | -
60 | 765 KV | Lucknow 765KV | 1.35 | - | 1.691 | - | 1.622 | - | 1.1158 | - | 0.82223 | -
61 | 400 KV | Mainpuri | 0.77 | - | 0.78136 | - | 0.80256 | - | 0.78152 | - | 0.7468 | -
62 | 220 KV | Pithoragarh | 0.20726 | - | 0.25 | - | 0.26 | - | 0.27 | - | 0.28 | -
63 | 220 KV | Raibareilly | 0.32 | - | 0.31392 | - | 0.34295 | - | 0.30563 | - | 0.32567 | -
64 | HVDC | Rihand | 4.85 | - | 4.5952 | - | 4.8446 | - | 4.7216 | - | 5.3928 | -
65 | 220 KV | Sitarganj | 0.451 | - | 0.32079 | - | 0.28755 | - | 0.27116 | - | 0.29692 | -
66 | 400 KV | Shahjahanpur | NA | - | NA | - | 0.302 | - | 0.38934 | - | 0.50397 | -
67 | 400 KV | Sohawal | 0.2 | - | 0.38393 | - | 0.44266 | - | 0.38077 | - | 0.43578 | -
68 | 765 KV | Varanasi 765 | N/A | - | N/A | - | N/A | - | N/A | - | 0.496 | -
69 | HVDC | Vindhyachal | 5.335 | - | 3.5409 | - | 5.2435 | - | 5.28 | - | 5.5161 | -
| * Kurukshatra HVDC is not added | [8 empty] | - |  | -