## Annexure VA (T1)
Annexure-VA
Pro-forma for furnishing Actual annual performance/operational expenses for the Transmission Systems for the 5-year period from 2012-13 to 2016-17
Name of Transmission Company: |  |  | Power Grid Corporation of India Limited
Name of Transmission Region: |  |  | Southern Region
Table-1 - Region wise information (average for the year, but otherwise total for the region) for AC system
Sl. No. | Particulars |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Number of AC Substation in operation |  | No.
| (1) | 765 kV |  | 0 | 1 | 3.5 | 4 | 5
| (2) | 400 kV |  | 33 | 33.5 | 34 | 36.5 | 39
| (3) | 220 kV |  | 0 | 0 | 0 | 0 | 0
| (4) | 132 kV |  | 0 | 0 | 0 | 0 | 0
| (Nomenclature are as per highest available voltage level) |  |  | Note : (a) Average is calculated based on data as on 1st April and data as on 31 march for that FY. (b) Yearwise data is the cumulative figure of that year.
2 | Transformation capacity of AC Substation in operation |  | No.
| (1) | 765 kV |  | 0 | 3000 | 10500 | 12000 | 13500
| (2) | 400 kV |  | 20140 | 20797.5 | 20955 | 21770 | 25085
| (3) | 220 kV |  | 0 | 0 | 0 | 0 | 0
| (4) | 132 kV |  | 0 | 0 | 0 | 0 | 0
(Nomenclature are as per highest available voltage level)
3 | Number of bays in each AC Substation in operation |  | No.
| (1) | 765 kV |  | 0 | 5.5 | 19.5 | 26.5 | 34.5
| (2) | 400 kV |  | 273.5 | 293.5 | 320.5 | 344 | 373
| (3) | 220 kV |  | 129 | 135.5 | 137 | 139 | 149
| (4) | 132 kV |  | 0 | 0 | 0 | 0 | 0
(Nomenclature are as per highest available voltage level)
4 | Ckt-km of AC lines in operation |  | No.
| (1) | 765 kV |  | 0 | 103.877 | 569.219 | 990.925 | 1051.166
| (2) | 765 kV charged at 400 KV |  | 0 | 0 | 355.01 | 899.82 | 1458.46
| (3) | 400 kV |  | 15120.568 | 15859.054 | 16387.278 | 17739.68 | 18858.777
| (4) | 400 kV Charged at 220 KV |  | 163.798 | 163.798 | 163.978 | 163.798 | 163.798
| (5) | 220 kV |  | 731.124 | 811.474 | 811.474 | 811.474 | 811.474
| (6) | 132 kV |  | 0 | 0 | 0 | 0 | 0
(Nomenclature are as per highest available voltage level)
5 | Total number of employees* engaged in O&M of Sub-station
| (1) | 765 kV | No. | 566 | 560 | 548 | 540 | 559
| (2) | 400 kV
| (3) | 220 kV | Cost (Rs. Lakhs) | 7754.5079 | 7967.1758 | 7516.0756 | 7472.4139 | 10543.638
| (4) | 132 kV
(Nomenclature are as per highest available voltage level)
6 | Total number of employees* engaged in O&M of Transmission Lines
| (1) | 765 kV | No. | 313 | 327 | 338 | 369 | 342
| (2) | 400 kV
| (3) | 220 kV | Cost (Rs. Lakhs) | 4288.2703 | 4652.2616 | 4635.8276 | 5106.1495 | 6450.6694
| (4) | 132 kV
(Nomenclature are as per highest available voltage level)
7 | Auxiliary Power Consumption (excluding colony power) |  | MU
| (1) | 765 kV |  | 0 | 0.9086 | 2.6577 | 3.0095 | 3.9109
| (2) | 400 kV |  | 13.0841 | 14.2786 | 15.7077 | 18.5708 | 21.3422
| (3) | 220 kV |  | No 220 kV S/S
| (4) | 132 kV |  | No 132 kV S/S
(Nomenclature are as per highest available voltage level)
8 | Colony Power Consumption |  | MU
| (1) | 765 kV |  | 0 | 0 | 0 | 0 | 0.0014
| (2) | 400 kV |  | 3.3111 | 3.4132 | 3.4369 | 3.6244 | 3.6648
| (3) | 220 kV |  | No 220 kV S/S
| (4) | 132 kV |  | No 132 kV S/S
(Nomenclature are as per highest available voltage level)
9 | Spare ICTs/Reactors
| (1) | 765/400kV 500MVA ICT | No. | - | - | - | - | 1
|  |  | Cost (Rs. Lakhs) | - | - | - | - | 1494.54
| (2) | 400/220kV 315MVA ICT | No. | 1 | - | - | -
|  |  | Cost (Rs. Lakhs) | 1112.18 | - | - | -
|  | 400 kV 80MVAR Reactor | No. | 1 | - | - | - | -
|  |  | Cost (Rs. Lakhs) | 472.42 | - | - | - | -
| (3) | 220 kV |  | NA | NA | NA | NA | NA
| (4) | 132 kV |  | NA | NA | NA | NA | NA
(Nomenclature are as per highest available voltage level)
10 | Spare Smoothing Reactors
| (1) | 765 kV | No. | NA | NA | NA | NA | NA
| (2) | 400 kV
| (3) | 220 kV | Cost (Rs. Lakhs) | NA | NA | NA | NA | NA
| (4) | 132 kV
(Nomenclature are as per highest available voltage level)
11 | Average outage duration for |  | Hours/year
| A. | Transmission Lines
| (1) | 765 kV |  | 0 | 0 | 32.4233 | 21.2971 | 5.4976
| (2) | 400 kV |  | 1.7658 | 7.4714 | 6.6009 | 7.0301 | 5.0382
| (3) | 220 kV |  | 0.047857 | 2.04 | 2.0634 | 3.7533 | 0.56867
| (4) | 132 kV |  | 0 | 0 | 0 | 0 | 0
| B. | Transformers
| (1) | 765 kV |  | 0 | 0.3825 | 8.9442 | 8.6063 | 2.8447
| (2) | 400 kV |  | 11.5942 | 9.7345 | 20.113 | 19.4961 | 0.91369
| (3) | 220 kV |  | 0 | 0 | 0 | 0 | 0
| (4) | 132 kV |  | 0 | 0 | 0 | 0 | 0
| C. | Reactors
| (1) | 765 kV |  | 0 | 32.955 | 1.924 | 5.014 | 12.0468
| (2) | 400 kV |  | 1.0443 | 2.3827 | 14.1704 | 9.6126 | 11.4815
| (3) | 220 kV |  | 0 | 0 | 0 | 0 | 0
| (4) | 132 kV |  | 0 | 0 | 0 | 0 | 0
(Nomenclature are as per highest available voltage level)
12 | Cost of Initial spares (for S/S) |  | (Rs. In Lakhs)
| A. | Capitalized |  | 14.07 | 1393 | 1204.74 | 1968.97 | 7063.33
| (1) | 765 kV
| (2) | 400 kV
| (3) | 220 kV
| (4) | 132 kV
| B. | In Stock
| (1) | 765 kV |  | DSNA/M | DSNA/M | DSNA/M | DSNA/M | DSNA/M
| (2) | 400 kV
| (3) | 220 kV
| (4) | 132 kV
| C. | Cost of initial spares consumed
| (1) | 765 kV |  | DSNA/M | DSNA/M | DSNA/M | DSNA/M | DSNA/M
| (2) | 400 kV
| (3) | 220 kV
| (4) | 132 kV
13 | Cost of O&M spares Consumed (for S/s) |  | (Rs. In Lakhs)
| (1) | 765 kV |  | 876.3959 | 1859.9667 | 2439.0455 | 1704.33 | 2488.0167
| (2) | 400 kV
| (3) | 220 kV
| (4) | 132 kV
(Nomenclature are as per highest available voltage level)
14 | Cost of Initial spares (for Lines) |  | (Rs. In Lakhs)
| A. | Capitalized
| (1) | 765 kV |  | 0 | 536.51 | 1493.91 | 1886.11 | 1024.8
| (2) | 400 kV
| (3) | 220 kV
| (4) | 132 kV
| B. | In Stock
| (1) | 765 kV |  | DSNA/M | DSNA/M | DSNA/M | DSNA/M | DSNA/M
| (2) | 400 kV
| (3) | 220 kV
| (4) | 132 kV
| C. | Cost of initial spares consumed
| (1) | 765 kV |  | DSNA/M | DSNA/M | DSNA/M | DSNA/M | DSNA/M
| (2) | 400 kV
| (3) | 220 kV
| (4) | 132 kV
15 | Cost of O&M spares Consumed (for Lines) |  | (Rs. In Lakhs)
| (1) | 765 kV |  | 455.0002 | 950.688 | 1234.395 | 853.782 | 1228.2384
| (2) | 400 kV
| (3) | 220 kV
| (4) | 132 kV
(Nomenclature are as per highest available voltage level)
DSNA/M : Data seperately not available/maintained
POWERGRID is in the process of recruiting 703 nos. of employees during the FY 2018-19 and another 1006 nos. during FY 2019-2020 for operation and maintenance of transmission system. The same may please be considered while deriving the normative O&M rates for the Tariff Block 2019-2024.

## Annexure VA (T2)
Annexure-VA
Table-2 - Station wise information (average for the year)
Pro-forma for furnishing Actual annual performance/operational expenses for the Transmission Systems for the 5-year period from 2012-13 to 2016-17
Name of Transmission Company: |  |  | Power Grid Corporation of India Limited
Name of Transmission Region: |  |  | Southern Region
Kolar HVDC Station (Talcher - Kolar HVDC System)
Sl. No. | Particulars |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Total number of employees* engaged in Sub-station O&M - Kolar |  | No. | 14 | 14 | 13 | 13 | 13
|  |  | Cost (Rs. Lakhs) | 191.8076 | 199.1794 | 178.3011 | 179.8914 | 245.2009
2 | Total number of employees* engaged in O&M of Transmission lines at Kolar End |  | No. | 6 | 6 | 6 | 7 | 8
|  |  | Cost (Rs. Lakhs) | 82.2033 | 85.3626 | 82.2928 | 96.8646 | 150.8929
3 | Auxiliary Power Consumption (excluding colony power) - Kolar |  | MU | 8.124 | 8.292 | 8.31 | 8.315 | 8.319
4 | Colony Power Consumption - Kolar |  | MU | 0.17 | 0.162 | 0.156 | 0.127 | 0.149
5 | Outage Duration for Talcher- Kolar HVDC system |  | Pole-days | 2.482 | 1.9345 | 2.409 | 2.3424 | 0.876
6 | Load Curtailment |  | MW-days | NA
7 | Cost of Initial spares |  | (Rs. In Lakhs)
| A. | Capitalized |  | NIL | NIL | NIL | NIL | NIL
| B. | In Stock |  | - | - | - | - | -
| C. | Consumed |  | - | - | - | - | -
8 | Cost of O&M spares Consumed |  | (Rs. In Lakhs) | 89.6474 | 173.3735 | 213.4884 | 139.2716 | 182.8417
Gazuwaka HVDC
Sl. No. | Particulars |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Total number of employees engaged in Sub-station O&M |  | No. | 27 | 17 | 17 | 18 | 18
|  |  | Cost (Rs. Lakhs) | 369.9147 | 241.8607 | 233.1629 | 249.0805 | 339.5089
2 | Total number of employees engaged in O&M of Transmission lines |  | No. | NA | NA | NA | NA | NA
Cost (Rs. Lakhs)
3 | Auxiliary Power Consumption (excluding colony power) |  | MU | 6.7294 | 6.5583 | 6.7461 | 6.5834 | 6.5258
4 | Colony Power Consumption |  | MU | 0.516 | 0.411 | 0.367 | 0.423 | 0.367
5 | Outage Duration |  | Pole-days | 0.9855 | 0.0365 | 8.9425 | 0.915 | 0.5475
6 | Load Curtailment |  | MW-days | NA
7 | Cost of Initial spares |  | (Rs. In Lakhs)
| A. | Capitalized |  | NIL | NIL | NIL | NIL | NIL
| B. | In Stock |  | - | - | - | - | -
| C. | Consumed |  | - | - | - | - | -
8 | Cost of O&M spares Consumed |  | (Rs. In Lakhs) | 95.6239 | 184.9318 | 227.721 | 148.5564 | 195.0311
POWERGRID is in the process of recruiting 703 nos. of employees during the FY 2018-19 and another 1006 nos. during FY 2019-2020 for operation and maintenance of transmission system. The same may please be considered while deriving the normative O&M rates for the Tariff Block 2019-2024.

## Annexure VB (2)
Annexure-VB
(Revised)
Pro-forma for furnishing Actual annual performance/operational expenses for Communication Systems for the 5-year period from 2012-13 to 2016-17
Name of Transmission Company: |  |  | Power Grid Corporation of India Limited
Name of Transmission Region: |  |  | Southern Region
Table-3 - Region wise information (average for the year, but otherwise total for the region) for Communication system
Sl. No. | Particulars |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Number of Wideband Communication Nodes in operation |  | No. | 6 | 16 | 38.5 | 54.5 | 65.5
2 | Average length of OPGW links in operation |  | Kms | 792 | 1355.44 | 3223.0785 | 5005.577 | 6369.068
3 | Number of Remote Terminal Units(RTUs) |  | No. | 30 | 30 | 30 | 30 | 30
4 | Number of PLCC links |  | No. | 7 | 4.5 | 2 | 1 | 0
5 | Number of OPGW links |  | No. | 5 | 14 | 39.5 | 61.5 | 79.5
6 | Number of Auxiliary Power Supply (DC) Nodes |  | No. | 5 | 10.5 | 16 | 16 | 26.5
7 | Number of employees engaged in O&M of RTU and Communication System |  | No.
| (1) | Executive |  | 3 | 3 | 3 | 3 | 2
| (2) | Non Exexutive
| (3) | Outsourced
8 | Average outage duration for |  | Hours/ year
| (1) | Wideband Communication Links |  | - | 140 | 432 | 348 | 513.6
| (2) | RTUs |  | - | 342 | 296 | 420 | 384
| (3) | PLCC |  | - | - | - | - | -
| (4) | Auxiliary Power Supply System |  | - | - | - | 84 | -
9 | Cost of Initial spares |  | (Rs. In Lakhs)
| A. | Capitalized |  | - | - | 41.18 | - | -
| B. | In Stock |  | DSNA/M | DSNA/M | 41.18 | DSNA/M | DSNA/M
| C. | Consumed |  | DSNA/M | DSNA/M | DSNA/M | DSNA/M | DSNA/M
10 | Cost of O&M spares Consumed |  | (Rs. In Lakhs) | - | - | - | 5.34 | 2.7873
11 | Number of PMU installed in the region |  | No. | - | - | - | - | 177
12 | O&M expenses of PMU incurred in the region |  | (Rs. In Lakhs) | - | - | - | - | -
(Note: separate note on utilization of PMU is to be given along with benefit availed during the year
DSNA/M : Data seperately not available/Maintained

## Annexure- VI(B1) (2)
Revised Annexure VI (B-1)
Details of Operation & Maintenance Expenses of Transmission O&M service (To be filled for each of the transmission region)
Name of Transmission Company: |  | Power Grid Corporation of India Limited
Name of Transmission Region: |  | Southern Region
(Rs. In Lakhs)
Sr.No. | ITEM | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | 2 | 3 | 4 | 5 | 6 | 7
1 | Repairs and Maintenance Expenses :
1) | Repairs of Plant & Machinery | 2390.0346 | 1530.22 | 1853.61 | 1317.69 | 1613.9
2) | Consumption of Stores (not capitalized) | Included in 1.0 (1)
3) | Consumption of Spares (not capitalized ) | 1516.6675 | 3168.96 | 4114.65 | 2845.94 | 4094.128
4) | Patrolling expenses | Included in natural heads of expenditure
5) | Power Charges (electricity consumed for repairing activity) | 2549.7384 | 2911.42 | 3540.29 | 3632.86 | 4314.5
6) | Expenses of Diesel Generating sets | 0 | 46.46 | 77.64 | 65.58 | 72.25
6) | Provisions | 0 | 0 | 0 | 0 | 0
7) | Prior Period Adjustment , if any | 0 | 0 | 0 | 0 | 0
8) | Other expenses, if any (please provide details) | 0 | 0 | 0 | 0 | 0
| Sub-total (R&M Expenses) | 6456.4404 | 7657.06 | 9586.19 | 7862.07 | 10094.778
2 | Administrative & General Expenses:
1) | Insurance | 989.2272 | 969.76 | 1190.32 | 1520.17 | 1332.84
2) | Security (General other than special) | 885.3186 | 1075.96 | 1219.15 | 1401.09 | 1400.2
3) | Rent | 139.008 | 150.92 | 74.83 | 14.23 | 22.34
4) | Electricity Charges | Included in 1.0 (5)
5) | Traveling and conveyance | 704.7861 | 694.33 | 920.35 | 979.49 | 956.19
6) | Communication expenses | 115.8397 | 95.82 | 84.2 | 171.04 | 164.77
7) | Advertisement and publicity | 29.6687 | 17.82 | 89.77 | 97.35 | 125.11
8) | Foundation laying and inauguration | 5.7 | 0.16 | 4.66 | 8.74 | 0.14
9) | Books Periodicals and Journals | 0 | 4.97 | 3.29 | 4.18 | 4.53
10) | Research expenses | 0 | 0 | 0 | 0 | 0
11) | Cost Audit Fees | 0 | 6.49 | 10.43 | 6.95 | 10.92
12) | Horticulture Expenses | 0 | 231.87 | 242.29 | 222.13 | 298.58
13) | Bandwidth charges dark fibre lease charges (Telecom) etc | 0 | 97.34 | 252.56 | 589.71 | 722.81
14) | Donations expenses | 0 | 0 | 0.02 | 0
15) | Entertainment expenses | 11.3716 | 9.65 | 9.99 | 8.8 | 11.15
16) | Filing Fees | 378.7757 | 452.61 | 692.75 | 704.08 | 835
17) | Legal Expenses | 176.5998 | 13.75 | 43.58 | 67.05 | 49.4
18) | Consultancy Expenses | 0 | 0.53 | 0.29 | 1.98 | 4.95
19) | Professional charges (not covered under employee expenses) | 0 | 16.83 | -26.64 | 22.2 | 21.63
20) | Printing and Stationary | 61.7594 | 41.67 | 45.38 | 60.13 | 46.63
21) | Hiring of Vehicle (excluding construction & Corporate exp) | 680.7584 | 797.07 | 901.49 | 1073.68 | 1169.64
22) | Training and Recruitment expenses | 166.9737 | 154.73 | 189.57 | 247.63 | 367.99
23) | Rates and taxes | 23.6341 | 23.64 | 56.43 | 38.25 | 42.6
24) | Rebate to Customers | 1976.77 | 1721.54 | 1540.16 | 1942.98 | 1793.02
25) | Self Insurance Reserve | 838.99 | 930.06 | 1272.23 | 1548.48 | 2571.49
26) | Provisions (Provide details) | 0 | 0 | 363.82 | 2.01 | 0
27) | Prior Period Adjustment , if any | 0 | 0 | 0 | 0 | 0
28) | Any other A&G expenses (Provide details) | 1553.3172 | 2067.01 | 2112.72 | 888.11 | 1968.01
29)
| Sub-total (A&G Expenses) | 8738.4981 | 9574.53 | 11293.64 | 11620.46 | 13919.94
3 | Employee Expenses
1) | Salaries, wages and allowances | 9980.2891 | 8972.86 | 8205.74 | 8768.06 | 12402.49
2) | Staff welfare expenses
| a) Contribution to Provident and other funds | 0 | 652.04 | 577.14 | 630.7 | 894.33
| b) Gratuity | 0 | 238.81 | 234.68 | 0 | 1926.278
| c) Pension | 0 | 629.76 | 1425.96 | 989.59 | 613.2784
| d) Employee Medical Expenses | 722.88 | 754.94 | 720.98 | 663.32 | 430.3537
| e) Liveries and Uniforms | 0.65195 | 2.6 | 39.64 | 54.92 | 19.65
| f) Safety & Appliances expenses | 19.1677 | 12.94 | 27.12 | 4.1 | 31.33
| g) Others | 455.9425 | 591.68 | 928.66 | 829.41 | 1039.33
3) | Productivity linked incentive | 0 | 0 | 0 | 0 | 0
4) | Expenditure on VRS | 0 | 0 | 0 | 0 | 0
5) | Ex-gratia | 9.2799 | 0 | 0 | 0 | 0
6) | Performance related pay (PRP) | 1498.4927 | 1290.21 | 485.74 | 1164.3 | 372.87
7) | Any other expenses | 0 | 0 | 0 | 0 | 0
8) | Provisions (furnish details separately) | 0 | 0 | 0 | 0 | 0
9) | Prior Period Adjustment , if any (furnish details separately) | 0 | 0 | 0 | 0 | 0
| Sub-total( Employee Expenses) | 12686.7038 | 13145.84 | 12645.66 | 13104.4 | 17729.91
4 | Additional /Specific Security it any on the advise of Govt. Agency/ Statutory Authority/ any other reasons | 0 | 0.05 | 0 | 0 | 120.99
5 | Loss of store/Disposal/Write off | 3.55 | 0 | 0 | 0 | 0
6 | Provisions (other than above) | 0 | 0 | 0 | 0 | 0
7 | Prior Period Adjustment , if any (not covered above) | 12.85 | 0 | 0 | 0 | 0
8 | Corporate office expenses allocation | 0 | 0 | 0 | 0 | 0
| (i) Transmission O&M Service | 2511.7142 | 2562.238 | 3311.4812 | 3924.4814 | 4931.9618
| (ii) Projects under construction | 0 | 0 | 0 | 0 | 0
| (iii) ULDC –Communication | 0 | 0 | 0 | R | 0
| (iv) Consultancy services, if any | 0 | 0 | 0 | 0 | 0
| (v) Other business (Telecom) | 0 | 0 | 0 | 0 | 0
| (vi) Other business (if any) | 0 | 0 | 0 | 0 | 0
9 | Corporate Social Responsibility expenses |  | 48.63 | 294.13 | 331.64 | 1452.82
10 | - Others (Specify items not included above) | 0 | 0 | 0 | 0 | 0
| Sub Total (1 to 9) | 30409.7565 | 32988.348 | 37131.1012 | 36843.0514 | 48250.3998
11 | Other Income, Revenue and Recoveries, if any | 0 | 0 | 0 | 0 | 0
a) | Short term open access (other than transmission service | 0 | 0 | 0 | 0 | 0
b) | System & Market operation charges | 0 | 0 | 0 | 0 | 0
c) | Interest on differential tariff recovered | 0 | 0 | 0 | 0 | 0
d) | Consultancy Services | 0 | 0 | 0 | 0 | 0
e) | Interest against Loans and advances | 0 | 0 | 0 | 0 | 0
f) | Interest from advanced to contractors/suppliers | 0 | -4.92 | -17.29 | -17.51 | -102.49
g) | Income from lease of assets | 0 | 0 | 0 | 0 | 0
h) | Disposal of scrap/stores (not covered under capitalized assets) | 0 | 0 | 0 | 0 | 0
i) | Interest on Government securities | 0 | 0 | 0 | 0 | 0
j) | Miscellaneous income from operations | 0 | 0 | 0 | 0 | 0
k) | Revenue/ Recoveries, if any | 0 | -15.83 | -11.33 | -10.78 | -48.95
12 | Net Expenses | 30409.7565 | 32967.598 | 37102.4812 | 36814.7614 | 48098.9598
13 | Capital spares consumed not included in (A) (1) above and not claimed /allowed by Commission for capitalization " ix" | Capital Spares not claimed/allowed by CERC have been consmued as O&M Spares
13A | Expenses against Capital expenditure incurred for Operation and Maintenance of Transmission System (not included in Capital Cost/Repair & Maintenance expenditure indicated 1.0(1) above) | 13.16 | 29.1 | 125.94 | 243.64 | 302.73
14 | Total Expenses (12) + (13A) | 30422.9165 | 32996.698 | 37228.4212 | 37058.4014 | 48401.6898
Notes:
I. The details of Corporate Expenses and the methodology of allocation of corporate expenses to various functional activities and allocation of Corporate expenses pertaining to power generation/ transmission system to each operating stations/ transmission region/system and stations/ transmission region/system under construction should be clearly specified in ANNEXURE-VIII as provided here separately.
II. An annual increase in O&M expenses under a given head in excess of 10% percent should be explained.
III. The data should be based on audited balance sheets, duly reconciled and certified.
IV. Employee cost should be excluding arrears paid for pay hike/prior period adjustment /payment
IV. Details of arrears, if any, pertaining to period prior to the year 2008-09 should be mentioned separately.
V. No. of employees opting for VRS during each year should be indicated.
VI. Details of abnormal expenses, if any, shall be furnished separately.
VII Break-up of staff welfare expenses should be furnished
VIII Details of Consumptive Water requirement , contracted quantum and actual water consumed with source , rate etc. Should be furnished year-wise for Thermal Power Stations
IX. Details of capital spares consumed each year which were not claimed/allowed in the tariff should be furnished giving item wise unit price and quantity consumed.
Break up of other A&G Expenses (indicated at 2.28 above)
Sr. No. | Item | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Water Charges | 5.81 | 20 | 28.72 | 37.55 | 59.91
2 | Tender Exp. |  | 111.07 | 206.32 | 138.92 | 77.89
3 | Transit Hostal |  | 126.05 | 131.49 | 106.32 | 142.47
4 | Telecom |  | 45.51 | 0 | -0.07 | -0.09
5 | EDP Hire |  | 42.58 | 42.92 | 41.47 | 38.65
6 | Brokerage and Commission |  | 9.76 | 4.06 | 1.68 | 3.48
7 | Audit Exp. |  | 3.84 | 3.17 | 7.08 | 13.3
8 | Loss on disosal |  | 2.49 | -0.2 | -0.25 | 61.08
9 | Misc. Exp. |  | 1564.04 | 1621.2 | 525.14 | 1703.83
10 | FERV |  | 141.67 | 75.04 | 30.27 | -132.51
| Total | 5.81 | 2067.01 | 2112.72 | 888.11 | 1968.01

## Ann-VI(B-2)-ULDC
Annexure VI (B-II)
Details of Operation & Maintenance Expenses of Communication System (Other than Telecom or other Business) (To be filled for each of the transmission region)
Name of Transmission Company: |  | Power Grid Corporation of India Limited
Name of Transmission Region: |  | Southern Region
(Rs. In Lakhs)
Sr.No. | ITEM | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | 2 | 3 | 4 | 5 | 6 | 7
1 | Repairs and Maintenance Expenses :
1) | Repairs of Plant & Machinery | 20.96 | 4.35 | 19.74 | 15.07 | 67.78
2) | Consumption of Stores (not capitalized) | Included in 1.0 (1)
3) | Consumption of Spares (not capitalized ) Included above | 3.95 | 19.6 | 10.73 | 0 | 5.26
4) | Patrolling expenses | Included in natural heads of expenditure
5) | Power Charges (electricity consumed for repairing activity) | 0.08 | 0.05 | 0 | 4.4 | 5.01
6) | Expenses of Diesel Generating sets | 0 | 0 | 0.04 | 0.33 | 0.31
6) | Provisions | 0 | 0 | 0 | 0 | 0
7) | Prior Period Adjustment , if any | 0 | 0 | 0 | 0 | 0
8) | Other expenses, if any (please provide details) | 0 | 0 | 0 | 0 | 0
| Sub-total( R&M Expenses) | 24.99 | 24 | 30.51 | 19.8 | 78.36
2 | Administrative & General Expenses:
1) | Insurance | 0 | 0 | 0 | 0.19 | 0
2) | Security (General other than special) | 0 | 0 | 0.48 | 1.36 | 2.52
3) | Rent | 0 | 0 | 0.07 | 0.03 | 0.04
4) | Electricity Charges | Included in 1.0 (5)
5) | Traveling and conveyance | 2.12 | 5.98 | 18.86 | 10.45 | 7.24
6) | Communication expenses | 0.17 | 0.24 | 0.58 | 2.01 | 1.56
7) | Advertisement and publicity | 0 | 0 | 5.66 | 10.98 | 1.78
8) | Foundation laying and inauguration | 0 | 0 | 0.01 | 0.41 | 0
9) | Books Periodicals and Journals | 0 | 0 | 0.34 | 0.25 | 0.12
10) | Research expenses | 0 | 0 | 1.06 | 1.78 | 0.32
11) | Cost Audit Fees | 0 | 0 | 0.3 | 0.06 | 0.01
12) | Horticulture Expenses | 0 | 0 | 0.05 | 0.13 | 0.42
13) | Bandwidth charges dark fibre lease charges (Telecom) etc | 0 | 77.78 | 23.09 | 32.86 | 31.98
`14) | Donations expenses | 0 | 0 | 0 | 0 | 0
15) | Entertainment expenses | 0.03 | 0 | 0.06 | 0.29 | 0.24
16) | Filing Fees | 0 | 0 | 8.57 | 7 | 0
17) | Legal Expenses | 0 | 0 | 1 | 3.67 | 1.64
18) | Consultancy Expenses | 0 | 0 | 0.02 | 0.13 | 0.12
19) | Professional charges (not covered under employee | 0 | 0 | -2.72 | 1.28 | 0.49
20) | Printing and Stationary | 0 |  | 0.27 | 1.49 | 1.07
21) | Hiring of Vehicle (excluding construction & Corporate exp) | 1.78 | 5.4 | 5.28 | 9.96 | 9.26
22) | Training and Recruitment expenses | 0.13 | 0.45 | 3.61 | 9.54 | 6.2
23) | Rates and taxes | 21.93 | 0.58 | 0.58 | 0.02 | 0.01
24) | Rebate to Customers | 49.65 | 50.66 | 0 | 0 | 0
25) | Self Insurance Reserve | 12.07 | 0 | 0 | 0 | 0
26) | Provisions (Provide details) | 0 | 0 | 0 | 0 | 0
27) | Prior Period Adjustment , if any | 0 | 0 | 0 | 0 | 0
28) | Any other A&G expenses (Provide details) | 374.48 | 581.72 | 172.02 | 289.34 | 575.87
29)
| Sub-total(A&G Expenses) | 462.36 | 722.81 | 239.19 | 383.23 | 640.89
3 | Employee Expenses
1) | Salaries, wages and allowances | 27.52 | 25.89 | 36.55 | 88.27 | 67.37
2) | Staff welfare expenses
| a) Contribution to Provident and other funds | 0 | 1.85 | 1.7 | 6.07 | 3.1111
| b) Gratuity | 0 | 0.68 | 0.77 | 0.24 | 3.8952
| c) Pension | 0 | 1.73 | 19.49 | 10.12 | 2.4337
| d) Employee Medical Expenses | 0 | 1.98 | 4.07 | 6.63 | 5.41
| e) Liveries and Uniforms | 0 | 0 | 0 | 0.09 | 0.06
| f) Safety & Appliances expenses | 0 | 0 | 0 | 0.01 | 0.58
| g) Others | 2.5 | 1.69 | 10.91 | 11.49 | 10.03
3) | Productivity linked incentive | -1.31 | 0 | 0 | 0 | 0
4) | Expenditure on VRS | 0 | 0 | 0 | 0 | 0
5) | Ex-gratia | 0 | 0 | 0 | 0 | 0
6) | Performance related pay (PRP) | 9.25 | 5.01 | 3.4 | 15.25 | 6.99
7) | Any other expenses | 0 | 0 | 0 | 0 | 0
8) | Provisions (furnish details separately) | 0 | 0 | 0 | 0 | 0
9) | Prior Period Adjustment , if any (furnish details separately) | 0 | 0 | 0 | 0 | 0
| Sub-total( Employee Expenses) | 37.96 | 38.83 | 76.89 | 138.17 | 99.88
4 | Additional /Specific Security it any on the advise of Govt. Agency/ Statutory Authority/ any other reasons | 0 | 0 | 0 | 0 | 0
5 | Loss of store/Disposal/Write off | 0 | 0 | 0 | 0 | 0
6 | Provisions (other than above) | 0 | 0 | 0 | 0 | 0
7 | Prior Period Adjustment , if any (not covered above) | 0 | 0 | 0 | 0 | 0
8 | Corporate office expenses allocation
| (i) Transmission O&M Service | 0 | 0 | 0 | 0 | 0
| (ii) Projects under construction | 0 | 0 | 0 | 0 | 0
| (iii) ULDC –Communication | 15.79 | 30.05 | 0 | 0 | 0
| (iv) Consultancy services, if any | 0 | 0 | 0 | 0 | 0
| (v) Other business (Telecom) | 0 | 0 | 0 | 0 | 0
| (iv) Other business (if any) | 0 | 0 | 0 | 0 | 0
9 | Corporate Social Responsibility expenses | 0 | 0 | 5.55 | 6.61 | 0
10 | - Others (Specify items not included above)
| Sub Total (1 to 9) | 541.1 | 815.69 | 352.14 | 547.81 | 819.13
11 | Other Income, Revenue and Recoveries, if any
a) | Short term open access (other than transmission service | 0 | 0 | 0 | 0 | 0
b) | System & Market operation charges | 0 | 0 | 0 | 0 | 0
c) | Interest on differential tariff recovered | 0 | 0 | 0 | 0 | 0
d) | Consultancy Services | 0 | 0 | 0 | 0 | 0
e) | Interest against Loans and advances | 0 | 0 | 0 | 0 | 0
f) | Interest from advanced to contractors/suppliers | 0 | 0 | 0 | 0 | 0
g) | Income from lease of assets | 0 | 0 | 0 | 0 | 0
h) | Disposal of scrap/stores (not covered under capitalized | 0 | 0 | 0 | 0 | 0
i) | Interest on Government securities | 0 | 0 | 0 | 0 | 0
j) | Miscellaneous income from operations | 0 | 0 | 0 | 0 | 0
k) | Revenue/ Recoveries, if any | 0 | -0.06 | -0.04 | -0.65 | -0.84
12 | Net Expenses | 541.1 | 815.63 | 352.1 | 547.16 | 818.29
13 | Capital spares consumed not included in (A) (1) above and not claimed /allowed by Commission for | Capital Spares not claimed/allowed by CERC have been consmued as O&M Spares
Notes:
I. The details of Corporate Expenses and the methodology of allocation of corporate expenses to various functional activities and allocation of Corporate expenses pertaining to power generation/transmission system to each operating stations/ transmission region/system and stations/transmission region/system under construction should be clearly specified in ANNEXURE-VIII as provided here separately.
II. An annual increase in O&M expenses under a given head in excess of 10% percent should be explained.
III. The data should be based on audited balance sheets.
IV. Employee cost should be excluding arrears paid for pay hike/prior period adjustment /payment
IV. Details of arrears, if any, pertaining to period prior to the year 2008-09 should be mentioned separately.
V. No. of employees opting for VRS during each year should be indicated.
VI. Details of abnormal expenses, if any, shall be furnished separately.
VII Break-up of staff welfare expenses should be furnished
VIII Details of Consumptive Water requirement , contracted quantum and actual water consumed with source , rate etc. should be furnished year-wise for Thermal Power Stations
IX. Details of capital spares consumed each year which were not claimed/allowed in the tariff should be furnished giving item wise unit price and quantity consumed.
Break up of other A&G Expenses (indicated at 2.28 above)
Sr. No. | Item | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Water Charges |  | 0 | 0 | 0 | 0
2 | Tender Exp. |  | 0.21 | 0.13 | 0.99 | 1.21
3 | Transit Hostal |  |  | 0.38 | 0.91 | 0.53
4 | Telecom |  | 20.33 | 0 | 0 | 0
5 | EDP Hire |  |  | 0.41 | 1.89 | 1.61
6 | Brokerage and Commission |  |  | 0.01 | 0.01 | 0.01
7 | Audit Exp. |  | 0 | 0.15 | 0.69 | 0.7
8 | Loss on disosal |  |  | 0 | 0.06 | 0
9 | Misc. Exp. |  | 551.32 | 172.07 | 277.71 | 571.89
10 | FERV |  | 9.86 | -1.13 | 7.08 | -0.08
| Total |  | 581.72 | 172.02 | 289.34 | 575.87

## Annexure-IX (2)
Revised Annexure-IX
Additional Region-wise Information required from Transmission Licensees
Name of Transmission Company: |  |  | Power Grid Corporation of India Limited
Name of Transmission Region: |  |  | Southern Region
Table-1- Length (km) of Transmission Lines in Commercial Operation
Status as on
|  |  | 1.4.2013 | 1.4.2014 | 1.4.2015 | 1.4.2016 | 1.4.2017
1 | HVDC
| a) S/C |  | 65.11 | 65.11 | 65.11 | 65.11 | 65.11
| b) D/C |  | 1369.16 | 139.16 | 1369.16 | 1369.16 | 1369.16
2 | 765 kV
| a) S/C |  | 0 | 207.754 | 326.084 | 446.566 | 446.566
| b) D/C |  | 0 | 0 | 302.3 | 302.3 | 302.3
3 | 765 kV Charged at 400 KV
| a) D/C |  | 0 | 0 | 355.01 | 544.81 | 913.65
4 | 400 kV
| a) S/C |  | 5422.904 | 5422.9 | 5422.9 | 5422.9 | 5422.9
| b) D/C |  | 5113.564 | 5254.15 | 5596.91 | 6561.03 | 6716.08
| c) Multi |  | 39.691 | 39.691 | 39.691 | 39.691 | 39.691
5 | 400 kV Charged at 220 KV
| a) D/c on M/C |  | 79.292 | 79.292 | 79.292 | 79.292 | 79.292
| b) D/C |  | 2.607 | 2.607 | 2.607 | 2.607 | 2.607
6 | 220 kV
| a) S/C |  | 115.732 | 115.732 | 115.732 | 115.732 | 115.732
| b) D/C |  | 347.871 | 347.871 | 347.871 | 347.871 | 347.871
7 | Up to 132 kV
| a) S/C |  | 0 | 0 | 0 | 0 | 0
| b) D/C |  | 0 | 0 | 0 | 0 | 0
Table-2-Ckt km by Conductor Configuration
|  | Type of Conductor | Status as on
|  |  | 1.4.2013 | 1.4.2014 | 1.4.2015 | 1.4.2016 | 1.4.2017
1 | Hexagonal | Zebra D/C | 0 | 0 | 1314.62 | 1694.22 | 1694.22
2 | Quad | Bersimis D/C | 2840.454 | 2840.454 | 2840.454 | 2840.454 | 3578.134
|  | Bersimis S/C | 0 | 207.754 | 326.084 | 446.566 | 446.566
|  | Moose D/C | 1651.166 | 1788.888 | 2154.816 | 3598.662 | 3762.46
|  | Moose S/C | 65.11 | 65.11 | 65.11 | 65.11 | 65.11
3 | Twin | Moose S/C | 5227.904 | 5227.904 | 5227.904 | 5227.904 | 5227.904
|  | Moose D/C | 7976.418 | 8119.864 | 8439.456 | 8923.858 | 9070.15
|  | Moose D/C on M/C | 158.584 | 158.584 | 158.584 | 158.584 | 158.584
|  | Moose M/C | 140.764 | 140.764 | 140.764 | 140.764 | 140.764
|  | AAAC D/C | 658.624 | 658.624 | 658.624 | 658.624 | 658.624
|  | AAAC S/C | 195 | 195 | 195 | 195 | 195
|  | AAAC M/C | 18 | 18 | 18 | 18 | 18
4 | Single | AAAC Zebra D/C | 445.742 | 445.742 | 445.742 | 445.742 | 445.742
|  | ACSR Zebra D/C | 94 | 94 | 94 | 94 | 94
|  | ACSR Zebra S/C | 52.5 | 52.5 | 52.5 | 52.5 | 52.5
|  | Kundah S/C | 63.232 | 63.232 | 63.232 | 63.232 | 63.232
| Grand Total |  | 19587.498 | 20076.42 | 22194.89 | 24623.22 | 25670.99
Table-3- Number of AC Substations in Commercial Operation
Status as on
|  |  | 1.4.2013 | 1.4.2014 | 1.4.2015 | 1.4.2016 | 1.4.2017
1 | 765 kV |  | 0 | 3 | 4 | 4 | 6
2 | 400 kV |  | 34 | 34 | 35 | 38 | 40
3 | 220 kV |  | 0 | 0 | 0 | 0 | 0
4 | Up to 132 kV |  | 0 | 0 | 0 | 0 | 0
Table-4- Number of Sub-station bays in Commercial Operation
Status as on
|  |  | 1.4.2013 | 1.4.2014 | 1.4.2015 | 1.4.2016 | 1.4.2017
1 | HVDC |  | 89 | 89 | 89 | 89 | 89
2 | 765 kV |  | 0 | 14 | 25 | 28 | 41
3 | 400 kV |  | 287 | 311 | 330 | 358 | 388
4 | 220 kV |  | 134 | 137 | 137 | 141 | 157
5 | Up to 132 kV |  | 0 | 0 | 0 | 0 | 0
Table-5- Cost of Outsourcing of Services (Rs. lakh)
|  |  | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
| Substation O&M |  | 871.9577 | 1368.7505 | 941.3239 | 686.1117 | 1145.0952
Lines O&M
| Security |  | 768.8686 | 940.994 | 1122.8437 | 1339.3707 | 1428.0361
| Others - Hiring of Vehicles |  | 1118.4177 | 1454.3397 | 1694.6999 | 2152.8585 | 2135.0812
Others/Horticulture Exp
| Grand Total |  | 2759.244 | 3764.0842 | 3758.8675 | 4178.341 | 4708.2125
Table-6- Total O&M Expenditure Including RHQ, but Excluding HVDC Stations (Rs lakh)
|  |  | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
| Total O&M Expenses |  | 26762.3277 | 29194.2632 | 32585.5769 | 33781.0481 | 44319.7732

## Annexure - X
Annexure X
Station wise O&M Expenditure at HVDC Station (Rs. lakh)
Name of Transmission Company: |  | Power Grid Corporation of India Limited
Name of Transmission Region: |  | Southern Region
| 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
Kolar
i) No of Employees | 14 | 14 | 13 | 13 | 13
ii) A&G Expenses | 1821.15 | 1834.65 | 1489.5125 | 1059.9062 | 1181.2062
iii) Repairs & Maintenance | 111.7812 | 306.3375 | 177.1437 | 332.5 | 503.6375
Iv) Employee Expenses | 191.8076 | 199.1794 | 178.3011 | 179.8914 | 245.2009
v) Corporate expenses | Included in Annexure - VI (B-I)
vi) Other income | 0 | 0 | 0 | 0 | 0
vii) Any other income | 0 | 0 | 0 | 0 | 0
Total | 2124.7389 | 2340.1669 | 1844.9573 | 1572.2977 | 1930.0446
0
Gazuwaka
i) No of Employees | 27 | 17 | 17 | 18 | 18
ii) A&G Expenses | 491.08 | 526.2601 | 598.8939 | 678.2061 | 644.9041
iii) Repairs & Maintenance | 674.8553 | 694.147 | 1965.8302 | 777.769 | 1167.459
Iv) Employee Expenses | 369.9147 | 241.8607 | 233.1629 | 249.0805 | 339.5089
v) Corporate expenses | Included in Annexure - VI (B-I)
vi) Other income | 0 | 0 | 0 | 0 | 0
vii) Any other income | 0 | 0 | 0 | 0 | 0
Sasaram
i) No of Employees
ii) A&G Expenses
iii) Repairs & Maintenance
Iv) Employee Expenses
v) Corporate expenses
vi) Other income
vii) Any other income
Bhiwadi
i) No of Employees
ii) A&G Expenses
iii) Repairs & Maintenance
Iv) Employee Expenses
v) Corporate expenses
vi) Other income
vii) Any other income
Balia
i) No of Employees
ii) A&G Expenses
iii) Repairs & Maintenance
Iv) Employee Expenses
v) Corporate expenses
vi) Other income
vii) Any other income
Mundra
i) No of Employees
ii) A&G Expenses
iii) Repairs & Maintenance
Iv) Employee Expenses
v) Corporate expenses
vi) Other income
vii) Any other income
Champa
i) No of Employees
ii) A&G Expenses
iii) Repairs & Maintenance
Iv) Employee Expenses
v) Corporate expenses
vi) Other income
vii) Any other income
Mohindergarh
i) No of Employees
ii) A&G Expenses
iii) Repairs & Maintenance
Iv) Employee Expenses
v) Corporate expenses
vi) Other income
vii) Any other income
Kurukshetra
i) No of Employees
ii) A&G Expenses
iii) Repairs & Maintenance
Iv) Employee Expenses
v) Corporate expenses
vi) Other income
vii) Any other income
Agra
i) No of Employees
ii) A&G Expenses
iii) Repairs & Maintenance
Iv) Employee Expenses
v) Corporate expenses
vi) Other income
vii) Any other income
BishwanathChariyali
i) No of Employees
ii) A&G Expenses
iii) Repairs & Maintenance
Iv) Employee Expenses
v) Corporate expenses
vi) Other income
vii) Any other income
Checking sheet
Total No of Employees | #REF! | #REF! | #REF! | #REF! | #REF!
Total A&G Expenses | #REF! | #REF! | #REF! | #REF! | #REF!
Total Repairs & Maintenance | #REF! | #REF! | #REF! | #REF! | #REF!
Total Employee Expenses | #REF! | #REF! | #REF! | #REF! | #REF!
Total O&M Expenses for HVDC | #REF! | #REF! | #REF! | #REF! | #REF!
Total | 1535.85 | 1462.2679 | 2797.887 | 1705.0556 | 2151.8719

## Annexure-XI
Annexure-XI
Additional Region-wise Information required from Transmission Licensees (Communication System)
Name of Transmission Company: |  | Power Grid Corporation of India Limited
Name of Transmission Region: |  | Southern Region
Table-1- Details of Communication system in Commercial Operation
Status as on
|  | 1.4.2013 | 1.4.2014 | 1.4.2015 | 1.4.2016 | 1.4.2017
1 | OPGW Communication Links in operation (in Kms) | 1690.53 | 1918.88 | 4527.277 | 5483.877 | 7254.259
2 | Number of wideband Communication nodes in operation | 16 | 26 | 51 | 58 | 73
3 | Number of RTUs in operation | 30 | 30 | 30 | 30 | 30
4 | Number of PLCC links in operation | 7 | 2 | 2 | 0 | 0
5 | Number of Auxiliary Power Supply Nodes in operation | 5 | 16 | 16 | 16 | 37
Table-2- Cost of Outsourcing of Services (Rs. lakh)
|  | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
| Communication System O&M | Nil | Nil | Nil | Nil | Nil
| PLCC O&M | Nil | Nil | Nil | Nil | Nil
| RTU O&M | Nil | Nil | Nil | Nil | Nil
| Auxiliary Power Supply O&M | Nil | Nil | Nil | Nil | Nil
| Hiring charges of Bandwidth | 4.59 | 77.78 | 23.1 | 32.86 | 31.98
| Security | 0 | 0 | 0.48 | 1.36 | 2.51
| Others | 13.1 | 23.99 | 14.89 | 10.09 | 9.68
| Grand Total | 17.69 | 101.77 | 38.47 | 44.31 | 44.17

## Annexure XIII C
Annexure-XIII (C)
Auxiliary Consumption separately for 132kV, 220kV, 400kV & 765kV AC and HVDC Substation Separately
Name of Transmission Company: |  |  | Power Grid Corporation of India Limited
Name of Transmission Region: |  |  | Southern Region
Sr. No. | Voltage | Name of Sub-Station | 2012-13 |  | 2013-14 |  | 2014-15 |  | 2015-16 |  | 2016-17
|  |  | MU | % | MU | % | MU | % | MU | % | MU | %
1 | 400 KV | Gooty | 0.57178 | - | 0.67505 | - | 0.71671 | - | 0.72205 | - | 0.66263 | -
2 | 400 KV | Hyderbad | 0.62428 | - | 0.46229 | - | 0.51776 | - | 0.57135 | - | 0.59853 | -
3 | 400 KV | Munirabad | 0.36833 | - | 0.31109 | - | 0.38041 | - | 0.31343 | - | 0.35067 | -
4 | 400 KV | NP Kunta | 0 | - | 0 | - | 0 | - | 0 | - | 0.486 | -
5 | 765 KV | Srikakulam | 0 | - | 0 | - | 0 | - | 0 | - | 0.669 | -
6 | 400 KV | Vijayawada | 0.72625 | - | 0.739 | - | 0.831 | - | 0.69 | - | 0.7 | -
7 | 400 KV | Warangal | 0.37556 | - | 0.26494 | - | 0.37944 | - | 0.40176 | - | 0.37992 | -
8 | 400 KV | Kadapa | 0.4707 | - | 0.43275 | - | 0.38255 | - | 0.3794 | - | 0.441 | -
9 | 400 KV | Khammam | 0.47858 | - | 0.45257 | - | 0.51741 | - | 0.54832 | - | 0.58372 | -
10 | 400 KV | Nellore | 0.47081 | - | 0.5259 | - | 0.59347 | - | 0.54805 | - | 0.61603 | -
11 | 765 KV | Nellore PS | 0 | - | 0.6576 | - | 0.8217 | - | 0.83748 | - | 0.87599 | -
12 | 765 KV | Raichur | 0 | - | 0.251 | - | 1.002 | - | 0.872 | - | 0.7001 | -
13 | 765 KV | Vemagiri | 0 | - | 0 | - | 0 | - | 0 | - | 0.299 | -
14 | 400 KV | Vizag | 0.47835 | - | 0.4225 | - | 0.443 | - | 0.487 | - | 0.5285 | -
15 | 400 KV | Nsagar | 0.74135 | - | 0.739 | - | 0.706 | - | 0.793 | - | 0.751 | -
16 | 765 KV | Kurnool | 0 | - | 0 | - | 0.781 | - | 0.75602 | - | 0.69679 | -
17 | HVDC | Vizag | 6.7294 | - | 6.0583 | - | 5.7461 | - | 6.5834 | - | 6.0258 | -
18 | 400 KV | Somanahalli | 0.62408 | - | 0.638 | - | 0.646 | - | 0.686 | - | 0.73 | -
19 | 400 KV | Salem | 0.39773 | - | 0.40527 | - | 0.44906 | - | 0.40824 | - | 0.45334 | -
20 | 400 KV | Udumalpet | 0.556 | - | 0.516 | - | 0.53 | - | 0.6 | - | 0.63 | -
21 | 400 KV | Trichur | 0.349 | - | 0.358 | - | 0.374 | - | 0.411 | - | 0.403 | -
22 | 400 KV | Sriperumbudur | 0.482 | - | 0.42826 | - | 0.46303 | - | 0.49099 | - | 0.48117 | -
23 | 400 KV | Madurai | 0.578 | - | 0.647 | - | 0.634 | - | 0.686 | - | 0.796 | -
24 | 400 KV | Trichy | 0.453 | - | 0.476 | - | 0.587 | - | 0.701 | - | 0.727 | -
25 | 400 KV | Hosur | 0.459 | - | 0.502 | - | 0.534 | - | 0.483 | - | 0.482 | -
26 | 400 KV | Mysore | 0.412 | - | 0.429 | - | 0.434 | - | 0.481 | - | 0.591 | -
27 | 400 KV | Hiriyur | 0.339 | - | 0.339 | - | 0.393 | - | 0.494 | - | 0.483 | -
28 | 400 KV | Narendra | 0.30929 | - | 0.40297 | - | 0.45199 | - | 0.52592 | - | 0.57743 | -
29 | 400 KV | Trivendrum | 0.528 | - | 0.561 | - | 0.51 | - | 0.508 | - | 0.534 | -
30 | 400 KV | Kalivandapattu | 0.3888 | - | 0.38054 | - | 0.4977 | - | 0.61633 | - | 0.64441 | -
31 | 400 KV | Tirunalveli | 0.56852 | - | 0.50131 | - | 0.50482 | - | 0.51609 | - | 0.55898 | -
32 | 400 KV | Karur | 0.276 | - | 0.321 | - | 0.425 | - | 0.471 | - | 0.536 | -
33 | 400 KV | Karaikudi | 0.294 | - | 0.30416 | - | 0.37816 | - | 0.40132 | - | 0.43026 | -
34 | 400 KV | Hassan | 0.359 | - | 0.393 | - | 0.4 | - | 0.435 | - | 0.444 | -
35 | 400 KV | Arasur | 0.381 | - | 0.44148 | - | 0.46619 | - | 0.53053 | - | 0.53254 | -
36 | 400 KV | Puducherry | 0.297 | - | 0.313 | - | 0.331 | - | 0.375 | - | 0.39 | -
37 | 400 KV | Kochi | 0.31 | - | 0.329 | - | 0.314 | - | 0.325 | - | 0.359 | -
38 | 400 KV | Palakkad | 0.317 | - | 0.28046 | - | 0.25273 | - | 0.268 | - | 0.28544 | -
39 | 400 KV | Bidadi | 0.25 | - | 0.278 | - | 0.288 | - | 0.307 | - | 0.33 | -
40 | 765 KV | Tiruvalam | 0 | - | 0 | - | 0.053 | - | 0.544 | - | 0.67 | -
41 | 400 KV | Tuticorin PS | 0 | - | 0 | - | 0.233 | - | 0.352 | - | 0.365 | -
42 | 400 KV | Nagapattnam | 0 | - | 0 | - | 0.061 | - | 0.3 | - | 0.462 | -
43 | 400 KV | Kozhikode | 0 | - | 0 | - | 0 | - | 0.34 | - | 0.36 | -
44 | 400 KV | Kudgi GIS | 0 | - | 0 | - | 0 | - | 0.135 | - | 0.367 | -
45 | 400 KV | Tumkur SS | 0 | - | 0 | - | 0 | - | 0.904 | - | 1.477 | -
46 | 400 KV | Dharmapuri | 0 | - | 0 | - | 0 | - | 0 | - | 0.366 | -
47 | 400 KV | Kolar HVAC | 0.403 | - | 0.423 | - | 0.453 | - | 0.486 | - | 0.5186 | -
48 | HVDC | Kolar HVDC | 7.6337 | - | 6.5997 | - | 7.5943 | - | 7.591 | - | 7.2673 | -