## Annexure-III 1 to 3
Annexure-III
SH 1/3
Pro-forma for furnishing Actual annual performance/operational data for the Hydro Electric generating stations for the 5-year period from 2012-13 to 2016-17
| Particulars |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Name of Company |  |  | NHPC LTD.
2 | Name of Station |  |  | Salal Power Station
3 | Installed Capacity and Configuration |  | (MW) | 690 MW
4 | Station Location |  | Under ground or Surface | Surface
5 | Type of Excitation System |  |  | Static
6 | Live Storage Capacity |  | (Million Cubic) | -
7 | Rated Head |  | Metres | 85
8 | Head at Full Reservoir Level (FRL) |  | Metres | 85
9 | Head at Minimum Draw down Level (MDDL) |  | Metres | -
10 | MW Capability at FRL |  | MW | 690 | 690 | 690 | 690 | 690
11 | MW Capability at MDDL |  | MW | -
12 | Cost of spares :
12.1 | Cost of spares capitalized in books of accounts |  | (Rs. Lakhs) | 2669.4716 | 378.2937 | 115.8809 | 645.0034 | 2007.786
12.2 | Cost of spares included in the capital cost for the purpose of tariff |  | (Rs. Lakhs) | Nil | Nil | Nil | Nil | Nil
Period
13 | Generation :
13.1 | Actual Gross Generation at Generator Terminals |  | (MU) | 3276.6 | 3234.57 | 3491.7969 | 3591.1953 | 3422.621
13.2 | Actual Net Generation Ex-bus including free power |  | (MU) | 3286.0722 | 3238.3949 | 3495.7346 | 3604.3132 | 3439.5242
13.3 | Scheduled generation Ex-bus including free power |  | (MU) | 3270.1074 | 3235.3839 | 3396.0372 | 3425.0996 | 3235.746
14 | Actual Auxiliary Energy Consumption excluding colony consumption |  | (MU) | 21.02 | 20.8321 | 22.8753 | 23.2925 | 21.8979
15 | Actual Energy supplied to Colony from the station |  | (MU) | NIL | NIL | NIL | NIL | NIL
16 | Average Declared Capacity (DC) during the year |  | (MW) | 449 | 462 | 460 | 484 | 481
Annexure-III
SH 2/3
| Period |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
17 | Weighted Average duration of outages ( Unit-wise details)
17.1 | Scheduled outages |  | (Days) | 335.6256 | 336.4924 | 410.4548 | 398.6826 | 402.6903
17.2 | Forced outages |  | (Days) | 3.5174 | 19.9125 | 3.2451 | 23.8021 | 5.1361
18 | Cost of spares actually consumed |  | (Rs. Lakhs) | 120.7684 | 208.0899 | 1.2989 | 843.7651 | 0
19 | Average stock of spares |  | (Rs. Lakhs) | 3385.09 | 4815.56 | 4969.23 | 5314.06 | 6604.54
Month wise Design Energy
Month |  | Period | Design Energy as approved by CEA (MU) |  | Month | Period | Design Energy as approved by CEA (MU)
April |  | 1-10 | 57.11 |  | October | 1-10 | 90.03
|  | 11-20 | 56.55 | 56.55 |  | 11-20 | 72.11 | 72.11
|  | 21-30 | 75.86 | 75.86 |  | 21-31 | 67.47 | 67.47
May |  | 1-10 | 70.75 | 70.75 | November | 1-10 | 47.97 | 47.97
|  | 11-20 | 81.09 | 81.09 |  | 11-20 | 42.36 | 42.36
|  | 21-31 | 173.1 | 173.1 |  | 21-30 | 38.3 | 38.3
June |  | 1-10 | 157.3 | 157.3 | December | 1-10 | 35.17 | 35.17
|  | 11-20 | 157.3 | 157.3 |  | 11-20 | 32.11 | 32.11
|  | 21-30 | 157.3 | 157.3 |  | 21-31 | 27.27 | 27.27
July |  | 1-10 | 158.31 | 158.31 | January | 1-10 | 20.43 | 20.43
|  | 11-20 | 158.3 | 158.3 |  | 11-20 | 19.97 | 19.97
|  | 21-31 | 171.09 | 171.09 |  | 21-31 | 20.29 | 20.29
August |  | 1-10 | 158.3 | 158.3 | February | 1-10 | 21.52 | 21.52
|  | 11-20 | 158.3 | 158.3 |  | 11-20 | 23.17 | 23.17
|  | 21-31 | 171.1 | 171.1 |  | 21-28 | 24.28 | 24.28
September |  | 1-10 | 158.3 | 158.3 | March | 1-10 | 27.17 | 27.17
|  | 11-20 | 159.71 | 159.71 |  | 11-20 | 38.39 | 38.39
|  | 21-30 | 106.29 | 106.29 |  | 21-31 | 47.91 | 47.91
[5 empty] | Total |  | 3081.98
Storage Hydro plants shall also furnish actual monthly average peaking generation in MW achieved during the period 2012-13 to 2016-17 against the monthly average peaking capability approved by CEAas per following format:
Month |  | Expected Avg. of daily 3-hour peaking capacity as approved by CEA |  |  | Actual monthly average of daily 3-hour peaking (MW) for the period 2012-13 to 2016-17
April
May
June
July
August
September
October
November
December
January
February
March
Annexure III
SH 3/3
1 | List of beneficiaries/customers along with allocation by GoI including (allocation of unallocated share) / capacity as contracted should also be furnished separately for each generating station.
2 | Declared Capacity should be as per Regulation 31(3) of CERC Tariff Regulations for the period 2014-19 including month wise information may be furnished.
3 | Any relevant point or a specific fact having bearing on performance or operating parameters may also be highlighted or brought to the notice of the Commission.

## Annexure-IV
Annexure –IV
PLANT AVAILABILITY/SCHEDULED PLANT LOAD FACTOR ACHIEVED Generating company: NHPC LTD. Name of Generating station: Salal Power Station Installed Capacity (MW) : 690 MW Normative Annual Plant Availability Factor (%) approved by Commission : 60%
Plant Availability Factor Achieved (%)
Month | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | Reasons for shortfall in PAF achieved vis-a-vis NAPAF
April | 71.5025 | 71.2926 | 73.6349 | 89.788 | 77.8641
May | 82.7206 | 95.0553 | 98.5262 | 94.9724 | 95.9269
June | 95.9303 | 95.9986 | 97.3975 | 93.4343 | 99.2778
July | 93.8928 | 96.2359 | 96.8113 | 95.256 | 98.0079
August | 92.9561 | 95.8108 | 98.8378 | 96.9717 | 98.1767
September | 87.2324 | 91.4459 | 76.944 | 94.5974 | 94.0728
October | 51.0009 | 66.7262 | 61.9645 | 64.8042 | 57.1084
November | 36.5515 | 42.1607 | 32.8649 | 54.8073 | 44.015
December | 33.5567 | 34.6617 | 31.97 | 33.9061 | 37.6368
January | 33.2922 | 27.5783 | 31.5749 | 34.0242 | 37.5895
February | 48.9496 | 33.4348 | 37.6087 | 38.2721 | 51.3939
March | 61.1893 | 58.651 | 67.9849 | 59.0957 | 53.5037
Annual | 65.7917 | 67.6148 | 67.3864 | 70.8706 | 70.4448
Plant Load Factor Achieved (%)
Month | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | Reasons for shortfall in PLF achieved vis-a-vis Target PLF
April
May
June
July
August
September
October
November
December
January
February
March
Annual

## Annexure-XIX (salal)
Annexure-XIX
Name of the Utility |  | NHPC LTD
Name of the Generating Station |  | Salal Power Station
Station/ Stage/ Unit |  | 6x115 MW
Fuel Type (Coal/ Lignite/ Gas/ Liquid Fuel/ Nuclear/ Hydro | [7 empty] | HYDRO
Capacity of Plant (MW) |  | 690 MW
COD |  | Stage-I : Nov-1987 & Stage-II : Apr-1995
|  | 2004-05 | 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Plant Availability Factor (PAF) (%) | 99.909 | 100 | 97.8978 | 98.1948 | 98.5 | 59.5288 | 63.1023 | 63.7149 | 65.7917 | 67.6148 | 67.3825 | 70.8706 | 70.4448
2 | Plant Load Factors (PLF) (%)
3 | Scheduled Energy (MU) | 3378.5604 | 3440.2818 | 3428.1701 | 3185.4653 | 3005.3243 | 3018.2318 | 3242.2299 | 3227.9667 | 3270.1082 | 3235.1886 | 3396.3166 | 3425.5169 | 3235.7474
4 | Scheduled Generation (MU)
5 | Actual Generation (MU) | 3434.4341 | 3469.509 | 3457.3798 | 3227.2546 | 3007.9996 | 3021.88 | 3241.9565 | 3232.9775 | 3286.0517 | 3234.57 | 3491.7969 | 3591.1953 | 3422.621
6 | Quantum of coal consumption (MT) | Stage-I : Nov-1987 & Stage-II : Apr-1995 2004-05: Not Applicable
7 | Value of coal (Rs. Lakh)
8 | Specific Coal Consumption (kg/kwh)
9 | Gross Calorific Value of Coal (Kcal/ Kg)
10 | Heat Contribution of Coal (Kcal/ kwh)
11 | Cost Of Specific Coal Consumption (Rs./Kwh) – Finally admitted by CERC
12 | Quantum of Oil Consumption (Lit.)
13 | Value of Oil (Rs. lakh)
14 | Gross calorific value of oil (kcal/lit)
15 | Specific Oil Consumption (ml/ kwh)
16 | Cost Of Specific Oil Consumption (Rs./Kwh) – Finally admitted by CERC
17 | Heat Contribution of Oil (Kcal/ kwh)
18 | Station Heat Rate (kcal/kwh)
19 | Auxiliary Energy Consumption (%) | 0.65 | 0.8 | 0.71 | 0.8 | 0.74 | 0.72 | 0.7 | 0.63 | 0.64 | 0.64 | 0.66 | 0.65 | 0.64
20 | Debt at the end of the year (Rs. Crore) ^ | 16.8564 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | Equity (Rs. Crore) | 483.5837 | 483.8499 | 482.7571 | 483.5159 | 484.024 | 483.1172 | 485.6315 | 485.5546 | 485.8185 | 486.8014 | 489.253 | 494.4453 | 502.2116
22 | Working Capital (Rs. Crore) – finally admitted by CERC | 50.5354 | 49.0442 | 50.0709 | 51.8056 | 53.6482 | 65.6913 | 67.9986 | 70.4766 | 70.2919 | 73.4372 | 78.8264 | 83.0328 | 87.6821
23 | Capital cost (Rs. Crore) – finally admitted by CERC | 910.1261 | 911.0135 | 907.3707 | 909.9001 | 911.5937 | 908.5711 | 916.952 | 916.6959 | 917.5754 | 920.8517 | 929.0236 | 946.3315 | 972.2192
24 | Capacity Charges/ Annual Fixed Cost (AFC)
(a) Return on equity – pre tax (admitted by CERC)
| Absolute value | 67.7908 | 67.7204 | 67.6625 | 67.6391 | 67.7278 | 113.5472 | 112.4233 | 111.4145 | 94.1115 | 95.3702 | 95.707 | 96.4565 | 97.7272
| Rate (%) * | 14% | 14% | 14% | 14% | 14% | 23.48% | 23.21% | 22.94% | 19.38% | 19.61% | 19.61% | 19.61% | 19.61%
(b) interest on Loan
| Absolute value | 3.9778 | 0.8049 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Rate (%) – Weighted Average Rate | 0.1095 | 0.0955 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(c) Depreciation (finally allowed by CERC)
| Absolute value | 35.9533 | 21.151 | 18.3588 | 18.4121 | 18.4804 | 19.3557 | 19.5577 | 19.8195 | 19.85 | 19.965 | 20.3001 | 21.2121 | 22.6722
| Rate (%) | Stage-I : Nov-1987 & Stage-II : Apr-1995 2009-10: As the power Station has already completed 12 years, remaining depreciation is uniformily distributed over the balance useful life.
(d) Interest on working Capital
| Absolute value | 5.1799 | 5.027 | 5.1323 | 5.3101 | 5.4989 | 8.0472 | 8.3298 | 8.6334 | 8.6108 | 8.9961 | 10.6416 | 11.2094 | 11.8371
| Rate (%) | 10.25% | 10.25% | 10.25% | 10.25% | 10.25% | 12.25% | 12.25% | 12.25% | 12.25% | 12.25% | 13.5% | 13.5% | 13.5%
(e) Operation and maintenance cost (finally admitted by CERC)
| Absolute value | 72.58 | 75.49 | 78.51 | 81.65 | 84.91 | 105.499 | 111.5336 | 117.9133 | 124.6579 | 131.7884 | 144.2958 | 153.8829 | 164.1068
Rate (%)
(f) Compensation Allowances | bar: Stage-I : Nov-1987 & Stage-II : Apr-1995 2004-05
25 | AFC (Rs. Crores) | 185.4818 | 170.1933 | 169.6636 | 173.0113 | 176.6171 | 246.4491 | 251.8444 | 257.7807 | 247.2302 | 256.1197 | 270.9445 | 282.7609 | 296.3433 | 2685.0384
26 | Energy Charge (Rs./Kwh) | 0.3454 | 0.31693 | 0.31594 | 0.32218 | 0.32889 | 0.45893 | 0.46898 | 0.48003 | 0.46038 | 0.47694 | 0.50454 | 0.52655 | 0.55184
27 | Total tariff (Rs. Kwh) | 0.6908 | 0.63386 | 0.63189 | 0.64435 | 0.65778 | 0.91786 | 0.93795 | 0.96006 | 0.92077 | 0.95388 | 1.0091 | 1.0531 | 1.1037
28 | Revenue realisation before tax (Rs. Crore) | 242.3303 | 238.7868 | 238.3329 | 225.067 | 216.3979 | 211.8431 | 278.3822 | 695.5236 | 719.0019 | 639.6881 | 702.3501 | 808.7929 | 756.2834
29 | Revenue realisation after tax (Rs. Crore) #
30 | Profit/ loss before tax (Rs. Crore) | 159.7816 | 140.2674 | 181.1287 | 162.0566 | 101.0648 | 61.5851 | 25.0444 | 174.1328 | 284.3453 | 91.9556 | 99.823 | 170.2164 | 153.5632
31 | DSM Generation (MU) | 55.8737 | 29.2272 | 29.2097 | 41.7893 | 2.6754 | 3.4893 | 0.19952 | 5.0447 | 15.9648 | 3.011 | 99.6974 | 179.2136 | 203.7781
32 | DSM Rate (Ps/Kwh)
33 | Revenue from DSM (Rs. Crore) |  |  | 11.24 | 13.86 | 23.31 | 9.08 | 10.0789 | -0.20991 | 14.2677 | 11.7043 | 29.3299 | 35.9039 | 39.1075
Note:
1. The data at Sl No. 20 to 27 has been filled based on CERC orders dated 12.05.2015 & 07.01.2010
2. The capital cost sl no. 23 & equity at sl no. 21 has been considered as closing equity & capital cost respectively as on 31st March of respective year.
3. The depreciation at Sl No. 24(c) for the period 2004-09 is inclusive of Advance Against Depreciation (AAD)
4. * The Return On Equity (ROE) at Sl No. 24(a) for the period 2004-09 is exclusive of Tax as the same was not part of AFC & separately reimbursable from beneficiaries.
5. ^ The Normative debt at the end of the year (sl no.20) has been considered as ZERO from 2005-06 onwards as the gross normative loan is fully repaid & allowed depreciation in respectve years are more than 70% of admitted additional capitalization.
6. Composite tariff shown at sl no. 27 is exclusive of J&K water usage charges.
7. # NHPC calculate Corporate Tax as a whole after considering all the admissible deductions, exemptions etc. as per Income Tax Act. Therefore unitwise calculation has not been made.
Note: Generating Companies are required to submit data for all generating stations.
This is a general format. Plants of different fuel users have to fill the cells as applicable to them. Tariff for the Hydro may be understood as composite tariff.
The data provided for the corresponding years need to mention as Actual or provisional.
Data for each Unit and Stage is required to be submitted in additional sheets as per the format.

## 2016-17
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd
Name of Power Station |  | SALAL POWER STATION
| Particulars | 2015-16 | 2016-17 | Variance (In Rs.) | Variance (In %) | Reason
(A) | Breakup of O&M Expenses
1 | Consumption of stores and spares | 60420680 | 288469 | -60132211 | -100 | Expenditure booked on the basis of spares consumed (i.e on MR basis) as per requirements of GPM.
2 | Repair & Maintenance
2.1 | Repair and maintenance For Dam,Intake,WCS,De-silting chamber | 35982023 | 40920680 | 4938657 | 14 | This expenses increased mainly because of more expenditure incurred on R/M of Dam & HM Works of Dam at Salal Power Station in FY 2016-17 in comparison to FY 2015-16.
2.2 | Repair and maintenance For Power House and all other works | 168925870 | 190308722 | 21382852 | 13 | This expenses increased mainly because of more expenditure incurred on R/M of Power House and Township Works at Salal Power Station in FY 2016-17 in comparison to FY 2015-16.
| Sub-Total (Repair and Maintenance) | 204907893 | 231229402
3 | Insurance | 142160368 | 148812009 | 6651641 | 5
4 | Security Expenses | 138690039 | 153222370 | 14532331 | 10 | 7th pay commission provision
5 | Administrative Expenses
5.1 | Rent | 8516172 | 5405095 | -3111077 | -37 | The decrease in expenditure due to closer of Hiring of Vehicle contract having FI of Rs. 7.00 lacs (approx.) P.M.
5.2 | Electricity charges | 89993037 | 36770680 | -53222357 | -59 | Being provision not made for Talwara colony as it being handed over to JKPDD
5.3 | Travelling & Conveyance | 7900291 | 7410220 | -490071 | -6 | -
5.4 | Telephone, Telex & Postage (Communication) | 4967875 | 4406742 | -561133 | -11 | Increase in Satelite exp. From the previous year.
5.5 | Advertisement | 2448383 | 4401303 | 1952920 | 80 | This expenses varies as per NIT published for various works executing at Salal Power Station
5.6 | Donation | 0 | 0 | 0 | 0 | -
5.7 | Entertainment | 29550 | 35550 | 6000 | 20 | Increase in the no Chief Engineers at Project
| Sub-total (Administrative expenses) | 113855308 | 58429590
6 | Employee Cost
6.1a | Salaries,wages & allow. -Project | 990376446 | 1321848988 | 331472542 | 33 | Provision of wage revision due to 3rd PRC and due to change in ceiling of Gratuity from 10 lacs to 20 lacs
6.2 | Staff welfare expenses | 32488000 | 34951850 | 2463850 | 8 | -
6.3 | Productivity Linked incentive | 56106059 | 135232313 | 79126254 | 141 | Increase due to payment of arear of PLGI at revised rate from F.Y 2010-11 to F.Y 2013-14 and provision of PLGI for Q4 of FY 2016-17 made on revised pay
6.4 | VRS-Ex-gratia | 5396189 | 19652 | -5376537 | -100 | No VRS in Current Year
6.5 | Ex-gratia | 0 | 0 | 0
6.6 | Performance related pay (PRP) | 20092573 | 21918805 | 1826232 | 9 | -
| Sub-total (Employee Cost) | 1104459267 | 1513971608
7 | Loss of Store | 55641 | 3372187 | 3316546 | 5961 | Normal loss to store and inventory as calculated by committee
9.1 | Allocation of CO Office expenses | 70055117 | 127298031 | 57242914 | 82 | Dealt at CO / RO Level
10 | Others (Specify items) | 41958304 | 49009881 | 7051577 | 17 | This expenses increased mainly because of following reason : 1. Increase in training expenses of by Rs. 7.00 Lacs in FY 2016-17 in comparison to same period of FY 2015-16. Training is being conducted at Salal PS in accordance with training callender & Budget allocated by CO in this regard. 2. Increase in operating expenses of DG Set by Rs. 11.00 Lacs in FY 2016-17 in comparison to same period of FY 2015-16. 3. Increase in Expenses of KV Vidhyalay by Rs. 15 Lacs in FY 2016-17 in comparison to same period of FY 2015-16.
11 | Total Exp (A) | 1876562617 | 2285633547 | 409070930
12 | Revenue /Recoveries(B) | 46067264 | 28785915 | -17281349 | -38 | Decrease in Recoveries because of Provision not required written back reduced by Rs. 0.94 Crore and other income by 0.65 Crore in FY 2016-17
13 | TOTAL(A-B) | 1830495353 | 2256847632 | 426352279
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation

## 2013-14
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd
Name of Power Station |  |  | SALAL POWER STATION
| Particulars | 31.03.2014 | 31.03.2013 | Variance (In Rs.) | Variance (In %) | Reason
(A) | Breakup of O&M Expenses
1 | Consumption of stores and spares | 21316822 | 12076836 | 9239986 | 77 | Consumption of Capital Spares booked during the Current F.Y. In accordance with Accounting Policy No. 3.1.
2 | Repair & Maintenance
2.1 | Repair and maintenance For Dam,Intake,WCS,De-silting chamber | 30770485 | 17486912 | 13283573 | 76 | This expense increased mainly because of following works executed during the current F.Y in comparison to P.Y. : 1. Repair of One Set (24 nos) Guide Vanes Rs. 16.79 Lacs 2. Epoxy Coal Tar painting of internal surfaces of Penstock Rs. 32.40 Lacs. 3. Repair & premix carpeting of Talawra Road Rs. 32.46 Lacs. 4. Restoration of TRT outlet road Rs. 14.31 Lacs. 5. Repair and side protection of damaged portion of training & divide walls of of Bay no. 3 from RD 0.00m to RD 101.00m with Epoxy motar. - Rs. 49.17 Lacs 6.Special Repair of Spillway Glacis and Entire Flip Bucket of Bay No. 2 with HPC over the damaged portion of Spillway Glacis in Gate Nos. 5,6 & 7. - Rs. 35.93 Lacs 7. Repair of erosion / pitting of concrete towards D/s of plunge pool protection wall of Salal power Station - Rs. 20.21 Lacs
2.2 | Repair and maintenance For Power House and all other works | 95441024 | 63980772 | 31460252 | 49 | 1.Repair of 1 No Runner amounting to Rs. 100 Lacs 2. Major Overhauling of 115 MW Hydro Unit amounting to Rs. 24 Lacs. 3. Repair of Stator Cooler, TGB Cooler, UGB/LB Cooler amounting to Rs. 31.64 Lacs 4. Special maintenance of Turbines amounting to Rs. 9.75 Lacs. 5. Conditional Monitoring test of switchyard equipments amounting to Rs. 21 Lacs 6. Repair & Maintenance of KV Building amounting to Rs. 19.75 Lacs 7. Repair One Top Cover Rs. 21.21 Lacs. 8.RLA Test on Generator Transformer at SPS Rs. 12 Lacs. 9. Repair of One no Lower Ring Rs. 18.74 Lacs.
| Sub-Total (Repair and Maintenance) | 126211509 | 81467684
3 | Insurance | 78970108 | 56022777 | 22947331 | 41 | 1). Increase in premium rates on account of deteriorating claim ratio as a result of loss at Dhauliganga & Tanak Pur Power Station due to flood in June 2013 and other factors in the reinsurance market. 2). Increase in sum-insured due to Increase in reinstatement cost of assets on Valuation. 3).Increase in premium rates of CPM Policy on account of deteriorating claim ratio as a result of loss at Dhauliganga Power Station due to flood in June 2013 and increase in Sum-insured.
4 | Security Expenses | 122356115 | 108436512 | 13919603 | 13 | This expense varies according to increase/decrease in the deployment of CISF Personnels. Further, there is also increase in DA of CISF staff salary.
5 | Administrative Expenses
5.1 | Rent | 8696433 | 6590622 | 2105811 | 32 | Rent expense increased mainly because of additional hiring of vehicles in comparision to corresponding period.
5.2 | Electricity charges | 80947878 | 66737813 | 14210065 | 21 | Electricity expenses is based upon the electricity consumption at Salal Power Station and billed by JKPD. This expenses increased significantly mainly due to liability made in r/o Electricity Duty of Pre-ABT Period as on 30.06.2013 amounting to Rs. 3.27 Crores.
5.3 | Travelling & Conveyance | 4155836 | 4876378 | -720542 | -15 | As per occurrence of tours & claims by the employees of the corporation.
5.4 | Telephone, Telex & Postage (Communication) | 4025064 | 3068634 | 956430 | 31 | Increase in Satelite exp. From the previous year.
5.5 | Advertisement | 3557180 | 826664 | 2730516 | 330 | Advertisement expense increased mainly because of more advertisement made in repect of tenders for the different work at Salal PS. in comparison to same period last year.
5.6 | Donation | 0 | 0 | 0 | 0
5.7 | Entertainment | 44734 | 77180 | -32446 | -42 | Decrease in the exp. Related to visit of Dignitaries.
| Sub-total (Administrative expenses) | 101427125 | 82177291
6 | Employee Cost |  |  |  |  | -
6.1a | Salaries,wages & allow. -Project | 980724946 | 923006278 | 57718668 | 6.25 | -
6.2 | Staff welfare expenses | 65933470 | 51729016 | 14204454 | 27 | Increase in Retired Employee Medical Benefit Actuarial valuation Provision and Increase in Madical Claims
6.3 | Productivity Linked incentive | 34897222 | 65908143 | -31010921 | -47 | Decrease in expenditure because during F.Y 2012-13, PLGI was paid from 2007-2010 on revised pay.
6.4 | VRS-Ex-gratia | 7040139 | 0 | 7040139 | 100 | No VRS in Previous Year. 3 Nos of emp taken VRS
6.5 | Ex-gratia | 0 | 0 | 0 | 0
6.6 | Performance related pay (PRP) | 10673467 | 20191584 | -9518117 | -47.14 | Decrease in expenditure because during F.Y 2012-13, PRP for F.Y 2010-11 & F.Y 2011-12 was paid.
| Sub-total (Employee Cost) | 1099269244 | 1060835021 |  | 3.62
7 | Loss of Store | 122332 | 65463 | 56869 | 87 | Normal loss to store and inventory as calculated by committee
9.2 | Allocation of CO Office expenses | 65287805 | 74974107 | -9686302 | -13 | Dealt at CO / RO Level
10 | Others (Specify items) | 36534946 | 22922078 | 13612868 | 59 | This expense increased mainly because of following reasons : 1. Expenses incurred on accounts of CSR&SD Expenses being charged to provision during the period of previous year, currently being charged directly to expenditure head. 2. Arrears of ULDC Charges amounting to Rs.250.32 Lacs paid this year. 3. Increase in Payment to Kendriya Vidhyalay by 75.00 Lacs.
11 | Total Exp (A) | 1651496006 | 1498977769
12 | Revenue /Recoveries (B) | 36402099 | 381735848 | -345333749 | 90.46 | Decrease in Recoveries because of Provision not required written back Rs. 35 Crore in FY 2012-13
13 | TOTAL(A-B) | 1615093907 | 1117241921
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation
15 | Number of employees
| 1) Executives | 83 | 87
| 2) Non-Executives | 735 | 777
| Total (15) | 818 | 864
16 | Number of employees (man/MW ratio)
| 16.1-Number of employees deployed in O&M | 757 | 785
| 16.2-Executives | 60 | 65
| 16.3-Non Executives | 697 | 720

## 2014-15
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd
Name of Power Station |  | SALAL POWER STATION
| Particulars | 2013-14 | 2014-15 | Variance (In Rs.) | Variance (In %) | Reason
(A) | Breakup of O&M Expenses
1 | Consumption of stores and spares | 21316822 | 10260767 | -11056055 | -52 | Consumption of Capital Spares charged to P/L Account in accordance with Accounting Policy No. 3.1. during FY 2013-14
2 | Repair & Maintenance
2.1 | Repair and maintenance For Dam,Intake,WCS,De-silting chamber | 30770485 | 32054054 | 1283569 | 4 | -
2.2 | Repair and maintenance For Power House and all other works | 95441024 | 137090793 | 41649769 | 44 | 1. Repair of runner amounting to Rs. 100.45 Lacs 2. Major overhauling of Generating units amounting to Rs. 24 lacs. 3. Repair of two nos. Lower rings amounting to Rs. 19.50 Lacs.
| Sub-Total (Repair and Maintenance) | 126211509 | 169144847
3 | Insurance | 78970108 | 103574690 | 24604582 | 31 | 1). Increase in premium rates on account of deteriorating claim ratio as a result of loss at Dhauliganga & Tanak Pur Power Station due to flood in June 2013 and other factors in the reinsurance market. 2). Increase in sum-insured due to Increase in reinstatement cost of assets on Valuation 3).Increase in premium rates of CPM Policy on account of deteriorating claim ratio as a result of loss at Dhauliganga Power Station due to flood in June 2013.
4 | Security Expenses | 122356115 | 116647954 | -5708161 | -4.67 | -
5 | Administrative Expenses
5.1 | Rent | 8696433 | 10251693 | 1555260 | 18 | Rent expense increased mainly because of additional hiring of vehicles in comparision to corresponding period.
5.2 | Electricity charges | 80947878 | 231001895 | 150054017 | 185 | 1.A liability amounting to Rs. 327.35 lacs of Pre ABT Period made as on 30.09.2013 in FY 2013-14 in comparison of same corresponding period in FY 2014-15. 2.A provision of Electricity consumption of Talwara Migrants and surcharge on total outstanding amounting to Rs. 1652 lacs made as on 30.09.2014 & Rs. 128 Lacs made as on 31.12.2014 in FY 2014-15 in comparison of same corresponding period in FY 2013-14.
5.3 | Travelling & Conveyance | 4155836 | 7883486 | 3727650 | 90 | As per occurrence of tours & claims by the employees of the corporation.
5.4 | Telephone, Telex & Postage (Communication) | 4025064 | 4747249 | 722185 | 18 | Increase in Satelite exp. From the previous year.
5.5 | Advertisement | 3557180 | 6105153 | 2547973 | 72 | Advertisement expense increased mainly because of more advertisement made in repect of tenders for the different work at Salal PS. in comparison to same period last year.
5.6 | Donation | 0 | 0 | 0 | 0
5.7 | Entertainment | 44734 | 35826 | -8908 | -20 | Decrease in the exp. Related to visit of Dignitaries.
| Sub-total (Administrative expenses) | 101427125 | 260025302
6 | Employee Cost |  |  |  |  | -
6.1a | Salaries,wages & allow. -Project | 980724946 | 974727882 | -5997064 | -1 | -
6.2 | Staff welfare expenses | 65933470 | 74150943 | 8217473 | 12 | Due to increase in Madical Claims
6.3 | Productivity Linked incentive | 34897222 | 50498977 | 15601755 | 45 | PLGI limit was enhanced to 20% from 12.5% of basic pay.
6.4 | VRS-Ex-gratia | 7040139 | 33471966 | 26431827 | 375 | 15 No. of employees taken VRS in current Year
6.5 | Ex-gratia | 0 | 0 | 0 | 0 | -
6.6 | Performance related pay (PRP) | 10673467 | 17932443 | 7258976 | 68 | 1). Increased in Expenditure is due to Provision for incremental profit was not taken in F.Y 2013-14. Incremental profit was taken while providing for F.Y 2014-15.
| Sub-total (Employee Cost) | 1099269244 | 1150782211
7 | Loss of Store | 122332 | 57705 | -64627 | -53 | Normal loss to store and inventory as calculated by committee
9.1 | Allocation of CO Office expenses | 65287805 | 66397413 | 1109608 | 2 | -
10 | Others (Specify items) | 36534946 | 40427513 | 3892567 | 11 | This expenses increased mainly because of following reason : 1. Increase in training expenses of by Rs. 29.28 Lacs in FY 2014-15 in comparison to same period of FY 2013-14. Training is being conducted at Salal PS in accordance with training callender & Budget allocated by CO in this regard. 2. Increase in operating expenses of DG Set by Rs. 10.87 Lacs in FY 2014-15 in comparison to same period of FY 2013-14. 3. Increase in horticulture expenses by Rs. 14.09 Lacs in FY 2014-15 in comparison to same period of FY 2013-14. 4. Decrease in Expenses of KV Vidhyalay by Rs. 18.56 Lacs in FY 2014-15 in comparison to same period of FY 2013-14.
11 | Total Exp (A) | 1651496006 | 1917318402
12 | Revenue /Recoveries(B) | 36402099 | 15920217 | -20481882 | -56 | Decrease in Recoveries because of Provision not required written back reduced by Rs. 0.85 Crore and other income decreased in FY 2014-15
13 | TOTAL(A-B) | 1615093907 | 1901398185
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation

## 2015-16
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd
Name of Power Station |  |  | SALAL POWER STATION
| Particulars | 31.03.2016 | 31.03.2015 | Variance (In Rs.) | Variance (In %) | Reason
(A) | Breakup of O&M Expenses
1 | Consumption of stores and spares | 60420680 | 10260767 | 50159913 | 489 | This expense mailny increased due to consumption of capital spare amouting to Rs. 527.33 lacs in Fy 2015-16 in comparison to FY 2014-15.
2 | Repair & Maintenance
2.1 | Repair and maintenance For Dam,Intake,WCS,De-silting chamber | 35982023 | 32054054 | 3927969 | 12 | This expenses increased mainly because of more expenditure incurred on R/M of Dam & HM Works of Dam at Salal Power Station in FY 2015-16 in comparison to FY 2014-15.
2.2 | Repair and maintenance For Power House and all other works | 168925870 | 137090793 | 31835077 | 23 | 1. R/M Works of GPM Main Power Plant Amounting to Rs. 497.93 Lacs during FY 2015-16 in comparison to Rs. 383.67 Lac in FY 2014-15. 2. R/M Works of Other Power Plant Equipment Amounting to Rs. 79.60 Lacs in FY 2015-16 in comparison to Rs. 47.80 Lac in FY 2014-15. 3. R/M Works of CPM Equipment Amounting to Rs. 23.66 Lacs in FY 2015-16 in comparison to Rs. 9.64 Lac in FY 2014-15. 4. Special repairs of Power Plant Equipment Amounting to Rs. 334.92 Lacs in FY 2015-16 in comparison to Rs. 289.59 Lac in FY 2014-15.
| Sub-Total (Repair and Maintenance) | 204907893 | 169144847
3 | Insurance | 142160368 | 103574690 | 38585678 | 37 | In case of Mega Insurance Police 1. Increase in premium rates on account of deteriorating claim ratio as a result of loss due Fire incident at Uri-II Power Station and submergence of Chutak power Station in November 2014 and June 2015 respectively and other claims during policy period 2014-15 2. Increase in sum-insured due to increase in reinstatement cost of assets on Valuation. 3. Increase in the rate of Service Tax and WCT from 12.36% to 14% and 10.5% to 12.6% respectively. In case of CPM policy, Increase in Sum insured due to valuation of Assets, additional Construction equipment purchased and increase in premium rates & Service Tax/WCT rates as above.
4 | Security Expenses | 138690039 | 116647954 | 22042085 | 19 | This expense varies according to increase/decrease in the deployment of CISF Personnels. Further, there is also increase in DA of CISF staff salary.
5 | Administrative Expenses
5.1 | Rent | 8516172 | 10251693 | -1735521 | -17 | The decrease in expenditure due to closer of Hiring of Vehicle contract having FI of Rs. 7.00 lacs (approx.) P.M.
5.2 | Electricity charges | 89993037 | 231001895 | -141008858 | -61 | This expense mainly decreased due to provision of Electricity consumption of Talwara Migrants and surcharge on total outstanding amounting to Rs. 1904.30 lacs made in FY 2014-15 in comparison to Rs. 504.23 Lacs in same corresponding period in FY 2015-16.
5.3 | Travelling & Conveyance | 7900291 | 7883486 | 16805 | 0 | -
5.4 | Telephone, Telex & Postage (Communication) | 4967875 | 4747249 | 220626 | 5 | -
5.5 | Advertisement | 2448383 | 6105153 | -3656770 | -60 | This expenses varies as per NIT published for various works executing at Salal Power Station
5.6 | Donation | 0 | 0 | 0 | 0
5.7 | Entertainment | 29550 | 35826 | -6276 | -18 | Decrease in the exp. Related to visit of Dignitaries.
| Sub-total (Administrative expenses) | 113855308 | 260025302
6 | Employee Cost
6.1a | Salaries,wages & allow. -Project | 990376446 | 974727882 | 15648564 | 2 | -
6.2 | Staff welfare expenses | 32488000 | 74150943 | -41662943 | -56 | Decrease due to Reduction in RETIRED EMPLOYEES MEDICAL BENEFIT ACTUARIAL VALUATION PROVISION in comparison to 2014-15 and Decrease in Madical Claims.
6.3 | Productivity Linked incentive | 56106059 | 50498977 | 5607082 | 11 | Increase in PLI due to normal incease of salary as compared to previous year.
6.4 | VRS-Ex-gratia | 5396189 | 33471966 | -28075777 | -84 | only 07 No. of employees taken VRS in current Year
6.5 | Ex-gratia | 0 | 0 | 0 | 0
6.6 | Performance related pay (PRP) | 20092573 | 17932443 | 2160130 | 12 | Normal increase in PRP due to increase of salary.
| Sub-total (Employee Cost) | 1104459267 | 1150782211
7 | Loss of Store | 55641 | 57705 | -2064 | -4 | -
9.1 | Allocation of CO Office expenses | 70055117 | 66397413 | 3657704 | 6 | -
10 | Others (Specify items) | 41958304 | 40427513 | 1530791 | 4 | -
11 | Total Exp (A) | 1876562617 | 1917318402 | -40755785
12 | Revenue /Recoveries(B) | 46067264 | 15920217 | 30147047 | 189 | Increase in Receipt & Recoveries because of Provision not required written back increase by Rs. 1.85 Crore and other income increase by 1.10 crore in FY 2014-15
13 | TOTAL (A-B) | 1830495353 | 1901398185 | -70902832
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation