## Annexure-III 1 to 3
Annexure-III
SH 1/3
Pro-forma for furnishing Actual annual performance/operational data for the Hydro Electric generating stations for the 5-year period from 2012-13 to 2016-17
| Particulars |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Name of Company |  |  | NHPC LTD.
2 | Name of Station |  |  | Tanakpur Power Station
3 | Installed Capacity and Configuration |  | (MW) | 94.2
4 | Station Location |  | Under ground or Surface | Surface
5 | Type of Excitation System |  |  | Static
6 | Live Storage Capacity |  | (Million Cubic)
7 | Rated Head |  | Metres | 21.0 M | 21.0 M | 21.0 M | 21.0 M | 21.0 M
8 | Head at Full Reservoir Level (FRL) |  | Metres | 23.70 M | 23.70 M | 23.70 M | 23.70 M | 23.70 M
9 | Head at Minimum Draw down Level (MDDL) |  | Metres
10 | MW Capability at FRL |  | MW | 94.2 M | 94.2 M | 94.2 M | 94.2 M | 94.2 M
11 | MW Capability at MDDL |  | MW
12 | Cost of spares :
12.1 | Cost of spares capitalized in books of accounts |  | (Rs. Lakhs) | 1528.93 | 10.8 | 17.87 | 99.41 | 972.13
12.2 | Cost of spares included in the capital cost for the purpose of tariff |  | (Rs. Lakhs) | 0 | 0 | 0 | 0 | 0
Period
13 | Generation :
13.1 | Actual Gross Generation at Generator Terminals |  | (MU) | 480.52 | 384.15 | 446.7324 | 452.3641 | 430.2076
13.2 | Actual Net Generation Ex-bus including free power |  | (MU) | 474.0861 | 378.6362 | 439.984 | 443.1021 | 419.4058
13.3 | Scheduled generation Ex-bus including free power |  | (MU) | 474.8878 | 378.0997 | 424.7419 | 415.098 | 377.0422
14 | Actual Auxiliary Energy Consumption excluding colony consumption |  | (MU) | 6.4339 | 5.5138 | 7.8664 | 10.0746 | 11.4196
15 | Actual Energy supplied to Colony from the station |  | (MU) | NIL | NIL | NIL | NIL | NIL
16 | Average Declared Capacity (DC) during the year |  | (MW) | 60.24 | 50.27 | 60.15 | 62.95 | 61.74
Annexure-III
SH 2/3
| Period |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
17 | Weighted Average duration of outages ( Unit-wise details)
17.1 | Scheduled outages |  | (Days) | 136.0409 | 334.7451 | 205.2958 | 160.0092 | 184.7125
17.2 | Forced outages |  | (Days) | 11.9479 | 76.7646 | 24.6651 | 8.1694 | 14.3931
18 | Cost of spares actually consumed |  | (Rs. Lakhs) | 1478.87 | 135.34 | 497.7 | 348.4 | 558.46
19 | Average stock of spares |  | (Rs. Lakhs) | 444.51 | 534.25 | 501.75 | 417.11 | 940.03
Month wise Design Energy
Month |  | Period | Design Energy as approved by CEA (MU) |  | Month | Period | Design Energy as approved by CEA (MU)
April |  | 1-10 | 6.1 |  | October | 1-10 | 21.48
|  | 11-20 | 6.3 | 6.3 |  | 11-20 | 16.11 | 16.11
|  | 21-30 | 7.31 | 7.31 |  | 21-31 | 14.33 | 14.33
May |  | 1-10 | 8.1 | 8.1 | November | 1-10 | 11.15 | 11.15
|  | 11-20 | 9.57 | 9.57 |  | 11-20 | 10.32 | 10.32
|  | 21-31 | 11.27 | 11.27 |  | 21-30 | 9.65 | 9.65
June |  | 1-10 | 12.22 | 12.22 | December | 1-10 | 8.04 | 8.04
|  | 11-20 | 15 | 15 |  | 11-20 | 7.97 | 7.97
|  | 21-30 | 15.07 | 15.07 |  | 21-31 | 8.12 | 8.12
July |  | 1-10 | 21.48 | 21.48 | January | 1-10 | 7 | 7
|  | 11-20 | 21.48 | 21.48 |  | 11-20 | 6.83 | 6.83
|  | 21-31 | 23.63 | 23.63 |  | 21-31 | 7.42 | 7.42
August |  | 1-10 | 21.48 | 21.48 | February | 1-10 | 6.15 | 6.15
|  | 11-20 | 21.48 | 21.48 |  | 11-20 | 6.27 | 6.27
|  | 21-31 | 23.63 | 23.63 |  | 21-28 | 4.7 | 4.7
September |  | 1-10 | 21.48 | 21.48 | March | 1-10 | 5.8 | 5.8
|  | 11-20 | 21.48 | 21.48 |  | 11-20 | 5.74 | 5.74
|  | 21-30 | 21.48 | 21.48 |  | 21-31 | 6.55 | 6.55
[5 empty] | Total |  | 452.19
Storage Hydro plants shall also furnish actual monthly average peaking generation in MW achieved during the period 2012-13 to 2016-17 against the monthly average peaking capability approved by CEAas per following format:
Month |  | Expected Avg. of daily 3-hour peaking capacity as approved by CEA |  |  | Actual monthly average of daily 3-hour peaking (MW) for the period 2012-13 to 2016-17
April
May
June
July
August
September
October
November
December
January
February
March
Annexure III
SH 3/3
1 | List of beneficiaries/customers along with allocation by GoI including (allocation of unallocated share) / capacity as contracted should also be furnished separately for each generating station.
2 | Declared Capacity should be as per Regulation 31(3) of CERC Tariff Regulations for the period 2014-19 including month wise information may be furnished.
3 | Any relevant point or a specific fact having bearing on performance or operating parameters may also be highlighted or brought to the notice of the Commission.

## Annexure-IV
Annexure –IV
PLANT AVAILABILITY/SCHEDULED PLANT LOAD FACTOR ACHIEVED Generating company: NHPC LTD. Name of Generating station: Tanakpur Power Station Installed Capacity (MW) : 94.2 MW Normative Annual Plant Availability Factor (%) approved by Commission : 55%
Plant Availability Factor Achieved (%)
Month | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | Reasons for shortfall in PAF achieved vis-a-vis NAPAF
April | 37.2265 | 40.9974 | 30.1315 | 66.0261 | 35.6834 | DURING 2013-14: COMPLETE SHUTDOWN OF POWERHOUSE W.E.F 11-JAN-2014 TO 28-MAR-2014 FOR REPAIR WORKS AT BARRAGE
May | 57.5926 | 64.1647 | 55.0329 | 81.9212 | 61.5729
June | 82.1424 | 72.219 | 85.4794 | 88.3713 | 85.4382
July | 97.9402 | 77.7067 | 76.8942 | 97.181 | 104.1568
August | 96.5746 | 99.7133 | 93.3415 | 100.7783 | 97.2847
September | 92.2137 | 85.1938 | 96.7449 | 99.8602 | 105.0848
October | 89.2252 | 86.2159 | 86.8762 | 81.4858 | 86.7434
November | 58.8689 | 60.0485 | 65.0496 | 59.6943 | 66.2648
December | 41.8627 | 42.4767 | 47.907 | 36.3026 | 40.8362
January | 38.0837 | 11.7952 | 41.3871 | 34.2788 | 36.458
February | 48.6936 | 0 | 35.1046 | 33.5458 | 36.458
March | 34.0799 | 2.5943 | 57.9554 | 30.549 | 36.458
Annual | 64.6386 | 53.9135 | 64.5104 | 67.565 | 66.2021
Plant Load Factor Achieved (%)
Month | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | Reasons for shortfall in PLF achieved vis-a-vis Target PLF
April
May
June
July
August
September
October
November
December
January
February
March
Annual

## Annexure-XIX (TANAKPUR)
Annexure-XIX
Name of the Utility |  | NHPC LTD.
Name of the Generating Station |  | Tanakpur
Station/ Stage/ Unit |  | 3x 31.4 MW
Fuel Type (Coal/ Lignite/ Gas/ Liquid Fuel/ Nuclear/ Hydro | [7 empty] | Hydro
Capacity of Plant (MW) |  | 94.2 MW
COD |  | 1993-04-01
|  | 2004-05 | 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Plant Availability Factor (PAF) (%) | 100 | 94.25 | 99.9116 | 83.386 | 92.85 | 63.0685 | 62.5864 | 64.8313 | 64.6386 | 53.9135 | 64.499 | 67.565 | 66.2021
2 | Plant Load Factors (PLF) (%)
3 | Scheduled Energy (MU) | 486.7525 | 471.0001 | 446.9915 | 427.7691 | 424.7381 | 465.3386 | 458.0376 | 481.4892 | 474.8889 | 378.1114 | 424.7418 | 415.4125 | 377.0423
4 | Scheduled Generation (MU)
5 | Actual Generation (MU) | 491.9218 | 479.6491 | 451.771 | 435.2326 | 425.1882 | 465.9336 | 459.3636 | 481.8044 | 474.0922 | 384.15 | 446.7324 | 452.3641 | 430.2076
6 | Quantum of coal consumption (MT) | 1993-04-01 2004-05: Not Applicable
7 | Value of coal (Rs. Lakh)
8 | Specific Coal Consumption (kg/kwh)
9 | Gross Calorific Value of Coal (Kcal/ Kg)
10 | Heat Contribution of Coal (Kcal/ kwh)
11 | Cost Of Specific Coal Consumption (Rs./Kwh) – Finally admitted by CERC
12 | Quantum of Oil Consumption (Lit.)
13 | Value of Oil (Rs. lakh)
14 | Gross calorific value of oil (kcal/lit)
15 | Specific Oil Consumption (ml/ kwh)
16 | Cost Of Specific Oil Consumption (Rs./Kwh) – Finally admitted by CERC
17 | Heat Contribution of Oil (Kcal/ kwh)
18 | Station Heat Rate (kcal/kwh)
19 | Auxiliary Energy Consumption (%) | 0.66 | 0.75 | 0.75 | 0.68 | 0.65 | 1.19 | 1.21 | 1.19 | 1.37 | 1.69 | 1.76 | 2.16 | 2.65
20 | Debt at the end of the year (Rs. Crore) ^ | 14.7922 | 5.781 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | Equity (Rs. Crore) | 96.812 | 96.6987 | 97.5051 | 97.5791 | 97.6564 | 97.8875 | 99.251 | 100.5821 | 101.1145 | 102.0459 | 102.0824 | 102.2024 | 106.1373
22 | Working Capital (Rs. Crore) – finally admitted by CERC | 16.4931 | 16.9917 | 17.5527 | 17.8015 | 18.5451 | 24.3299 | 25.4207 | 26.6141 | 27.2806 | 28.6519 | 34.1364 | 36.0731 | 38.2873
23 | Capital cost (Rs. Crore) – finally admitted by CERC | 390.1979 | 389.8202 | 392.508 | 392.7546 | 393.0126 | 393.7827 | 398.3278 | 402.7649 | 404.5394 | 407.6441 | 407.7657 | 408.1657 | 421.2821
24 | Capacity Charges/ Annual Fixed Cost (AFC)
(a) Return on equity – pre tax (admitted by CERC)
| Absolute value | 13.5328 | 13.5458 | 13.5943 | 13.6559 | 13.6665 | 22.9578 | 22.8779 | 22.9249 | 19.5414 | 19.9199 | 20.0148 | 20.0301 | 20.4277
| Rate (%) * | 14% | 14% | 14% | 14% | 14% | 23.48% | 23.21% | 22.94% | 19.38% | 19.61% | 19.61% | 19.61% | 19.61%
(b) interest on Loan
| Absolute value | 1.7968 | 0.9824 | 0.276 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Rate (%) – Weighted Average Rate | 1993-04-01 2004-05: 9.55%; 1993-04-01 2005-06: 9.55%; 1993-04-01 2006-07: 9.55%
(c) Depreciation (finally allowed by CERC)
| Absolute value | 8.7396 | 8.7469 | 8.7724 | 6.2978 | 6.3063 | 8.8875 | 9.0206 | 9.2661 | 9.4611 | 9.6293 | 9.7565 | 9.7758 | 10.2883
| Rate (%) | 1993-04-01 2009-10: As the power Station has already completed 12 years, remaining depreciation is uniformily distributed over the balance useful life.
(d) Interest on working Capital
| Absolute value | 1.6905 | 1.7416 | 1.7992 | 1.8247 | 1.9009 | 2.9804 | 3.114 | 3.2602 | 3.3419 | 3.5099 | 4.6084 | 4.8699 | 5.1688
| Rate (%) | 10.25% | 10.25% | 10.25% | 10.25% | 10.25% | 12.25% | 12.25% | 12.25% | 12.25% | 12.25% | 13.5% | 13.5% | 13.5%
(e) Operation and maintenance cost (finally admitted by CERC)
| Absolute value | 21.64 | 22.5 | 23.4 | 24.34 | 25.31 | 46.3141 | 48.9632 | 51.7639 | 54.7248 | 57.8551 | 71.0162 | 75.7345 | 80.7663
Rate (%)
(f) Compensation Allowances | bar: 1993-04-01 2004-05
25 | AFC (Rs. Crores) | 47.3997 | 47.5167 | 47.8419 | 46.1184 | 47.1837 | 81.1398 | 83.9757 | 87.2151 | 87.0692 | 90.9142 | 105.3959 | 110.4103 | 116.6511 | 393.9479
26 | Energy Charge (Rs./Kwh) | 0.6016 | 0.60308 | 0.60721 | 0.58534 | 0.59886 | 1.0298 | 1.0658 | 1.1069 | 1.1051 | 1.1539 | 1.3377 | 1.4013 | 1.4805
27 | Total tariff (Rs. Kwh) | 1.2032 | 1.2062 | 1.2144 | 1.1707 | 1.1977 | 2.0597 | 2.1316 | 2.2139 | 2.2102 | 2.3078 | 2.6754 | 2.8027 | 2.9611
28 | Revenue realisation before tax (Rs. Crore) | 56.0088 | 54.3259 | 61.5164 | 48.4784 | 50.0492 | 78.6584 | 88.8499 | 111.6191 | 123.9519 | 89.8977 | 109.8065 | 164.0093 | 129.5566
29 | Revenue realisation after tax (Rs. Crore) #
30 | Profit/ loss before tax (Rs. Crore) | 24.0904 | 14.5475 | 26.2848 | 0.67271 | -19.9408 | 10.779 | 30.1167 | 40.5692 | 76.1405 | -5.2942 | -3.5001 | 35.8551 | -1.9394
31 | DSM Generation (MU) | 5.1692 | 8.649 | 4.7795 | 7.4635 | 0.45014 | 0.22549 | 1.2599 | 0.3296 | -0.80171 | 0.5365 | 15.2421 | 28.0041 | 42.3636
32 | DSM Rate (Ps/Kwh)
33 | Revenue from DSM (Rs. Crore) |  |  |  | 1.72 | 1.26 | 0.97 | 2.2627 | 0.0088768 | 3.4974 | 1.3748 | 5.3012 | 7.4683 | 10.3288
Note:
1. The data at Sl No. 20 to 27 has been filled based on CERC orders dated 19.02.2016, 09.06.2014, 23.12.2009 & 17.09.2009
2. The capital cost sl no. 23 & equity at sl no. 21 has been considered as closing equity & capital cost respectively as on 31st March of respective year.
3. The depreciation at Sl No. 24(c) for the period 2004-09 is inclusive of Advance Against Depreciation (AAD)
4. * The Return On Equity (ROE) at Sl No. 24(a) for the period 2004-09 is exclusive of Tax as the same was not part of AFC & separately reimbursable from beneficiaries.
5. ^ The Normative debt at the end of the year (sl no.20) has been considered as ZERO from 2006-07 as the gross normative loan is fully repaid & allowed depreciation in respectve years are more than 70% of admitted additional capitalization.
6. # NHPC calculate Corporate Tax as a whole after considering all the admissible deductions, exemptions etc. as per Income Tax Act. Therefore unitwise calculation has not been made.
Note: Generating Companies are required to submit data for all generating stations.
This is a general format. Plants of different fuel users have to fill the cells as applicable to them. Tariff for the Hydro may be understood as composite tariff.
The data provided for the corresponding years need to mention as Actual or provisional.
Data for each Unit and Stage is required to be submitted in additional sheets as per the format.

## 2012-13 vs 2013-14
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd
| Name of Power Station: | TANAKPUR POWER STATION
Sl. No. | ITEMS | 2012-13 | 2013-14 | 2013-14 | Reasons
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 147886638 | 13534108 | -90.85% | The reduction in FY 2013-14 is because Capital Maintenance of U#03 was carried out in FY 2012-13 during which complete Runner assembly, Lower & Upper GV Bush, Thurst spring were utilised. EL & CB Analyser were also purchsed during FY 2012-13.
|  | 0 | 0
2 | Repair & Maintenance | 0 | 0
2.1 | For Dam,Intake,WCS,De-silting chamber | 38113899 | 54038940 | 41.78% | The increse is due to expenditure incurred in restoration of damaged civil structure of water conductor system at Barrage.
2.2 | For Power House and all other works | 49202328 | 48030069
| Sub-Total (Repair and Maintenance) | 87316227 | 102069009
|  | 0 | 0
3 | Insurance | 11282592 | 17929069 | 58.91% | 1). Increase in premium rates on account of deteriorating claim ratio as a result of loss at Dhauliganga & Tanak Pur Power Station due to flood in June 2013 and other factors in the reinsurance market. 2). Increase in sum-insured due to Increase in reinstatement cost of assets on Valuation. 3).Increase in premium rates of CPM Policy on account of deteriorating claim ratio as a result of loss at Dhauliganga Power Station due to flood in June 2013 and increase in Sum-insured.
4 | Security Expenses | 56081459 | 60225386
|  | 0 | 0
5 | Administrative Expenses | 0 | 0
5.1 | Rent | 2539593 | 3706793 | 45.96% | Increase in Hiring of Vehicle
5.2 | Electricity charges | 11767781 | 18827026 | 59.99% | The increase in electricity charges for FY 2013-14 is due to payment of Rs. 77.79 Lacs to UPCL, subsequent to the finalisation of the disputed electricity bill from Dec. 2002 to Dec. 2005.
5.3 | Travelling & Conveyance | 3311840 | 2908176 | -12.19% | Tour TA as per actual
5.4 | Telephone, Telex & Postage (Communication) | 2287246 | 3540640 | 54.8% | The increse in due to expansion of bandwidth of MPLS Link, internet lease line and purchase of ALC card for BPL EPABX.
5.5 | Advertisement | 749587 | 1870522 | 149.5% | Due to the natural disaster i.e. heavy flood in June, 2013, Power Station was shut down and to restore the Power Station the volume of work increased tremendously, To execute the work advertisement/ tender notices in news paper have also increased resulting increased on advertisement in 2013-14.
5.6 | Donation | 0 | 0
5.7 | Entertainment | 12650 | 16050 | 26.88% | Vary due decrease/ increase in nos of Chief Engineers and above.
|  | 0 | 0
| Sub-total (Administrative expenses) | 20668697 | 30869207
6 | Employee Cost | 0 | 0
6.1a | Salaries,wages & allow. -Project | 446439316 | 475928164
6.2 | Staff welfare expenses | 35930742 | 45976060 | 27.96% | Increase due to increase in RETIRED EMPLOYEES MEDICAL BENEFIT ACTUARIAL VALUATION PROVISION and medical expenses in comparison to 2014-15
6.3 | Productivity Linked incentive | 24436698 | 14328328 | -41.37% | Expenditure depend rate of PLI fixed by CO & nos of empolyees in the project
6.4 | VRS-Ex-gratia | 6543321 | 2829675 | -56.75% | No of employees opted for VRS is more in FY 2012-13 as compared to FY 2013-14.
6.5 | Ex-gratia | 0 | 0
6.6 | Performance related pay (PRP) | 12119507 | 8435389 | -30.4% | Expenditure depend upon rating of NHPC, KPA and no of employessa in the project.
| Sub-total (Employee Cost) | 525469584 | 547497616
7 | Loss of Store | 1271942 | 0 | -100% | The sale of BEML dozer parts amounting to Rs. 11.0 Lacs was completed in FY 2012-13 in addition to write off amount of diesel/ petrol for the same period .
|  | 0 | 0
|  | 0 | 0
9.1 | Allocation of CO Office expenses | 28298097 | 23189317
|  | 0 | 0
10 | Others (Specify items) | 30978415 | 33386581
11 | Total (1 to 10) | 909253651 | 828700293
12 | Revenue /Recoveries | 222041290 | 15847350 | -92.86%
13 | Net Expenses | 687212361 | 812852943
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation

## 2013-14 vs 2014-15
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd
| Name of Power Station: | TANAKPUR POWER STATION
Sl. No. | ITEMS | 2013-14 | 2014-15 | 2014-15 | Reasons
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 13534108 | 49770494 | 267.7% | The increase in FY 2014-15 is mainly due to purchase of DAVR, Aircell Conservator, EWS, OWS,SSG Panels, Mandatory spare for Governor, Numerical Protn. Relay, SF6 CB, Runner Blade templete, Wheels & Pins for HM Barrage gates etc.
|  | 0 | 0
2 | Repair & Maintenance | 0 | 0
2.1 | For Dam,Intake,WCS,De-silting chamber | 54038940 | 95713743 | 77.12% | The increse is due to expenditure incurred in restoration of Right Afflux Bund, damaged warped wall and spur repair for protection of Power channel.
2.2 | For Power House and all other works | 48030069 | 61193697 | 27.41% | The increase is due to painting of PH building and expenditure incurred on R&M of roads and culverts.
| Sub-Total (Repair and Maintenance) | 102069009 | 156907440
|  | 0 | 0
3 | Insurance | 17929069 | 22882596 | 27.63% | 1). Increase in premium rates on account of deteriorating claim ratio as a result of loss at Dhauliganga & Tanak Pur Power Station due to flood in June 2013 and other factors in the reinsurance market. 2). Increase in sum-insured due to Increase in reinstatement cost of assets on Valuation. 3).Increase in premium rates of CPM Policy on account of deteriorating claim ratio as a result of loss at Dhauliganga Power Station due to flood in June 2013.
4 | Security Expenses | 60225386 | 75832908 | 25.92% | Due to revision of DGR rates, the financial implication of security expenses in FY 2014-15 has been increased.
|  | 0 | 0
5 | Administrative Expenses | 0 | 0
5.1 | Rent | 3706793 | 4045108
5.2 | Electricity charges | 18827026 | 11959772 | -36.48% | The reduction w.r.t. Previous year is because only current routine payments have been made.
5.3 | Travelling & Conveyance | 2908176 | 5417582 | 86.29% | Tour TA as per actual
5.4 | Telephone, Telex & Postage (Communication) | 3540640 | 3290773
5.5 | Advertisement | 1870522 | 1414660 | -24.37% | After restoration in year 2014-15 the work has been reduced and hence the advertisement cost was reduced in the FY 2014-15.
5.6 | Donation | 0 | 0
5.7 | Entertainment | 16050 | 11950 | -25.55% | Vary due decrease/ increase in nos of Chief Engineers and above.
|  | 0 | 0
| Sub-total (Administrative expenses) | 30869207 | 26139845
6 | Employee Cost | 0 | 0
6.1a | Salaries,wages & allow. -Project | 475928164 | 496141597
6.2 | Staff welfare expenses | 45976060 | 49545166
6.3 | Productivity Linked incentive | 14328328 | 20532880 | 43.3% | Expenditure depend rate of PLI fixed by CO & nos of empolyees in the project
6.4 | VRS-Ex-gratia | 2829675 | 1712962 | -39.46% | No of employees opted for VRS is more in FY 2013-14 as compared to FY 2014-15.
6.5 | Ex-gratia | 0 | 0
6.6 | Performance related pay (PRP) | 8435389 | 15087212 | 78.86% | Expenditure depend upon rating of NHPC, KPA and no of employessa in the project.
| Sub-total (Employee Cost) | 547497616 | 583019817
7 | Loss of Store | 0 | 189838 |  | Rs. 189838/- is write off amount against disel/petrol for the year 2013-14 & 2014-15 because MR against each of them were issued in month of April14 & March'15 respectively.
|  | 0 | 0
|  | 0 | 0
9.1 | Allocation of CO Office expenses | 23189317 | 22552770
|  | 0 | 0
10 | Others (Specify items) | 33386581 | 41295966 | 23.69% | Due to Repair of main road from NHPC Main gate & Filling of patches in main road.
11 | Total (1 to 10) | 828700293 | 978591674
12 | Revenue /Recoveries | 15847350 | 28122631 | 77.46%
13 | Net Expenses | 812852943 | 950469043
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation

## 2014-15 vs 2015-16
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd
| Name of Power Station: | TANAKPUR POWER STATION
Sl. No. | ITEMS | 2014-15 | 2015-16 | 2015-16 | Reasons
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 49770494 | 34839912 | -30% | Only items like sealed roller bearings , discharge hose and other hardware itmes of routine nature were consumed during FY 2015-16.
|  | 0 | 0
2 | Repair & Maintenance | 0 | 0
2.1 | For Dam,Intake,WCS,De-silting chamber | 95713743 | 194837064 | 103.6% | The increse is due to expenditure incurred in repaair of launching apron & stilling basin, Left Afflux Bund and channelising of river course at u/s of Barrage.
2.2 | For Power House and all other works | 61193697 | 58165585
| Sub-Total (Repair and Maintenance) | 156907440 | 253002649
|  | 0 | 0
3 | Insurance | 22882596 | 32493877 | 42% | In case of Mega Insurance Police 1. Increase in premium rates on account of deteriorating claim ratio as a result of loss due Fire incident at Uri-II Power Station and submergence of Chutak power Station in November 2014 and June 2015 respectively and other claims during policy period 2014-15 2. Increase in sum-insured due to increase in reinstatement cost of assets on Valuation. 3. Increase in the rate of Service Tax and WCT from 12.36% to 14% and 10.5% to 12.6% respectively. In case of CPM policy, Increase in Sum insured due to valuation of Assets, additional Construction equipment purchased and increase in premium rates & Service Tax/WCT rates as above.
4 | Security Expenses | 75832908 | 83314390
|  | 0 | 0
5 | Administrative Expenses | 0 | 0
5.1 | Rent | 4045108 | 4775729 | 18.06% | Increase in Hiring of Vehicle
5.2 | Electricity charges | 11959772 | 13843745 | 15.75% | The increase is due to increase in the energy and fixed charges by UPCL.
5.3 | Travelling & Conveyance | 5417582 | 4268315 | -21.21% | Tour TA as per actual
5.4 | Telephone, Telex & Postage (Communication) | 3290773 | 3239156
5.5 | Advertisement | 1414660 | 1432925
5.6 | Donation | 0 | 0
5.7 | Entertainment | 11950 | 9000 | -24.69% | Vary due decrease/ increase in nos of Chief Engineers and above.
|  | 0 | 0
| Sub-total (Administrative expenses) | 26139845 | 27568870
6 | Employee Cost | 0 | 0
6.1a | Salaries,wages & allow. -Project | 496141597 | 530499817
6.2 | Staff welfare expenses | 49545166 | 47636101
6.3 | Productivity Linked incentive | 20532880 | 22036278
6.4 | VRS-Ex-gratia | 1712962 | 835921 | -51.2% | No of employees opted for VRS is more in FY 2014-15 as compared to FY 2015-16.
6.5 | Ex-gratia | 0 | 0
6.6 | Performance related pay (PRP) | 15087212 | 16855448 | 11.72% | Expenditure depend upon rating of NHPC, KPA and no of employessa in the project.
| Sub-total (Employee Cost) | 583019817 | 617863565
7 | Loss of Store | 189838 | 0 | -100% | Rs. 194425 is write off amount against disel/petrol for the year 2015-16 & 2016-17 because MR against each of them were issued in month of April-16 & March 17 respectively.
|  | 0 | 0
|  | 0 | 0
9.1 | Allocation of CO Office expenses | 22552770 | 22541510
|  | 0 | 0
10 | Others (Specify items) | 41295966 | 103909272 | 151.6% | Due to Booking of Water cess & green cess Provision
11 | Total (1 to 10) | 978591674 | 1175534045
12 | Revenue /Recoveries | 28122631 | 26500879
13 | Net Expenses | 950469043 | 1149033166
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation

## 2015-16 vs 2016-17
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd
| Name of Power Station: | TANAKPUR POWER STATION
Sl. No. | ITEMS | 2015-16 | 2016-17 | 2016-17 | Reasons
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 34839912 | 55846125 | 60.29% | The increase in FY 2016-17 is mainly due to purchase of Thurst Bearing Spring, Excitation spares, GT Bushing, Consumable for major overhauling of Barrage HM gates etc.
|  | 0 | 0
2 | Repair & Maintenance | 0 | 0
2.1 | For Dam,Intake,WCS,De-silting chamber | 194837064 | 125259134 | -35.71% | The decrease is due to the fact that no special/major work was carried out and only routine maintenance works were taken up.
2.2 | For Power House and all other works | 58165585 | 94910115 | 63.17% | The increase is mainly due to capital maintenence of U#1 and the expenditure incurred on R&M of residential building.
| Sub-Total (Repair and Maintenance) | 253002649 | 220169249
|  | 0 | 0
3 | Insurance | 32493877 | 33608082
4 | Security Expenses | 83314390 | 104460912 | 25.38% | Due to revision of DGR rates, the financial implication of security expenses in FY 2016-17 has been increased. The 7th pay commission has also resulting increase in CISF security expenses.
|  | 0 | 0
5 | Administrative Expenses | 0 | 0
5.1 | Rent | 4775729 | 4776393
5.2 | Electricity charges | 13843745 | 14296408
5.3 | Travelling & Conveyance | 4268315 | 7631578 | 78.8% | Tour TA as per actual
5.4 | Telephone, Telex & Postage (Communication) | 3239156 | 8728541 | 169.5% | The increse in due to adjustment of advice (Rs. 50.57 L) from CO for MPLS Links.
5.5 | Advertisement | 1432925 | 1002716 | -30.02% | Further due to Swach Bharat Abhiyan under CSR&SD the advertisement of tender notices was more in the FY 2015-16. Further due to routine works the expenditure on advertisement in FY 2016-17 was reduced.
5.6 | Donation | 0 | 0
5.7 | Entertainment | 9000 | 14589 | 62.1% | Vary due decrease/ increase in nos of Chief Engineers and above.
|  | 0 | 0
| Sub-total (Administrative expenses) | 27568870 | 36450225
6 | Employee Cost | 0 | 0
6.1a | Salaries,wages & allow. -Project | 530499817 | 735279255 | 38.6% | Exp increased due to provsioning of 3months exp of salary on account of wage revision from Jan-17
6.2 | Staff welfare expenses | 47636101 | 42828509 | -10.09% | Decrease in the retired employee medical benefit.
6.3 | Productivity Linked incentive | 22036278 | 51850690 | 135.3% | Increase due to payment of arear of PLGI at revised rate from F.Y 2010-11 to F.Y 2013-14 and provision of PLGI for Q4 of FY 2016-17 made on revised pay
6.4 | VRS-Ex-gratia | 835921 | 0 | -100% | NO VRS case in 2016-17
6.5 | Ex-gratia | 0 | 0
6.6 | Performance related pay (PRP) | 16855448 | 22695691 | 34.65% | Expenditure depend upon the rating of NHPC, KPA and nos of empolyees in the project
| Sub-total (Employee Cost) | 617863565 | 852654145
7 | Loss of Store | 0 | 194425 |  | Rs. 194425 is write off amount against disel/petrol for the year 2015-16 & 2016-17 because MR against each of them were issued in month of April-16 & March 17 respectively.
|  | 0 | 0
|  | 0 | 0
9.1 | Allocation of CO Office expenses | 22541510 | 41865759
|  | 0 | 0
10 | Others (Specify items) | 103909272 | 48549161 | -53.28% | Due to reversal of Water cess & green cess during 2016-17 booked during 2015-16.
11 | Total (1 to 10) | 1175534045 | 1393798083
12 | Revenue /Recoveries | 26500879 | 152114496
13 | Net Expenses | 1149033166 | 1241683587
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation