## Slide 1: CERC Public Hearing (Sharing of inter-State Transmission Charges and Losses) (Fourth Amendment) Regulations, 2024.
03rd Jan ’25
[SC-Confidential]
1

## Slide 2: Clarity required wrt Regulation 13 (2) (h)- Extension of ISTS Waiver during Force Majeure events beyond 30.06.2026, 30.06.2027, and 30.06.2028.
As per latest Hon’ble CERC draft 4th Amendment to Sharing Regulation, Hon’ble CERC introduced extension of waiver of ISTS charges for the projects, having schedule date of commissioning on or before 30.06.2025 and granted extension by competent Authority on account of any force majeure event. The extension is limited to one year only, if delay is due to Force Majeure Events.
Clarity wrt extension of ISTS Waiver in subsequent years is also required on similar principles i.e if REGS or RHGS projects eligible for a waiver of ISTS charges and having schedule date of commissioning on or before 30.06.2026/ 30.06.2027/ 30.06.2028, if granted an extension to achieve COD by the competent authority on account of any force majure event, shall also be eligible for the waiver of that period, if they achieve COD after the respective dates of 30.06.2026, 30.06.2027, and 30.06.2028.
Therefore, we request clarity on extension of ISTS Waiver in subsequent years on similar principles i.e. for 30.06.2026, 30.06.2027, and 30.06.2028.

## Slide 3: Clarity required wrt Regulation 13 (3)
Objective of the proposed amendment in Regulation 13 (3) & (7) as per EM is to recover the YTC charges pertaining to ISTS Bay (if under ISTS scope). It is understood that as per the proposed change in the draft Amendment, the delayed COD charges of 3000/MW/month shall now be applicable only for connectivity granted without ATS and the ISTS Bay is also under scope of REGS.
Clarity required: on applicability of charges for delayed COD beyond start date of connectivity as per following table:
Bay Scope | REGS | ISTS | REGS | ISTS
ATS Requirement | No | No | YES | YES
Applicable charges in case of delay in COD beyond start date | Rs. 3000/MW /month | YTC pertaining only to ISTS Bay | YTC pertaining only to ATS | YTC pertaining only to ATS

## Slide 4
Thank You